**Procurement Office**

495 Upper Falls Blvd.

Rochester, NY 14605

Fax: 585-697-7164

**WWW.ROCHESTERHOUSING.ORG**

October 26, 2022

ADDENDUM #1

TO: Potential Bidders

RE: Rochester Housing Authority

**Holland Townhouse Window Refurbishment**

**2 pages including cover**

**See Attached**

**Acknowledgement:**

**I have received the above referenced Addendum #1 and have used it in the**

**calculation/preparation of this bid.**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**Contractor

Without acknowledgement of this addendum your bid may be non-responsive.

Rochester Housing Authority

BID ADDENDUM NO. 1

The following Addendum item shall be considered a part of the contract documents prepared by the Rochester Housing Authority for the **Holland Townhouses Window Refurbishment Project**

Bid Document date of 10-25-2022

**RFI addressed by this Addendum**

RFI 1-1:

**Question:**

The bid specs say to replace all the hardware that is part of the window (sweeps, keepers, dust caps, pivot bars, thumb buttons sash stops, etc.) At the walk-through it sounded like more to replace what was broken or missing. I just want to clarify.

**Answer:**

**ALL** window parts listed in the bid specifications are to be replaced with **NEW,** not just the missing or broken parts.