April 27, 2023

ADDENDUM #1

To:	Potential Bidders

RE:	Rochester Housing Authority

Bronson Court Site Upgrades-Phase II

2 Pages including Acknowledgement

Acknowledgement:

I have received the above referenced Addendum #1 and have used it in the

calculation/preparation of this bid.

___________________________________Contractor

Without acknowledgement of this addendum your bid may be non-responsive.

BID ADDENDUM NO. 1

04/25/2023

Rochester Housing Authority

Bronson Court Site Update Project – Phase 2

2285-054

The following Addendum items shall be considered a part of the contract documents prepared by HUNT Engineers, Architects, Land Surveyors & LANDSCAPE ARCHITECT, DPC. Bid Document date of 02/10/2023.

- NOTE: The red text in this document is hidden; you do not need to delete it and it will not print.

RFI addressed by this Addendum: list revisions in consecutive dwg. order

RFI 1.0:

Question:	The documents note cleaning of all of the existing brick and re-pointing of missing mortar.

Answer: 	Provide repair of damaged brick with colored mortar to match surrounding brick.

RFI 1.1:

Question:	T-111 siding was recently found behind the existing vinyl siding and ½” polystyrene in lieu of existing sheathing.

Answer: 	The T-111 is to remain and the new siding system is to be installed over it. Please provide a unit cost (SF) to replace the T-111 with new 5/8” exterior sheathing if existing the T-111/sheathing is damaged. This will be addressed at the end of the siding portion of the project in the form of a change order if necessary. The General Contractor will have to keep track of square footages in the form of photos and quantities (SF). Please provide a unit cost in your bid in the space provided below.

Unit-Price No. 1:  Replacement of existing T-111 siding/sheathing with new 5/8” exterior sheathing:

_______________________________________ Dollars ($_____________) per square foot (SF)

RFI 1.2:

Question:	It was questioned if the conduit installed for future communication required any fire stopping within the building.

Answer: 	The E.C. will be responsible for fire caulking any penetrations created in the concrete block foundation walls between each unit.

End of Addendum 1

ACKNOWLEDGMENT OF RECEIPT BY:

LEGAL NAME OF BIDDER:

BY (Signature & Title):

DATE:

THIS PAGE SHALL BE ATTACHED TO AND SUBMITTED WITH THE BID PROPOSAL.