August 22, 2025

ADDENDUM #1 updated with question 9

To:	Potential Bidders

RE:	Rochester Housing Authority: Elevator Modernization at Three Locations

Please find Addendum to follow.

RHA Elevator Modernization at 3 locations - Addendum 1 questions:

Q1: Will Rochester Housing Authority (RHA) take responsibility for the smoke detector compliance with the new elevators.

A1: Yes, RHA will provide smoke detectors, wires to the controllers, and partner with the contractor for the testing of the fire protection compliance.

Q2: Will RHA be using a traditional telephone line to dial out from the new emergency call box?

A2: No. RHA will supply, install, and support, a new cellular phone device in the machine room.

Q3: What do you mean “elevator floor by others”.

A3: The contractor will replace the interior of the car; walls, ceiling, handrails etc. * The contractor will strip and remove all old flooring materials down to the base of the cab.*  At that point, RHA will bring in a flooring contractor to install the finished floors in the elevator cars. This will be coordinated with the contractors schedule.

Q4: At Lake Tower there is an old gas pipe hanging down in the machine room that is in the way.

A4: The old unused gas pipe will be removed by RHA before the start of this project.

Q5: Does the contractor have permission to use a crane to hoist equipment up to the rooftop and from there, cart the equipment across the roof into the penthouse machine room?

A5: Yes, but the contractor * MUST* protect the roof with sturdy plywood for the full and complete length of that pathway. Heavy equipment must not sit directly on the roof. The roofs are made from a rubber membrane and prone to puncture if not protected.

Q6: We noticed that the elevator car ceilings at Danforth East are very low. Would or should RHA consider raising the ceilings in those cars?

A6: Yes, that is something that RHA should consider. But please bid on the scope of work as written. RHA will discuss that possible change-order directly with the contractor who is awarded this work.

Q7: The timeline in your scope of work illustrates construction at one building at a time. If our company has two construction crews, can we work at two buildings at one time.

A7: Yes, if the contractor can work at two buildings at one time that is acceptable provided it can be done without interruptions in the work. Once an elevator is shut down, the contractor must work without interruptions.  The work must not sit idle, or be used as fill in work.

Q8: These upgrades will need to comply with the current codes and that will require heating and cooling of the machine room to protect the controllers.

A8: RHA will commit to providing (new) heating and cooling (mini-split A/C) in the machine rooms. This will be complete before the testing of the new elevators.

Q9: In your scope of work, it says this is a turnkey project and the elevator contractor is responsible for all the trades. But in RHA's addendum 1 it says RHA will support the fire alarms, elevator floor, machine room HVAC etc.

A: The elevator contractor is responsible for all trades and the full scope of work with these exceptions:

- RHA will support the integration or "bridge" between the elevator fire safety and building fire safety equipment. RHA will take responsibility for the safety devices (smoke detection etc.) that are outside of the elevator and controller.

- RHA will provide and support a cellular dialer that will be used to call out from the car's emergency phone.

- RHA will install a new floor in the elevators (coordinate with elevator contractor). Old floor demo by elevator contractor.

- RHA will take responsibility for the installation and maintenance of new heating and cooling system (HVAC) in the machine room.

Acknowledgement:

I have received the above referenced Addendum #1 and have used it in the

calculation/preparation of this bid.

___________________________________Contractor

Without acknowledgement of this addendum your bid may be non-responsive.