Renovations to:

158 Bartlett St.

Rochester, NY	14611

675 West Main St. Rochester, NY 14611

Architect’s Project No. 106-23

December 13, 2023

Peter L. Morse & Associates – Architects AIA

875 East Main Street – Suite 130 Rochester, NY 14605

Ph. (585) 530-2230 Fax: (585) 530-3302 email peterlmorse@aol.com

Table of Contents

Renovations to 158 Bartlett Street, Rochester NY 14611 Rochester Housing Authority

DIVISION 00 - PROCUREMENT AND CONTRACTING REQUIREMENTS

000101	Title Page

000110	Table of Contents

DIVISION 01 - GENERAL REQUIREMENTS

| 011000 | Summary of the Work |
| --- | --- |
| 012200 | Unit Prices |
| 014000 | Quality Requirements |
| 016000 | Product Requirements |
| 017300 | Execution |
| 017329 | Cutting and Patching |
| 017700 | Contract Closeout |
| 017839 | Project Record Documents and Documentation |

DIVISION 02 – EXISTING CONDITIONS

024119	Selective Demolition

024200	Disposal of Non-Hazardous Waste.

DIVISION 03 – CONCRETE

033000	Cast-In-Place Concrete

DIVISION 04 – MASONRY

n/a

DIVISION 05 - METALS

055200	Aluminum Handrails and Railings DIVISION 06 - WOOD, PLASTICS, AND COMPOSITES

| 061000 | Rough Carpentry |
| --- | --- |
| 062000 | Interior Finish Carpentry |
| 062013 | Exterior Finish Carpentry |
| 064000 | Kitchen Cabinets |
| 066500 | Solid Surfacing Material |

Table of Contents

Renovations to 158 Bartlett Street, Rochester NY 14611 Rochester Housing Authority

DIVISION 07 - THERMAL AND MOISTURE PROTECTION

| 070160 | Metal Flashing and Trim |
| --- | --- |
| 074640 | Vinyl Siding Repairs |
| 077123 | Downspouts |
| 079200 | Joint Sealants |

DIVISION 08 – OPENINGS

| 081410 | Doors |
| --- | --- |
| 085313 | Vinyl windows. |
| 087100 | Door Hardware |

DIVISION 09 - FINISHES

| 092900 | Gypsum Board |
| --- | --- |
| 096550 | Vinyl Flooring |
| 096516 | Vinyl Sheet Flooring |
| 099100 | Painting |

DIVISION 10 – SPECIALTIES

| 0102813 | Bathroom Accessories |
| --- | --- |
| 101420 | House numbers. |

DIVISION 11 – RESIDENTIAL EQUIPMENT

112490	Window Blind Shades

113900	Residential Appliances DIVISION 22 - PLUMBING

| 221100 | Plumbing Piping |
| --- | --- |
| 234500 | Laundry Equipment Hook-ups. |
| 235750 | Water Heater |

Table of Contents

Renovations to 158 Bartlett Street, Rochester NY 14611 Rochester Housing Authority

DIVISION 23 - HEATING VENTILATING AND AIR CONDITIONING

| 233114 | Metal Ductwork |
| --- | --- |
| 233300 | Ductwork Accessories |
| 235510 | Gas Furnace |

DIVISION 26 - ELECTRICAL

| 260000 | Electric General Requirements |
| --- | --- |
| 260509 | Common Electric Work |
| 260519 | Low Voltage Electrical |
| 260526 | Grounding and Bonding |
| 262713 | Electricity Metering |
| 262726 | Wiring Devices |
| 265190 | Light Fixtures |
| 283100 | Fire Detection and Alarm |

DIVISION 31 – SITEWORK

310500	Asphalt Driveway – Contractor Placed

## END OF TABLE OF CONTENTS

  - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including the General and Supplementary Conditions apply to this Section.

## SUMMARY

- This Section includes the following:

  - Work covered by the Contract Documents.

  - Type of the Contract.

  - Work phases.

  - Work under other contracts.

  - Products ordered in advance.

  - Use of premises.

  - Owner's occupancy requirements.

  - Work restrictions.

  - Specification formats and conventions.

## WORK COVERED BY CONTRACT DOCUMENTS

- Project Identification:

  - Project Location: Owner: Rochester Housing Authority

  - Project Location: 158 Bartlett St., Rochester, NY 14611

  - Owner's Representative: Julie Fox – Project Manager, RHA.

- Architect: Peter L. Morse & Associates – Architects AIA

- The Work consists of the following:

  - The Work includes

    - Complete interior gut and remodel work area per drawings and specs, of the first floor of the Kitchen and Bathroom of the residence with preservation of existing incoming electrical, plumbing, with modifications for new connections as noted on plans.

    - Constructing new composite ADA accessible Ramp.

    - Re-paving existing and paving new driveway as indicated on plans.

## TYPE OF CONTRACT

    - Project will be constructed under a single contract.

      - Construction’ with all new Mechanical/ Plumbing/ Electrical systems as specified.

## WORK PHASES

    - Before commencing Work of each phase, submit a schedule showing the sequence, commencement, and completion dates, and move-out and -in dates of RHA's personnel for all phases of the Work.

## WORK UNDER OTHER CONTRACTS

    - General: Cooperate fully with separate contractors so work on those contracts may be carried out smoothly, without interfering with or delaying work under this Contract. Coordinate the Work of this Contract with work performed under separate contracts.

## USE OF PREMISES

    - General:  Contractor shall have full use of premises for construction operations, including use of Project site, during construction period. Contractor's use of premises is limited only by Owner's right to perform work or to retain other contractors on portions of Project.

    - Use of Site: Limit use of premises to areas within the Contract limits indicated. Do not disturb portions of Project site beyond areas in which the Work is indicated.

      - Limits: Confine constructions operations to fifty feet around the perimeter of the work area.

      - Owner Occupancy: Allow for RHA’s staff and the Architect’s representative inspection of Project site. Keep general public away from the Project site by securing the site with temporary fencing.

      - Driveways and Entrances: Keep driveways and entrances serving premises clear and available to Owner, Owner's employees, and emergency vehicles at all times. Do not use these areas for parking or storage of materials.

        - Schedule deliveries to minimize use of driveways and entrances.

    - Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

## OWNER'S OCCUPANCY REQUIREMENTS

    - Full Owner Occupancy: RHA will occupy this home only after construction has been completed and to the satisfaction of the staff. Cooperate with RHA during construction operations for inspections of the work.

      - Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities. Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from RHA and authorities having jurisdiction.

      - Provide not less than 24 hours’ notice to RHA of activities that will affect RHA operations.

    - Subparagraphs below describe procedures and requirements necessary before partial occupancy of portions of Project.

      - Architect will prepare a Certificate of Substantial Completion for each specific portion of the Work to be occupied before Owner occupancy.

      - Obtain a Certificate of Occupancy from authorities having jurisdiction before occupancy.

      - Before partial Owner occupancy, mechanical and electrical systems shall be fully operational, and required tests and inspections shall be successfully completed. On occupancy, Owner will operate and maintain mechanical and electrical systems serving occupied portions of building.

      - On occupancy, Owner will assume responsibility for maintenance and custodial service for occupied portions of building.

## WORK RESTRICTIONS

    - On-Site Work Hours: Work shall be generally performed inside the existing building during normal business working hours of 7 a.m. to 5 p.m., Monday through Friday except otherwise indicated.

      - Weekend Hours: With RHA approval.

      - Early Morning Hours - 8 am.

      - Hours for Utility Shutdowns: as necessary.

    - Existing Utility Interruptions: Do not interrupt utilities serving facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

      - Notify the RHA representative not less than four days in advance of proposed utility interruptions.

      - Do not proceed with utility interruptions without their written permission.

## SPECIFICATION FORMATS AND CONVENTIONS

    - Specification Format: The Specifications are organized into Divisions and Sections using the 16-division format and CSI/CSC's "Master Format" numbering system.

      - Section Identification: The Specifications use Section numbers and titles to help cross- referencing in the Contract Documents. Sections in the Project Manual are in numeric sequence; however, the sequence is incomplete because all available Section numbers are not used. Consult the table of contents at the beginning of the Project Manual to determine numbers and names of Sections in the Contract Documents.

      - Division 1: Section 1 in Division 1 govern the execution of the Work of all Sections in the Specifications.

    - Specification Content: The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations. These conventions are as follows:

      - Abbreviated Language: Language used in the Specifications and other Contract Documents is abbreviated. Words and meanings shall be interpreted as appropriate. Words implied, but not stated, shall be inferred as the sense requires. Singular words  shall be interpreted as plural, and plural words shall be interpreted as singular where applicable as the context of the Contract Documents indicates.

        - The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

## MISCELLANEOUS PROVISIONS PART 2 - PRODUCTS (Not Used)

PART 3 - EXECUTION (Not Used)

END OF SECTION 011000

SECTION 014000 - QUALITY REQUIREMENTS PART 1 - GENERAL

  - SUMMARY

    - Section includes administrative and procedural requirements for quality assurance and quality control.

    - Testing and inspecting services are required to verify compliance with requirements specified or indicated. These services do not relieve Contractor of responsibility for compliance with the Contract Document requirements.

      - Specified tests, inspections, and related actions do not limit Contractor's other quality- assurance and -control procedures that facilitate compliance with the Contract Document requirements.

      - Requirements for Contractor to provide quality-assurance and -control services required by Architect, Owner, or authorities having jurisdiction are not limited by provisions of this Section.

      - Specific test and inspection requirements are not specified in this Section.

## DEFINITIONS

    - Quality-Assurance Services: Activities, actions, and procedures performed before and during execution of the Work to guard against defects and deficiencies and substantiate that proposed construction will comply with requirements.

    - Quality-Control Services: Tests, inspections, procedures, and related actions during and after execution of the Work to evaluate that actual products incorporated into the Work and completed construction comply with requirements. Services do not include contract enforcement activities performed by Architect.

    - Source Quality-Control Testing: Tests and inspections that are performed at the source, e.g., plant, mill, factory, or shop.

    - Field Quality-Control Testing: Tests and inspections that are performed on-site for installation of the Work and for completed Work.

    - Testing Agency: An entity engaged to perform specific tests, inspections, or both. Testing laboratory shall mean the same as testing agency.

    - Installer/Applicator/Erector: Contractor or another entity engaged by Contractor as an employee, Subcontractor, or Sub-subcontractor, to perform a particular construction operation, including installation, erection, application, and similar operations.

      - Use of trade-specific terminology in referring to a trade or entity does not require that certain construction activities be performed by accredited or unionized individuals, or that requirements specified apply exclusively to specific trade(s).

    - Experienced: When used with an entity or individual, "experienced" means having successfully completed a minimum of five previous projects similar in nature, size, and extent to this Project; being familiar with special requirements indicated; and having complied with requirements of authorities having jurisdiction.

## CONFLICTING REQUIREMENTS

    - Referenced Standards: If compliance with two or more standards is specified and the standards establish different or conflicting requirements for minimum quantities or quality levels, comply with the most stringent requirement. Refer conflicting requirements that are different, but apparently equal, to Architect for a decision before proceeding.

    - Minimum Quantity or Quality Levels: The quantity or quality level shown or specified shall be the minimum provided or performed. The actual installation may comply exactly with the minimum quantity or quality specified, or it may exceed the minimum within reasonable limits. To comply with these requirements, indicated numeric values are minimum or maximum, as appropriate, for the context of requirements. Refer uncertainties to Architect for a decision before proceeding.

## REPORTS AND DOCUMENTS

    - Test and Inspection Reports: Prepare and submit certified written reports specified in other Sections. Include the following:

      - Date of issue.

      - Project title and number.

      - Name, address, and telephone number of testing agency.

      - Dates and locations of samples and tests or inspections.

      - Names of individuals making tests and inspections.

      - Description of the Work and test and inspection method.

      - Identification of product and Specification Section.

      - Complete test or inspection data.

      - Test and inspection results and an interpretation of test results.

      - Record of temperature and weather conditions at time of sample taking and testing and inspecting.

      - Comments or professional opinion on whether tested or inspected Work complies with the Contract Document requirements.

      - Name and signature of laboratory inspector.

      - Recommendations on retesting and reinspecting.

    - Manufacturer's Field Reports: Prepare written information documenting tests and inspections specified in other Sections. Include the following:

      - Name, address, and telephone number of representative making report.

      - Statement on condition of substrates and their acceptability for installation of product.

      - Summary of installation procedures being followed, whether they comply with requirements and, if not, what corrective action was taken.

      - Results of operational and other tests and a statement of whether observed performance complies with requirements.

      - Other required items indicated in individual Specification Sections.

    - Permits, Licenses, and Certificates: For Owner's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.

  - QUALITY ASSURANCE

    - General: Qualifications paragraphs in this article establish the minimum qualification levels required; individual Specification Sections specify additional requirements.

    - Manufacturer Qualifications: A firm experienced in manufacturing products or systems similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

    - Fabricator Qualifications: A firm experienced in producing products similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

    - Installer Qualifications: A firm or individual experienced in installing, erecting, or assembling work similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

    - Professional Engineer Qualifications: A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated. Engineering services are defined as those performed for installations of the system, assembly, or product that are similar in material, design, and extent to those indicated for this Project.

    - Specialists: Certain Specification Sections require that specific construction activities shall be performed by entities who are recognized experts in those operations. Specialists shall satisfy qualification requirements indicated and shall be engaged for the activities indicated.

      - Requirements of authorities having jurisdiction shall supersede requirements for specialists.

    - Testing Agency Qualifications: An NRTL, an NVLAP, or an independent agency with the experience and capability to conduct testing and inspecting indicated, as documented according to ASTM E 329; and with additional qualifications specified in individual Sections; and, where required by authorities having jurisdiction, that is acceptable to authorities.

      - NRTL: A nationally recognized testing laboratory according to 29 CFR 1910.7.

      - NVLAP: A testing agency accredited according to NIST's National Voluntary  Laboratory Accreditation Program.

    - Manufacturer's Representative Qualifications: An authorized representative of manufacturer who is trained and approved by manufacturer to observe and inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.

    - Preconstruction Testing: Where testing agency is indicated to perform preconstruction testing for compliance with specified requirements for performance and test methods, comply with the following:

      - Contractor responsibilities include the following:

        - Provide test specimens representative of proposed products and construction.

        - Submit specimens in a timely manner with sufficient time for testing and analyzing results to prevent delaying the Work.

        - Build laboratory mockups at testing facility using personnel, products, and methods of construction indicated for the completed Work.

        - When testing is complete, remove test specimens, assemblies, and mockups; do  not reuse products on Project.

      - Testing Agency Responsibilities: Submit a certified written report of each test, inspection, and similar quality-assurance service to Architect, with copy to Contractor. Interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from the Contract Documents.

## QUALITY CONTROL

    - Owner Responsibilities: Where quality-control services are indicated as Owner's responsibility, Owner will engage a qualified testing agency to perform these services.

      - Owner will furnish Contractor with names, addresses, and telephone numbers of testing agencies engaged and a description of types of testing and inspecting they are engaged to perform.

      - Costs for retesting and reinspecting construction that replaces or is necessitated by work that failed to comply with the Contract Documents will be charged to Contractor, and the Contract Sum will be adjusted by Change Order.

    - Contractor Responsibilities: Tests and inspections not explicitly assigned to Owner are Contractor's responsibility. Perform additional quality-control activities required to verify that the Work complies with requirements, whether specified or not.

      - Where services are indicated as Contractor's responsibility, engage a qualified testing agency to perform these quality-control services.

        - Contractor shall not employ same entity engaged by Owner, unless agreed to in writing by Owner.

      - Notify testing agencies at least 24 hours in advance of time when Work that requires testing or inspecting will be performed.

      - Where quality-control services are indicated as Contractor's responsibility, submit a certified written report, in duplicate, of each quality-control service.

      - Testing and inspecting requested by Contractor and not required by the Contract Documents are Contractor's responsibility.

      - Submit additional copies of each written report directly to authorities having jurisdiction, when they so direct.

    - Manufacturer's Field Services: Where indicated, engage a manufacturer's representative to observe and inspect the Work. Manufacturer's representative's services include examination of substrates and conditions, verification of materials, inspection of completed portions of the Work, and submittal of written reports.

    - Retesting/Reinspecting: Regardless of whether original tests or inspections were Contractor's responsibility, provide quality-control services, including retesting and reinspecting, for construction that replaced Work that failed to comply with the Contract Documents.

    - Testing Agency Responsibilities: Cooperate with Architect and Contractor in performance of duties. Provide qualified personnel to perform required tests and inspections.

      - Notify Architect and Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.

      - Determine the location from which test samples will be taken and in which in-situ tests are conducted.

      - Conduct and interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from requirements.

      - Submit a certified written report, in duplicate, of each test, inspection, and similar quality-control service through Contractor.

      - Do not release, revoke, alter, or increase the Contract Document requirements or approve or accept any portion of the Work.

      - Do not perform any duties of Contractor.

    - Associated Services: Cooperate with agencies performing required tests, inspections, and similar quality-control services, and provide reasonable auxiliary services as requested. Notify agency sufficiently in advance of operations to permit assignment of personnel. Provide the following:

      - Access to the Work.

      - Incidental labor and facilities necessary to facilitate tests and inspections.

      - Adequate quantities of representative samples of materials that require testing and inspecting. Assist agency in obtaining samples.

      - Facilities for storage and field curing of test samples.

      - Delivery of samples to testing agencies.

      - Preliminary design mix proposed for use for material mixes that require control by testing agency.

      - Security and protection for samples and for testing and inspecting equipment at Project site.

    - Coordination: Coordinate sequence of activities to accommodate required  quality-assurance and -control services with a minimum of delay and to avoid necessity of removing and  replacing construction to accommodate testing and inspecting.

      - Schedule times for tests, inspections, obtaining samples, and similar activities.

## SPECIAL TESTS AND INSPECTIONS

    - Special Tests and Inspections: Owner will engage a qualified testing agency and special inspector to conduct special tests and inspections required by authorities having jurisdiction as the responsibility of Owner, and as follows:

      - Verifying that manufacturer maintains detailed fabrication and quality-control procedures and reviews the completeness and adequacy of those procedures to perform the Work.

      - Notifying Architect and Contractor promptly of irregularities and deficiencies observed in the Work during performance of its services.

      - Submitting a certified written report of each test, inspection, and similar quality-control service to Architect with copy to Contractor and to authorities having jurisdiction.

      - Submitting a final report of special tests and inspections at Substantial Completion,  which includes a list of unresolved deficiencies.

      - Interpreting tests and inspections and stating in each report whether tested and inspected work complies with or deviates from the Contract Documents.

      - Retesting and reinspecting corrected work.

## PART 2 - PRODUCTS (Not Used) PART 3 - EXECUTION

  - TEST AND INSPECTION LOG

    - Test and Inspection Log: Prepare a record of tests and inspections. Include the following:

      - Date test or inspection was conducted.

      - Description of the Work tested or inspected.

      - Date test or inspection results were transmitted to Architect.

      - Identification of testing agency or special inspector conducting test or inspection.

    - Maintain log at Project site. Post changes and revisions as they occur.  Provide access to test  and inspection log for Architect's reference during normal working hours.

  - REPAIR AND PROTECTION

    - General: On completion of testing, inspecting, sample taking, and similar services, repair damaged construction and restore substrates and finishes.

      - Provide materials and comply with installation requirements specified in other Specification Sections or matching existing substrates and finishes. Restore patched  areas and extend restoration into adjoining areas with durable seams that are as invisible as possible. Comply with the Contract Document requirements for cutting and patching  in Section 017300 "Execution."

    - Protect construction exposed by or for quality-control service activities.

    - Repair and protection are Contractor's responsibility, regardless of the assignment of responsibility for quality-control services.

## END OF SECTION 014000

PART 1 - GENERAL

  - SUMMARY

    - Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; and comparable products.

## DEFINITIONS

    - Products: Items obtained for incorporating into the Work, whether purchased for Project or taken from previously purchased stock. The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

      - Named Products: Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature, that is current as of date of the Contract Documents.

      - New Products: Items that have not previously been incorporated into another project or facility. Products salvaged or recycled from other projects are not considered new products.

      - Comparable Product: Product that is demonstrated and approved through submittal process to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

    - Basis-of-Design Product Specification: A specification in which a specific manufacturer's product is named and accompanied by the words "basis-of-design product," including make or model number or other designation, to establish the significant qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics for purposes of evaluating comparable products of additional manufacturers named in the specification.

## ACTION SUBMITTALS

    - Comparable Product Requests: Submit request for consideration of each comparable product. Identify product or fabrication or installation method to be replaced. Include Specification Section number and title and Drawing numbers and titles.

      - Architect's Action: If necessary, Architect will request additional information or documentation for evaluation within one week of receipt of a comparable product request. Architect will notify Contractor of approval or rejection of proposed comparable product request within 15 days of receipt of request, or seven days of receipt of additional information or documentation, whichever is later.

        - Form of Approval: As specified in Section 013300 "Submittal Procedures."

        - Use product specified if Architect does not issue a decision on use of a comparable product request within time allocated.

    - Basis-of-Design Product Specification Submittal: Comply with requirements in Section 013300 "Submittal Procedures." Show compliance with requirements.

## QUALITY ASSURANCE

    - Compatibility of Options: If Contractor is given option of selecting between two or more products for use on Project, select product compatible with products previously selected, even if previously selected products were also options.

## PRODUCT DELIVERY, STORAGE, AND HANDLING

    - Deliver, store, and handle products using means and methods that will prevent damage, deterioration, and loss, including theft and vandalism. Comply with manufacturer's written instructions.

    - Delivery and Handling:

      - Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

      - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

      - Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

      - Inspect products on delivery to determine compliance with the Contract Documents and to determine that products are undamaged and properly protected.

    - Storage:

      - Store products to allow for inspection and measurement of quantity or counting of units.

      - Store materials in a manner that will not endanger Project structure.

      - Store products that are subject to damage by the elements, under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation.

      - Protect foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

      - Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

      - Protect stored products from damage and liquids from freezing.

## PRODUCT WARRANTIES

    - Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents. Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

      - Manufacturer's Warranty: Written warranty furnished by individual manufacturer for a particular product and specifically endorsed by manufacturer to Owner.

      - Special Warranty: Written warranty required by the Contract Documents to provide specific rights for Owner.

    - Special Warranties: Prepare a written document that contains appropriate terms and identification, ready for execution.

      - Manufacturer's Standard Form:	Modified to include Project-specific information and properly executed.

      - Specified Form: When specified forms are included with the Specifications, prepare a written document using indicated form properly executed.

      - Refer to other Sections for specific content requirements and particular requirements for submitting special warranties.

    - Submittal Time: Comply with requirements in Section 017700 "Closeout Procedures."

## PART 2 - PRODUCTS

  - PRODUCT SELECTION PROCEDURES

    - General Product Requirements:  Provide products that comply with the Contract Documents,  are undamaged and, unless otherwise indicated, are new at time of installation.

      - Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

      - Standard Products: If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

      - Owner reserves the right to limit selection to products with warranties not in conflict with requirements of the Contract Documents.

      - Where products are accompanied by the term "as selected," Architect will make selection.

      - Descriptive, performance, and reference standard requirements in the Specifications establish salient characteristics of products.

    - Product Selection Procedures:

      - Product: Where Specifications name a single manufacturer and product, provide the named product that complies with requirements. Comparable products or substitutions  for Contractor's convenience will not be considered.

      - Manufacturer/Source: Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered.

      - Products:

        - Restricted List: Where Specifications include a list of names of  both manufacturers and products, provide one of the products listed that complies with requirements. Comparable products or substitutions for Contractor's convenience will be considered unless otherwise indicated.

        - Nonrestricted List: Where Specifications include a list of names of both available manufacturers and products, provide one of the products listed, or an unnamed product, that complies with requirements. Comply with requirements in "Comparable Products" Article for consideration of an unnamed product.

      - Manufacturers:

        - Restricted List: Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements. Comparable products or substitutions for Contractor's convenience will be considered unless otherwise indicated.

        - Nonrestricted List: Where Specifications include a list of available manufacturers, provide a product by one of the manufacturers listed, or a product by an unnamed manufacturer, that complies with requirements. Comply with requirements in "Comparable Products" Article for consideration of an unnamed manufacturer's product.

      - Basis-of-Design Product: Where Specifications name a product, or refer to a product indicated on Drawings, and include a list of manufacturers, provide the specified or indicated product or a comparable product by one of the other named manufacturers. Drawings and Specifications indicate sizes, profiles, dimensions, and other characteristics that are based on the product named. Comply with requirements in "Comparable Products" Article for consideration of an unnamed product by one of the other named manufacturers.

    - Visual Matching Specification: Where Specifications require "match Architect's sample", provide a product that complies with requirements and matches Architect's sample. Architect's decision will be final on whether a proposed product matches.

      - If no product available within specified category matches and complies with other specified requirements, comply with requirements in Section 012500 "Substitution Procedures" for proposal of product.

    - Visual Selection Specification: Where Specifications include the phrase "as selected by Architect from manufacturer's full range" or similar phrase, select a product that complies with requirements. Architect will select color, gloss, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

## COMPARABLE PRODUCTS

    - Conditions for Consideration: Architect will consider Contractor's request for comparable product when the following conditions are satisfied. If the following conditions are not  satisfied, Architect may return requests without action, except to record noncompliance with these requirements:

      - Evidence that the proposed product does not require revisions to the Contract Documents, that it is consistent with the Contract Documents and will produce the indicated results, and that it is compatible with other portions of the Work.

      - Detailed comparison of significant qualities of proposed product with those named in the Specifications. Significant qualities include attributes such as performance, weight, size, durability, visual effect, and specific features and requirements indicated.

      - Evidence that proposed product provides specified warranty.

      - List of similar installations for completed projects with project names and addresses and names and addresses of architects and owners, if requested.

      - Samples, if requested.

## PART 3 - EXECUTION (Not Used)

END OF SECTION

PART 1 - GENERAL

  - DESCRIPTION

- Contractor and their subcontractors shall be responsible for doing his own cutting and patching

- Execute cutting, fitting or patching work as required to:

  - Make several parts fit properly.

  - Uncover work to provide for installation of ill-timed work.

  - Remove and replace defective work

  - Remove and replace work not conforming to requirements of Contract Documents.

  - Remove samples of installed work as specified for testing.

  - Install specified work in existing construction.

  - Removed sample to verify existing conditions and or materials to be replaced.

- In addition to Contract Requirements, upon written instructions of Architect:

  - Uncover work to provide for Architect’s observation of covered work.

  - Remove samples of installed materials for testing.

  - Remove work to provide for alteration of existing work.

- Do not endanger any work by cutting or altering work or any part of it.

- Do not cut, or alter work of another contractor, or subcontractor without permission of said contractor or written consent or architect, or unless otherwise noted in the contract documents.

## SUBMITTALS

- Prior to cutting which affects structural safety or Project or work of another contractor, submit written notice to architect requesting consent to proceed with cutting, including:

  - Identification of Project

  - Description of affected work.

  - Necessary for cutting.

  - Affect on other work, on structural integrity of Project.

  - Description of proposed work; designate:

    - Scope of cutting and patching.

    - Products proposed to be used.

    - Extent of refinishing.

- Prior to cutting and patching done on instruction of architect, submit cost estimate if work in not a part of the contract agreement.

## PART 2 - PRODUCTS

2.01 MATERIALS

- For replacement of work removed, comply with specifications for type of work to be done.

- Where no materials for replacement are specified, submit to architect written notice of similar and/or compatible material which contractor intends to use for approval prior to commencement of the work.

## PART 3 - EXECUTION

  - INSPECTION

- Inspect existing conditions of work, including elements subject to movement or damage during cutting and patching.

- After uncovering work, inspect conditions affecting installation of new products.

## PREPARATION

- Prior to cutting:

  - Provide shoring, bracing, and support as required to maintain structural integrity of project.

  - Provide protection for other portions of the project.

  - Provide protection from the elements.

## PERFORMANCE

- Execute fitting and adjustment of products to provide finished installation to comply with specified tolerances and finishes.

- Execute cutting and demolition by methods which will prevent damage to other work and will provide proper surfaces to receive installation of repairs and new work.

- Restore work which has been cut or removed; install new products to provide complete work in accordance with requirements of Contract Documents.

- Refinish entire surfaces; to the nearest intersections.

## END OF SECTION

PART 1 - GENERAL

| 1.1 |  | RELATED DOCUMENTS |
| --- | --- | --- |
|  | A. | Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section. |
| 1.2 |  | SUMMARY |
|  | A. | This Section includes administrative and procedural requirements for contract closeout, including, but not limited to, the following: |
|  |  | - Inspection procedures. - Warranties. - Final cleaning. |
| 1.3 |  | SUBSTANTIAL COMPLETION |
|  | A. | Preliminary Procedures: Before requesting inspection for determining date of Substantial Completion, complete the following. List items below that are incomplete in request. |
|  |  | - Prepare a list of items to be completed and corrected (punch list), the value of items on the list, and reasons why the Work is not complete. - Advise Owner of pending insurance changeover requirements. - Submit specific warranties, workmanship bonds, maintenance service agreements, final certifications, and similar documents. - Obtain and submit releases permitting RHA unrestricted use of the Work and access to services and utilities. Include occupancy permits, operating certificates, and similar releases. - Prepare and submit Project Record Documents, operation and maintenance manuals, Final Completion construction photographs damage or settlement surveys, property surveys, and similar final record information. - Deliver tools, spare parts, extra materials, and similar items to location designated by Owner. Label with manufacturer's name and model number where applicable. - Make final changeover of permanent locks and deliver keys to RHA. Advise RHA personnel of changeover in security provisions. - Complete startup testing of systems. - Submit test/adjust/balance records. - Terminate and remove temporary facilities from Project site, along with mockups, construction tools, and similar elements. |

    - Submit changeover information related to RHA's occupancy, use, operation, and maintenance.

    - Complete final cleaning requirements, including touchup painting.

    - Touch up and otherwise repair and restore marred exposed finishes to eliminate visual defects.

  - Inspection: Submit a written request for inspection for Substantial Completion. On receipt of request, Architect will either proceed with inspection or notify Contractor of unfulfilled requirements. Architect will prepare the Certificate of Substantial Completion after inspection or will notify Contractor of items, either on Contractor's list or additional items identified by Architect, that must be completed or corrected before certificate will be issued.

    - Reinspection: Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

    - Results of completed inspection will form the basis of requirements for Final Completion.

## FINAL COMPLETION

    - Preliminary Procedures: Before requesting final inspection for determining date of Final Completion, complete the following:

      - Submit a final Application for Payment according to Division 1 Section "Payment Procedures."

      - Submit certified copy of Architect's Substantial Completion inspection list of items to be completed or corrected (punch list), endorsed and dated by Architect. The certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance.

      - Submit evidence of final, continuing insurance coverage complying with insurance requirements.

      - Instruct Owner's personnel in operation, adjustment, and maintenance of products, equipment, and systems

    - Inspection: Submit a written request for final inspection for acceptance. On receipt of request, the Contractor, RHA or the Architect will either proceed with inspection or notify Contractor of unfulfilled requirements. Architect will prepare a final Certificate for Payment after inspection or will notify Contractor of construction that must be completed or corrected before certificate will be issued.

      - Reinspection: Request reinspection when the Work identified in previous inspections as incomplete is completed or corrected.

## LIST OF INCOMPLETE ITEMS (PUNCH LIST)

    - Preparation: Submit three copies of list. Include name and identification of each space and area affected by construction operations for incomplete items and items needing correction including, if necessary, areas disturbed by Contractor that are outside the limits of construction.

      - Organize list of spaces in sequential order,

      - Organize items applying to each space by major element, including categories for ceiling, individual walls, floors, equipment, and building systems.

      - Include the following information at the top of each page:

        - Project name.

        - Date.

        - Name of Architect

        - Name of Contractor.

        - Page number.

## WARRANTIES

    - Submittal Time: Submit written warranties on request of Architect for designated portions of  the Work where commencement of warranties other than date of Substantial Completion is indicated.

    - Partial Occupancy: Submit properly executed warranties within 15 days of completion of designated portions of the Work that are completed and occupied or used by Owner during construction period by separate agreement with Contractor.

    - Organize warranty documents into an orderly sequence based on the table of contents of the Project Manual.

      - Bind warranties and bonds in heavy-duty, 3-ring, vinyl-covered, loose-leaf binders, thickness as necessary to accommodate contents, and sized to receive 8-1/2-by-11-inch paper.

      - Provide heavy paper dividers with plastic-covered tabs for each separate warranty. Mark tab to identify the product or installation. Provide a typed description of the product or installation, including the name of the product and the name, address, and telephone number of Installer.

      - Identify each binder on the front and spine with the typed or printed title "WARRANTIES," Project name, and name of Contractor.

    - Provide additional copies of each warranty to include in operation and maintenance manuals.

## PART 2 - PRODUCTS

  - MATERIALS

    - Cleaning Agents: Use cleaning materials and agents recommended by manufacturer or fabricator of the surface to be cleaned. Do not use cleaning agents that are potentially  hazardous to health or property or that might damage finished surfaces.

## PART 3 - EXECUTION

  - FINAL CLEANING

    - General: Provide final cleaning. Conduct cleaning and waste-removal operations to comply  with local laws and ordinances and Federal and local environmental and antipollution regulations.

    - Cleaning: Employ experienced workers or professional cleaners for final cleaning. Clean each surface or unit to condition expected in an average commercial building cleaning and maintenance program. Comply with manufacturer's written instructions.

      - Complete the following cleaning operations before requesting inspection for certification of Substantial Completion for entire Project or for a portion of Project:

        - Clean Project site, yard, and grounds, in areas disturbed by construction activities, including landscape development areas, of rubbish, waste material, litter, and other foreign substances.

        - Sweep paved areas broom clean. Remove petrochemical spills, stains, and other foreign deposits.

        - Rake grounds that are neither planted nor paved to a smooth, even-textured surface.

        - Remove tools, construction equipment, machinery, and surplus material from Project site.

        - Clean exposed exterior and interior hard-surfaced finishes to a dirt-free condition, free of stains, films, and similar foreign substances. Avoid disturbing natural weathering of exterior surfaces. Restore reflective surfaces to their original condition.

        - Remove debris and surface dust from limited access spaces, including roofs, plenums, shafts, trenches, equipment vaults, manholes, attics, and similar spaces.

        - Sweep concrete floors broom clean in unoccupied spaces.

        - Vacuum   surfaces, removing debris.

        - Clean transparent materials, including mirrors and glass in doors and windows. Remove glazing compounds and other noticeable, vision-obscuring materials. Replace chipped or broken glass and other damaged transparent materials. Polish mirrors and glass, taking care not to scratch surfaces.

        - Remove labels that are not permanent.

        - Touch up and otherwise repair and restore marred, exposed finishes and surfaces. Replace finishes and surfaces that cannot be satisfactorily repaired or restored or that already show evidence of repair or restoration.

          - Do not paint over "UL" and similar labels, including mechanical and electrical nameplates.

        - Wipe surfaces of mechanical and electrical equipment and similar equipment. Remove excess lubrication, paint and mortar droppings, and other foreign substances.

        - Replace parts subject to unusual operating conditions.

        - Clean plumbing fixtures to a sanitary condition, free of stains, including stains resulting from water exposure.

        - Replace disposable air filters and clean permanent air filters. Clean exposed surfaces of diffusers, registers, and grills.

        - Clean ducts, blowers, and coils if units were operated without filters during construction.

        - Clean light fixtures, lamps, globes, and reflectors to function with full efficiency. Replace burned-out bulbs, and those noticeably dimmed by hours of use, and defective and noisy starters in fluorescent and mercury vapor fixtures to comply with requirements for new fixtures.

        - Leave Project clean and ready for occupancy.

    - Comply with safety standards for cleaning. Do not burn waste materials. Do not bury debris or excess materials on Owner's property. Do not discharge volatile, harmful, or dangerous materials into drainage systems. Remove waste materials from Project site and dispose of lawfully.

## END OF SECTION

SECTION 017839 - PROJECT RECORD DOCUMENTS PART 1 - GENERAL

| 1.1 |  | SUMMARY |
| --- | --- | --- |
|  | A. | Section includes administrative and procedural requirements for project record documents, including the following: - Record Drawings. - Record Specifications. - Record Product Data. |
| 1.2 |  | CLOSEOUT SUBMITTALS |
|  | A. | Record Drawings: Comply with the following: |

      - Number of Copies: Submit copies of record Drawings as follows:

        - Submit PDF electronic files of scanned record prints or three set(s) of paper prints.

- Record Specifications: Submit one paper copy of Project's Specifications, including addenda and contract modifications

- Record Product Data: Submit PDF electronic files of scanned record product data.  One set of paper copy.

## PART 2 - PRODUCTS

  - RECORD DRAWINGS

    - Record Prints: Maintain one set of marked-up paper copies of the Contract Drawings and Shop Drawings, incorporating new and revised Drawings as modifications are issued.

      - Preparation: Mark record prints to show the actual installation where installation varies from that shown originally. Require individual or entity who obtained record data, whether individual or entity is Installer, subcontractor, or similar entity, to provide information for preparation of corresponding marked-up record prints.

        - Give particular attention to information on concealed elements that would be difficult to identify or measure and record later.

        - Record data as soon as possible after obtaining it.

        - Record and check the markup before enclosing concealed installations.

      - Mark the Contract Drawings and Shop Drawings completely and accurately. Use personnel proficient at recording graphic information in production of marked-up record prints.

      - Mark record sets with erasable, red-colored pencil. Use other colors to distinguish between changes for different categories of the Work at same location.

      - Note Construction Change Directive numbers, alternate numbers, Change Order numbers, and similar identification, where applicable.

    - Format: Identify and date each record Drawing; include the designation "PROJECT RECORD DRAWING" in a prominent location.

      - Record Prints: Organize record prints and newly prepared record Drawings into manageable sets. Bind each set with durable paper cover sheets.  Include identification on cover sheets.

      - Identification:  As follows:

        - Project name.

        - Date.

        - Designation "PROJECT RECORD DRAWINGS."

        - Name of Architect.

        - Name of Contractor.

## RECORD SPECIFICATIONS

    - Preparation: Mark Specifications to indicate the actual product installation where installation varies from that indicated in Specifications, addenda, and contract modifications.

      - Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

      - Mark copy with the proprietary name and model number of products, materials, and equipment furnished, including substitutions and product options selected.

      - Record the name of manufacturer, supplier, Installer, and other information necessary to provide a record of selections made.

      - Note related Change Orders, record Product Data, and record Drawings where applicable.

## RECORD PRODUCT DATA

    - Preparation: Mark Product Data to indicate the actual product installation where installation varies substantially from that indicated in Product Data submittal.

      - Give particular attention to information on concealed products and installations that cannot be readily identified and recorded later.

      - Include significant changes in the product delivered to Project site and changes in manufacturer's written instructions for installation.

      - Note related Change Orders, record Specifications, and record Drawings where applicable.

## MISCELLANEOUS RECORD SUBMITTALS

    - Assemble miscellaneous records required by other Specification Sections for miscellaneous record keeping and submittal in connection with actual performance of the Work. Bind or file miscellaneous records and identify each, ready for continued use and reference.

## PART 3 - EXECUTION

  - RECORDING AND MAINTENANCE

    - Recording: Maintain one copy of each submittal during the construction period for project record document purposes. Post changes and revisions to project record documents as they occur; do not wait until end of Project.

    - Maintenance of Record Documents and Samples: Store record documents and Samples in the field office apart from the Contract Documents used for construction. Do not use project record documents for construction purposes. Maintain record documents in good order and in a clean, dry, legible condition, protected from deterioration and loss. Provide access to project record documents for Architect's reference during normal working hours.

## END OF SECTION 017839

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

    - RHA’s Property Report regarding Pre-Renovation Hazardous Materials Report for reference for Mold Remediation.

## SUMMARY

    - Selective demolition which meets the certification goals as established by the Rochester Housing Authority Program for the individual Project requirements, of the following types.

    - Section Includes:

      - Demolition and removal of selected portions of building. Demolition includes the specifically the following items.

        - Remove all siding, roofing, roof sheathing, windows doors, and exterior metal trim

        - Remove all noted studs, sub-floor, drywall, interior trim.

        - Remove all flooring throughout the work area noted.

        - Remove all cabinets and vanities.

        - Remove all plumbing fixtures.

        - Remove all damaged sheet metal ductwork.

        - Remove all light fixtures.

        - Remove all damaged wiring and electrical devices inside the scope of work. House panel to remain.

      - Salvage of existing items noted to be reused or recycled.

      - Protecting existing work to remain.

      - Cleaning soiled materials that are to remain.

      - Disconnecting and capping utilities.

      - Removing debris and equipment.

      - Removal of items indicated on Drawings.

      - Salvageable items to be retained by the Rochester Housing Authority as indicated on the Drawings and during the pre-construction job walk.

    - Related Requirements:

      - Section 011000 "Summary of the Work" for restrictions on the use of the premises, Owner-occupancy requirements, and phasing requirements.

      - Section 017329 " Cutting and Patching “procedures.

      - Section 033000: Concrete

| 1.3 |  | DEFINITIONS |
| --- | --- | --- |
|  | A. | Remove: Detach items from existing construction and legally dispose of them off-site unless |
|  |  | indicated to be removed and salvaged or removed and reinstalled. |
|  | B. | Remove and Salvage: Carefully detach from existing construction, in a manner to prevent |
|  |  | damage, and deliver to RHA. |
|  | C. | Remove and Reinstall: Detach items from existing construction, prepare for reuse, and reinstall |
|  |  | where indicated. |
|  | D. | Existing to Remain: Existing items of construction that are not to be permanently removed and |
|  |  | that are not otherwise indicated to be removed, removed and salvaged, or removed and |
|  |  | reinstalled. |
| 1.4 |  | MATERIALS OWNERSHIP |
|  | A. | Unless otherwise indicated, demolition waste becomes property of Contractor. |
|  | B. | Ownership of Materials: Except for items or materials indicated to be reused, salvaged, or |
|  |  | otherwise indicated to remain RHA’s property, demolished materials shall become the |
|  |  | Contractor’s property and shall be removed from the site with further disposing at the |
|  |  | Contractor’s option. |
| 1.5 |  | INFORMATIONAL SUBMITTALS |
|  | A. | Proposed Protection Measures: Submit report, including drawings if required, that indicates the |
|  |  | measures proposed for protecting individuals and property, for environmental protection, for |
|  |  | dust control and , for noise control. Indicate proposed locations and construction of barriers. |
|  | B. | Schedule of Selective Demolition Activities: Indicate the following: |
|  |  | 1. Detailed sequence of selective demolition and removal work, with starting and ending |
|  |  | dates for each activity. Ensure Owner's, staff, and clientele on-site operations are |
|  |  | uninterrupted. |
|  |  | 2. Interruption of utility services. Indicate how long utility services will be interrupted. |
|  |  | 3. Coordination for shutoff, capping, and continuation of utility services. |
|  |  | - Use of elevator and stairs. - Coordination of RHA’s continuing occupancy of portions of existing building and of |
|  |  | Owner's partial occupancy of completed Work. |
|  | C. | Inventory: Submit a list of items to be removed and salvaged and deliver to Owner prior to start |

of demolition.

    - Pre-demolition Photographs (or Video): Submit before Work begins. (Required).

    - Warranties: Documentation indicated that existing warranties are still in effect after completion of selective demolition.

## MOLD REMEDIATION

    - Providing Mold Remediation for this house, per Pre-Renovation Hazardous Materials Inspection Report Provided by RHA, as a requirement for this project.

## CLOSEOUT SUBMITTALS

    - Inventory: Submit a list of items that have been removed and salvaged.

    - Landfill Records: Indicate receipt and acceptance of hazardous wastes by a landfill facility licensed to accept hazardous wastes.

## QUALITY ASSURANCE

    - Carefully perform demolition work, by skilled workers experienced in building demolition procedures, using appropriate tools and equipment. Perform work, at all times, under the direct supervision of a supervisor approved by RHA’s Project Manager.

    - Coordinate demolition with other trades to ensure correct sequence, limits, and methods of proposed demolitions.  Schedule work to create least possible inconvenience to the public and  to facility operations.

## WARRANTY

- Existing Warranties: Remove, replace, patch, and repair materials and surfaces cut or damaged during selective demolition, by methods and with materials so as not to void existing warranties. Notify warrantor before proceeding. Existing warranties include the following:

- Notify warrantor on completion of selective demolition, and obtain documentation verifying that existing system has been inspected and warranty remains in effect. Submit documentation at Project closeout.

## PART 2 – PRODUCTS

  - PEFORMANCE REQUIREMENTS

    - Regulatory Requirements: Comply with governing EPA notification regulations before beginning selective demolition. Comply with hauling and disposal regulations of authorities having jurisdiction.

    - Standards: Comply with ANSI/ASSE A10.6 and NFPA 241.

## PART 3 - EXECUTION

  - EXAMINATION

    - Verify that utilities have been disconnected and capped before starting selective demolition operations.

    - Review record documents of existing construction provided by RHA and the Architect does not guarantee that existing conditions are same as those indicated in record documents.

    - Survey existing conditions and correlate with requirements indicated to determine extent of selective demolition required.

    - When unanticipated mechanical, electrical, or structural elements that conflict with intended function or design are encountered, investigate and measure the nature and extent of conflict. Promptly submit a written report to Architect.

    - Survey of Existing Conditions: Record existing conditions by use of measured drawings.

## GENERAL

    - Protection:

      - Do not begin demolition until safety partitions, barricades, warning signs and other forms of protection are installed.

      - Provide safeguards, including warning signs, lights and barricades, for protection of occupants and the general public during demolition.

      - Provide and maintain fire extinguishers onsite. Comply with requirements of governing authorities.

      - Maintain existing utilities which are to remain in service and project from damage during operations.

    - Safety: If at any time safety of existing construction appears to be endangered, take immediate measures to correct such conditions; cease operations and immediately notify the Owner Inspector. Do not resume demolition until directed by RHA’s Inspector.

    - Dust Control: Use water mist, temporary enclosures, and other suitable methods to limit the spread of dust and dirt. Comply with governing environmental protection regulations. Do not create hazardous or objectionable conditions, such as flooding and pollution, when using water.

    - Debris Removal: Remove and transport debris in a manner that will prevent spillage on adjacent surfaces and areas. Remove debris from elevated portions of building by chute, hoist, or other device that will convey debris to grades level.

    - Progress Cleaning: Clean adjacent buildings and improvements of dust, dirt, and debris caused by demolition operations. Return adjacent areas to condition existing before start of demolition.

## UTILITY SERVICES AND MECHANICAL/ELECTRICAL SYSTEMS

    - Existing Services/Systems to Remain: Maintain services/ systems indicated to remain and protect them against damage.

    - Existing Services/Systems to Be Removed, Relocated, or Abandoned: Locate, identify, disconnect, and seal or cap off indicated utility services and mechanical/electrical systems serving areas to be selectively demolished.  Call UCC.

## PREPARATION

    - Site Access and Temporary Controls: Conduct selective demolition and debris-removal operations to ensure minimum interference with roads, streets, walks, walkways, and other adjacent occupied and used facilities.

      - Comply with requirements for access and protection specified in Section 015000 "Temporary Facilities and Controls."

    - Temporary Facilities: Provide temporary barricades and other protection required to prevent injury to people and damage to adjacent buildings and facilities to remain.

## SELECTIVE DEMOLITION, GENERAL

    - General: Demolish and remove existing construction only to the extent required by new construction and as indicated. Use methods required to complete the Work within limitations of governing regulations.

    - Removed and Salvaged Items:

      - Clean salvaged item that are noted for salvage.

      - Pack or crate items after cleaning. Identify contents of containers.

      - Store items in a secure area until delivery to Contractor.

      - Transport items to RHA's storage area designated by RHA.

      - Protect items from damage during transport and storage.

    - Existing Items to Remain: Protect construction indicated to remain against damage and soiling during selective demolition. When permitted by RHA items may be removed to a suitable, protected storage location during selective demolition and cleaned and reinstalled in their original locations after selective demolition operations are complete.

## SELECTIVE DEMOLITION PROCEDURES FOR SPECIFIC MATERIALS

    - Masonry: Demolish in small sections. Cut masonry at junctures with construction to remain, using power-driven saw, and then remove masonry between saw cuts.

    - Concrete Slabs-on-Grade: Saw-cut perimeter of area to be demolished, then break up and remove.

    - Resilient Floor Coverings/ carpeting: Remove floor coverings and adhesive according to recommendations in RFCI's "Recommended Work Practices for the Removal of Resilient Floor Coverings." Do not use methods requiring solvent-based adhesive strippers.

    - Drywall. Remove existing drywall in the entire residence.

    - Tile: Remove all tile work and adhesive.

    - Doors and Windows: Remove all windows and doors. Secure the site at the end of the day.

    - Plumbing: Remove all plumbing lines and fixtures.

    - Electric: Inspect existing house power panel. All outlets in the residence both existing and new shall be removed in the existing residence.

## DISPOSAL OF DEMOLISHED MATERIALS

    - General: Except for items or materials indicated to be recycled, reused, salvaged, reinstalled, or otherwise indicated to remain Owner's property, remove demolished materials from Project   site and legally dispose of them in an EPA-approved landfill.

    - Burning: Do not burn demolished materials.

    - Disposal: Transport demolished

    - Materials off RHA’s property and legally dispose of them

## PATCHING AND RESTORATION

    - Patching: Where removals leave holes and damaged surfaces that will be exposed in the completed construction, such holes and damaged surfaces shall be patched and resorted to match adjacent finished surfaces.

    - Restoration of Building Finishes: Touch up scratched finishes as recommended by manufacturer of original finish.

    - Restoration of Site Finishes at interior.

      - Restore any broken concrete slabs.

## CLEANING

    - Clean adjacent structures and improvements of dust, dirt, and debris caused by selective demolition operations. Return adjacent areas to condition existing before selective demolition operations began.

## END OF SECTION

DISPOSAL OF NON- HAZARDOUS WASTE

PART 1 GENERAL

  - REFERENCES

    - Remove, and dispose of the materials in accordance with all applicable local and state governmental agency codes, rules, and regulations.

## DESCRIPTION

    - Removal of all construction debris materials from the work area on a daily basis.

    - Remove construction debris via Dumpster/ Roll off on a weekly basis.

## SUBMITTALS

    - Detailed step by step procedure indicating how the Work is to be accomplished.

## QUALITY ASSURANCE

    - Before the Work of this Section is scheduled to commence an RHA Representative shall discuss and review the Work procedures.

## PROJECT CONDITIONS

    - Environmental Requirements:

      - Comply with all applicable governmental agency codes, rules, and regulations for handling non-hazardous industrial, commercial and non- industrial waste.

## END OF SECTION

Peter L Morse & Associates		Rochester Housing Authority December 13, 2023	1		158 Bartlett Street

## PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

## SUMMARY

    - Section includes cast-in-place concrete, including formwork, reinforcement, concrete materials, mixture design, placement procedures, and finishes, for the following:

      - Installing new concrete piers for new Handicapped Ramp.  Include wood mounting hardware for wood column posts.

        - Install also:  (2)  4” dia. steel bollards at the corners of the ramp and stoop as noted  on plans.  Paint: (See 099000).  Colors:  by RHA.  Install 4’ deep.  Set in Concrete.

      - Concrete patch on front porch.

## DEFINITIONS

    - Cementitious Materials: Portland cement alone or in combination with one or more of the following: blended hydraulic cement, fly ash and other pozzolans, ground granulated blast- furnace slag, and silica fume; subject to compliance with requirements.

## INFORMATIONAL SUBMITTALS

    - Material Certificates: For each of the following, signed by manufacturers:

      - Cementitious materials.

      - Accessories.

## QUALITY ASSURANCE

    - Installer Qualifications: A qualified installer who employs on Project personnel qualified as ACI-certified Flatwork Technician and Finisher and a supervisor who is an ACI-certified Concrete Flatwork Technician.

## PART 2 - PRODUCTS

  - FORM-FACING MATERIALS

  - Rough-Formed Finished Concrete:	Plywood, lumber, metal, or another approved material. Provide lumber dressed on at least two edges and one side for tight fit.

    - Cementitious Material: Use the following cementitious materials, of the same type, brand, and source, throughout Project:

      - Portland Cement: ASTM C 150, Type I,. Supplement with the following:

        - Fly Ash: ASTM C 618, Class F or C.

    - Normal-Weight Aggregates: ASTM C 33, Class 3S coarse aggregate or better, graded. Provide aggregates from a single source with documented service record data of at least 10 years' satisfactory service in similar applications and service conditions using similar aggregates and cementitious materials.

      - Maximum Coarse-Aggregate Size: 3/4 inch nominal.

      - Fine Aggregate: Free of materials with deleterious reactivity to alkali in cement.

    - Water: ASTM C 94/C 94M and potable.

## CONCRETE MIXTURES, GENERAL

    - Prepare design mixtures for each type and strength of concrete, proportioned on the basis of laboratory trial mixture or field test data, or both, according to ACI 301.

      - Use a qualified independent testing agency for preparing and reporting proposed mixture designs based on laboratory trial mixtures.

    - Cementitious Materials: Limit percentage, by weight, of cementitious materials other than portland cement in concrete as follows:

      - Fly Ash: 25 percent.

| 2.4 |  | CONCRETE MIXTURES FOR BUILDING ELEMENTS |
| --- | --- | --- |
|  | A. | Slabs-on-Grade: Proportion normal-weight concrete mixture as follows: - Minimum Compressive Strength: 4,000 psi at 28 days. - Maximum Water-Cementitious Materials Ratio: 0.45. - Slump Limit: 4 inches, plus or minus 1 inch. - Air Content: 6 percent, plus or minus 1.5 percent at point of delivery for 3/4-inch nominal maximum aggregate size. - Air Content: Do not allow air content of trowel-finished floors to exceed 3 percent. |
| 2.5 |  | CONCRETE MIXING (FOR CONCRETE POST BASES) |
|  | A. | Ready-Mixed Concrete: Measure, batch, mix, and deliver concrete according to |

ASTM C 94/C 94M, and furnish batch ticket information.

1. When air temperature is between 85 and 90 deg F, reduce mixing and delivery time from 1-1/2 hours to 75 minutes; when air temperature is above 90 deg F, reduce mixing and delivery time to 60 minutes.

## PART 3 - EXECUTION

  - FORMWORK

    - Design, erect, shore, brace, and maintain formwork, according to ACI 301.  Use 12” dia. forms equal to.

      - Sono-Tube. – 4’-0” deep.

    - Construct formwork so concrete members and structures are of size, shape, alignment, elevation, and position indicated, within tolerance limits of ACI 117.

    - Construct forms tight enough to prevent loss of concrete mortar.

    - Fabricate forms for easy removal without hammering or prying against concrete surfaces. Provide crush or wrecking plates where stripping may damage cast concrete surfaces. Provide top forms for inclined surfaces steeper than 1.5 horizontal to 1 vertical.

    - Clean forms and adjacent surfaces to receive concrete. Remove chips, wood, sawdust, dirt, and other debris just before placing concrete.

    - Coat contact surfaces of forms with form-release agent, according to manufacturer's written instructions, before placing reinforcement.

## JOINTS

    - General: Construct joints true to line with faces perpendicular to surface plane of concrete.

    - Contraction Joints in Slabs-on-Grade: Form weakened-plane contraction joints, sectioning concrete into areas as indicated. Construct contraction joints for a depth equal to at least one- fourth of concrete thickness as follows:

      - Grooved Joints: Form contraction joints after initial floating by grooving and finishing each edge of joint to a radius of 1/8 inch. Repeat grooving of contraction joints after applying surface finishes. Eliminate groover tool marks on concrete surfaces.

      - Sawed Joints: Form contraction joints with power saws equipped with shatterproof abrasive or diamond-rimmed blades. Cut 1/8-inch- wide joints into concrete  when cutting action will not tear, abrade, or otherwise damage surface and before concrete develops random contraction cracks.

      - Crack repairs on front porch.  – Rout out and patch.  Patch material equal to

        - Sika - Sikacryl - Gray - Ready-Mix Concrete Patch - for Repairing spalls and Cracks in Concrete and Masonry.  Make flush surface.  Coat per Paint Section of this Specification.

## CONCRETE PLACEMENT

    - Before placing concrete, verify that installation of formwork, reinforcement, and embedded items is complete and that required inspections have been performed.

    - Do not add water to concrete during delivery, at Project site, or during placement unless approved by Architect.

## FINISHING WALKS

    - General: Comply with ACI 302.1R recommendations for screeding, re-straightening, and finishing operations for concrete surfaces. Do not wet concrete surfaces.

    - Float Finish: Consolidate surface with power-driven floats or by hand floating if area is small  or inaccessible to power driven floats. Restraighten, cut down high spots, and fill low spots. Repeat float passes and re-straightening until surface is left with a uniform, smooth, granular texture.

      - Apply float finish to surfaces to receive trowel finish.

    - Broom Finish: Apply a broom finish to exterior concrete slabs, steps, ramps, and elsewhere as indicated.

      - Immediately after float finishing, slightly roughen trafficked surface by brooming with fiber-bristle broom perpendicular to main traffic route. Coordinate required final finish with Architect before application.

| 3.5 |  | CONCRETE PROTECTING AND CURING |
| --- | --- | --- |
|  | A. | General: Protect freshly placed concrete from premature drying and excessive cold or hot temperatures. Comply with ACI 306.1 for cold-weather protection and ACI 301 for hot- weather protection during curing |
| 3.6 |  | FIELD QUALITY CONTROL |
|  | A. | Inspect concrete for final acceptance. Floor patch must be flush with surrounding concrete. |

## END OF SECTION

SECTION 055200 ALUMINUM HANDRAILS AND RAILINGS

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General Conditions,

Division 01 - General Requirements, and other applicable specification sections in the Project Manual apply to the work specified in this Section.

## SUMMARY

    - Scope: Provide labor, material, equipment, related services, and supervision required, including, but not limited to, manufacturing, fabrication, erection, and installation for aluminum handrails and railings as required for the complete performance of the work, and as shown on the Drawings and as herein specified.

    - Section Includes: The work specified in this Section includes, but shall not be limited to, the following:

      - Aluminum exterior handrails.

      - Aluminum porch railings.

    - Related Sections:

      - Section 062000 – Finish Carpentry.

## REFERENCES

    - General: The publications listed below form a part of this Specification to the extent referenced. The publications are referred to in the text by the basic designation only. The edition/revision of the referenced publications shall be the latest date as of the date of the Contract Documents, unless otherwise specified.

    - Aluminum Association, Inc. (AA):

      - AA SAS-30, "Specifications for Aluminum Structures."

    - American Architectural Manufacturers Association (AAMA):

      - AAMA 611, "Voluntary Specifications for Anodized Architectural Aluminum (Revised).”

      - AAMA 2604, "Voluntary Specification, Performance Requirements, and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Panels."

    - American Welding Society (AWS):

      - AWS D1.2, "Structural Welding Code – Aluminum."

    - ASTM International (ASTM):

      - ASTM B26/B26M,”Standard Specification for Aluminum-Alloy Sand Castings.”

      - ASTM B209/B209M ,”Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.”

      - ASTM B210/B210M, “Standard Specification for Aluminum and Aluminum-Alloy Drawn Seamless Tubes.”

      - ASTM B221/B221M, “Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.”

      - ASTM B247/B247M, “Standard Specification for Aluminum and Aluminum-Alloy Die Forgings, Hand Forgings, and Rolled Ring Forgings.”

      - ASTM B429/B429M, “Standard Specification for Aluminum-Alloy Extruded Structural Pipe and Tube.”

    - Code of Federal Regulation (CFR):

      - 16 CFR Part 1201, "Safety Standard for Architectural Glazing Material" (Consumer Products Safety Commission).

    - National Association of Architectural Metal Manufacturers (NAAMM):

      - NAAMM MFM, "Metal Finishes Manual."

## DEFINITIONS

    - See definitions in ASTM E985 for railing-related terms that apply to this Section.

## PERFORMANCE REQUIREMENTS

    - General: Handrails and railings shall withstand structural loading as determined by allowable design working stresses of materials based on the following standards.

      - Aluminum: AA SAS-30.

    - Structural Performance: Provide handrails and railings capable of withstanding the following structural loads without exceeding allowable design working stress of materials for handrails, railings, anchors, and connections:

      - Top Rail: Shall withstand the following loads:

        - Concentrated load of 200 lbf (890 N) applied at any point and in any direction.

        - Uniform load of 50 lbf per foot (730 N/m) applied horizontally or vertically downward.

        - Concentrated and uniform loads above need not be assumed to act concurrently.

      - Handrails not Serving as Top Rails: Shall withstanding the following loads:

        - Concentrated load of 200 lbf (890 N) applied at any point and in any direction.

        - Uniform load of 50 lbf per foot (730 N/m) applied in any direction.

        - Concentrated and uniform loads above need not be assumed to act concurrently.

      - Guard Infill Area: Shall withstand the following loads:

        - Concentrated horizontal load of 50 lbf (222 N) applied to 1 square foot (0.09 m2) at any point in system, including panels, intermediate rails, balusters, or other elements composing infill area. Loads need not be assumed to act concurrently with loads on top rails in determining stress on guard.

        - Pickets shall be spaced no more than 4” apart.

    - Thermal Movements: Handrails and railings shall allow for movements resulting from 120 degree F (49 degree C) changes in ambient and 180 degree F (82 degree C) surface temperatures. Base

Peter L Morse & Associates	2	Rochester Housing Authority September 20, 2023			158 Curtis St.

## SECTION 055200 ALUMINUM HANDRAILS AND RAILINGS

engineering calculation on surface temperatures of materials due to both solar heat gain and

nighttime-sky heat loss.

    - Corrosion Resistance: Separate incompatible materials to prevent galvanic corrosion.

## SUBMITTALS

    - General: Submit under provisions of Section 01 33 00 - Submittal Procedures.

    - Product Data:

      - Submit manufacturer’s data sheets on each product to be used, including, but not limited to, the following:

        - Preparation instructions and recommendations.

        - Storage and handling requirements and recommendations.

        - Installation methods.

      - Submit product data for manufacturers product lines of handrails and railings assembled from standard components, including, but not limited to, the following:

        - Grout, anchoring cements and paint products.

    - Shop Drawings: Submit shop drawings showing fabrication and installation of handrails and railings. Include plans, elevations, sections, details, and attachments to other work.

    - Samples:

      - Color Selection: Submit manufacturer's color charts showing the full range of colors available for products with factory-applied color finishes.

        - Finish Selection: Provide sections of railing or flat sheet metal which depict available mechanical surface finishes.

        - Color:  By RHA.

    - Quality Control Submittals:

      - Design Data: For installed handrails and railing systems indicated to comply with certain design loadings, include structural analysis data signed and sealed by the professional engineer who was responsible for their preparation.

## QUALITY ASSURANCE

    - Qualifications:

      - Manufacturer Qualifications: Manufacturer shall be a firm engaged in the manufacture of aluminum handrails and railings of types and sizes required, and whose products have been in satisfactory use in similar service for a minimum of 15 years.

    - Regulatory Requirements: Comply with applicable requirements of the laws, codes, ordinances, and regulations of Federal, State, and local authorities having jurisdiction. Obtain necessary approvals from such authorities.

Peter L Morse & Associates		Rochester Housing Authority September 20, 2023	3		158 Bartlett Street

    - Single Source Responsibility: Obtain aluminum handrails and railings from a single source with resources to produce products of consistent quality in appearance and physical properties without delaying the work.

## DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer's unopened packaging until ready for installation.

    - Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

## PROJECT CONDITIONS

    - Environmental Requirements: Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

## WARRANTY

    - General: See Section 0177 00 - Closeout Procedures.

    - Warranty: Provide manufacturer's standard form outlining the terms and conditions of their Standard Limited Warranty:

      - Surface Finish Warranty: One-year limited warranty.

      - Material Integrity Warranty: One year limited warranty.

    - Additional Owner Rights: The warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and shall be in addition to and run concurrent with other warranties made by the Contractor under requirements of the Contract Documents.

## EXTRA MATERIALS

    - All supplemental materials not expressly specified in this section shall be approved by the Architect prior to installation.

      - Provide 6 additional Pickets for attic storage.

## PART 2 - PRODUCTS

  - MANUFACTURERS

    - Basis of Design: Items specified are to establish a standard of quality for design, function, materials, and appearance. Equivalent products by other manufacturers are acceptable. The Architect will be the sole judge of the basis of what is equivalent.

## MATERIALS

Peter L Morse & Associates	4	Rochester Housing Authority September 20, 2023			158 Curtis St.

## SECTION 055200

ALUMINUM HANDRAILS AND RAILINGS

    - Aluminum

      - Architectural railings spindles and posts.

    - Basis of Design:, Equal to:

      - Color Guard Railing Systems. ColorGuardRailing.Com.

      - Provide all matching aluminum accessories from manufacturer for all post and base attachment.

        - Lincoln Series. – 36” overall height.

        - ¾” Square Pickets with system top rail.

        - Colors:  By RHA.

    - Provide all connectors for mounting hardware for all parts.

      - Provide base assembly and internal mounting bracket.

      - Swivel brackets for handrail connections at posts.

    - Metals: Provide metal free from pitting, seam marks, roller marks, stains, discolorations, and other imperfections where exposed to view on finished units.

      - Aluminum: Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than strength and durability properties of alloy and temper designated below for each aluminum form required.

        - Extruded Bar and Tube: ASTM B221/B221M, Alloy 6063-T5/T52.

        - Extruded Structural Pipe and Tube: ASTM B429/B429M, Alloy 6063-T832.

        - Drawn Seamless Tube: ASTM B210/B210M, Alloy 6063-T832.

        - Plate and Sheet: ASTM B209/B209M, Alloy 6061-T6.

        - Die and Hand Forgings: ASTM B247/B247M, Alloy 6061-T6.

        - Castings: ASTM B26/B26M, Alloy A356-T6.

      - Brackets, Flanges, and Anchors: Provide cast or formed metal of same type of material and finish as supported rails, unless otherwise indicated.

        - Provide manufacturers brackets with flange tapped for concealed anchorage to threaded hanger bolt.

        - Provide formed or cast brackets with predrilled hole for exposed bolt anchorage.

        - Provide formed steel brackets with predrilled hole for bolted anchorage and with snap-on cover that matches rail finish and conceals bracket base and bolt head.

        - Provide brackets with interlocking pieces that conceal anchorage. Locate set screws on bottom of bracket.

    - Railing Components:

      - Extruded Aluminum Components: Provide manufacturer’s standard extruded aluminum components as follows: See manufacturer’s standards.

        - Standard Post: 2.376 inches by 2.376 inches with radiused corner, 0.100 inch wall thickness.

        - Bottom Rail: 1.6926 inches high by 1.676 inches wide with a 0.765 inch wide pocket on the top and an open bottom.

        - Picket: 1-1/2” inch square with (1.57 mm) wall thickness.

Peter L Morse & Associates		Rochester Housing Authority September 20, 2023	5		158 Bartlett Street

        - Top Rail: as indicated on the Drawings and in the specifications or, if not indicated, as selected by the Architect from the manufacturer’s standards with an open bottom, 0.0866 inch (2.20 mm) wall thickness.

    - Fasteners:

      - Handrail Anchors: Select fasteners of type, grade and class required to produce connections suitable for anchoring handrails and railings to other types of construction indicated and capable of withstanding design loads.

      - Handrail and Railing Component Anchors: Use fasteners fabricated from same basic metal, unless otherwise indicated. Do not use metals that are corrosive or incompatible with materials joined.

        - Provide concealed fasteners for interconnecting railing components and for attaching them to other work, unless exposed fasteners are unavoidable or are standard fastening method for handrail and railing indicated.

        - Provide Phillips flat-head machine screws for exposed fasteners, unless otherwise indicated.

- Cast-in-Place and Post Installed Anchors: Provide anchors of type indicated below, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four items the load imposed when installed in concrete, as determined by testing per

ASTM E488 conducted by a qualified independent testing agency.

- Chemical anchors.

- Expansion anchors.

## FABRICATION

    - Assemble handrails and railings in shop to greatest extent possible to minimize field splicing and assembly. Disassemble units only as necessary for shipping and handling limitations. Clearly mark units for reassembly and coordinated installation. Use connections that maintain structural value of joined pieces.

    - Form changes in direction of railing members as shown on the Drawings.

    - Fabricate handrails and railings by connecting members with railing manufacturer's standard concealed mechanical fasteners and fittings, unless otherwise indicated. Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

    - Provide manufacturer's standard wall brackets, flanges, miscellaneous fittings, and anchors to connect handrail and railing members to other construction.

    - Provide inserts and other anchorage devices to connect handrails and railings to concrete or masonry. Fabricate anchorage devices capable of withstanding loads imposed by handrails and railings. Coordinate anchorage devices with supporting structure.

    - Shear and punch metals cleanly and accurately. Remove burrs from exposed cut edges.

screws, and similar items.

    - Close exposed ends of railing members with prefabricated end fittings.

    - Provide mounted handrail wall returns at wall ends unless otherwise indicated. Close ends of returns, unless clearance between end of railing and wall is 1/4 inch (6 mm) or less.

## FINISHES

    - General: Comply with NAAMM MFM for recommendations for applying and designating finishes.

      - Appearance of Finished Work:

        - Variations in appearance of abutting or adjacent units are acceptable if they are within one-half of the range of final samples. Noticeable variations in the same unit are not acceptable.

        - Variations in appearance of other components are acceptable if they are within the range of final samples and are assembled or installed to minimize contrast.

    - Aluminum Finish: Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

      - Powder Coat Finish: AA-C12-C42-R1x (Chemical Finish: cleaned with inhibited chemicals; Chemical Finish: acid chromate-fluoride-phosphate conversion coating; Organic Coating: as specified below). Prepare, pretreat, and apply manufacturer's standard baked powder coat finish. Comply with coating manufacturer's written instructions for cleaning, surface preparation, pretreatment, and application.

1) Color: Satin Anodized.

## PART 3 - EXECUTION

  - EXAMINATION

    - Verification of Conditions: Examine areas and conditions under which the work is to be installed, and notify the Contractor in writing, with a copy to the Owner and the Architect, of any conditions detrimental to the proper and timely completion of the work. Do not proceed with the work until unsatisfactory conditions have been corrected.

      - Examine substrates to receive anchors verifying that locations of concealed reinforcements have been clearly marked for the Installer. Locate reinforcements and mark locations if not already done.

      - Beginning of the work shall indicate acceptance of the areas and conditions as satisfactory by the Installer.

Peter L Morse & Associates		Rochester Housing Authority  September 20, 2023	7		158 Bartlett Street

## PREPARATION

    - Coordinate setting drawings, diagrams, templates, instructions, and directions for installing anchors, such as sleeves, concrete inserts, anchor bolts, and miscellaneous items having integral anchors, that are to be embedded in concrete or masonry construction. Coordinate delivery of such items to the Project site.

## INSTALLATION

    - General:

      - Fitting: Fit exposed connections together to form tight, hairline joints.

      - Cutting and Placement: Set handrails and railings accurately in location, alignment, and elevation measured from established lines and levels and free from rack.

        - Do not weld, cut, or abrade coated or finished surfaces of railing components that are intended for field connection by mechanical or other means without further cutting or fitting.

        - Align rails so variations from level or parallel alignment do not exceed 1/4 inch in 12 feet (1.6 mm per m).

          - Cover anchorage joint with a round steel flange attached to post by set screws.

          - Leave anchorage joint exposed, wipe off surplus anchoring material, and leave 1/8 inch (3 mm) buildup, sloped away from post.

      - Corrosion Protection: Provide separation as recommended by manufacturer on concealed surfaces of aluminum that will be in contact with grout, concrete, masonry, wood, or dissimilar metals.

      - Adjusting: Adjust handrails and railings before anchoring to ensure alignment at abutting joint's space posts at interval indicated, but not less than required to achieve structural loads.

      - Fastening to In-Place Construction: Use anchorage devices and fasteners where necessary for securing handrails and railings and for properly transferring loads to in-place construction.

    - Non-Welded Railings Connections: Use mechanical joints for permanently connecting railing components. Use wood blocks and padding to prevent damage to railing members and fittings.

## ADJUSTING AND CLEANING

    - Touch-Up Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and appoint exposed areas with same material.

    - Cleaning: Restore finishes damaged during installation and construction period so no evidence remains of correction work. Return items that cannot be refinished in field to shop; make required alterations and refinish entire unit, or provide new units.

## PROTECTION

    - Provide final protection and maintain conditions in a manner acceptable to the Installer, that shall

ensure that the aluminum handrails and railings shall be without damage at time of Substantial Completion.

    - Protect finishes of handrails and railings from damage during construction period with temporary protective coverings approved by railing manufacturer. Remove protective coverings at the time of Substantial Completion.

END OF SECTION

PART 1 - GENERAL

| 1.1 |  | RELATED DOCUMENTS |
| --- | --- | --- |
|  | A. | Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section. |
| 1.2 |  | SUMMARY |
|  | A. | Section Includes: - Framing with dimension lumber. - Deck and porch framing with steps. - Installing (2) 4” Dia. Steel Bollards - Wood blocking and nailers for drywall, grab bars wall sinks, and misc .items. - OSB floor sheathing. |

  - FRAMING LUMBER:

AWPA Hem-fir # 2 grade or better. Exterior walls are 2 x 4 studs at 16”o.c. Bottom plate shall be pressure treated on continuous sill sealer.

    - Interior partitions: 2 x 4’s at 16” o.c

    - All framed openings shall have structural wood headers as indicated on plans. Note: Pro- vide.  Headers as shown on Drawings

    - ¼ ” luan sub-flooring for all floors. Glued and nailed.

## PART 2 - EXTERIOR CARPENTRY

- Provide AWPA Wolmanized UC4A pressure treated lumber for all exterior structural lumber for stoop and steps. (Non-ground contact rated PT lumber.) posts shall be 6” x 6” nominal. Notch for full beam bearing on deck.

  - Provide double dipped galvanized nails and Simpson Strong Tie fasteners and post bases for all connectors as shown.

  - Provide aluminum flashing as necessary at wall/ deck/ exterior at all joints. Caulk with clear silicone.

  - Use Decorative Column base equal to: Simpson Strong-Tie 6 In. x 6 In. Post Base MPBZ. Attach to existing Masonry on front porch.

  - Use Simpson Strong Tie ABU series base for Handicapped ramp 6 x 6 columns.

  - Use Column top metal anchor equal to: Simpson Strong-Tie. CCOQ3. Attach to wood framing and top of finished column.

  - Apply weather membrane barrier on walls and counterflash over deck/ ramp framing. Weather barrier equal to: Grace Peel-and-Stick

  - Fasten ledger board to residence using approved ledger screws. Screws shall be equal to FastenMaster “Ledger Lok”. Length 5” min. Install at 16” o.c. as noted on plans.

  - Rear and Front Steps: form stringers out of (2) 2 x 12’s each side. Cut one stringer for full bearing. Steps – 2 x 12. Risers 2 x 6. Bottom of stair stringers shall be placed on metal bearing plates. Use Simpson Strong Tie Angle brackets for stringer attachment and secure to concrete slab.  Provide ½” Finishing equal to LP Smart Siding.

  - Provide solid PVC skirting at deck as indicated on plans. Stain to match ramp. Place solid wood matching between posts and stringers and picture frame with 1” x 1” PT trim. Provide trim at all intersections. No raw  edges.  Galvanized finish  nails.  NOTE: skirting shall not touch the ground.

  - Composite deck and Ramp: Equal to Azek “Harvest Collection”. Color: Brownstone. Fasten all composite deck to pressure treated lumber, with matching recessed blind fasteners equal to FastenMaster Cortex for decking. Install deck with 2 ¾” screws.

  - Provide Cortex concealed fastening system and plugs at each deck fastener screw with matching composite plug. Use manufacturer’s approved adhesive.

  - Provide matching composite edge banding, spindles, and handrails as detailed.

  - Handrails and Spindles: Aluminum.

## DEFINITIONS

    - Dimension Lumber: Lumber of 2 inches nominal or greater but less than 5 inches nominal in least dimension.

    - Lumber grading agencies, and the abbreviations used to reference them, include the following:

      - WCLIB: West Coast Lumber Inspection Bureau.

      - WWPA: Western Wood Products Association.

## ACTION SUBMITTALS

    - Product Data: For each type of process and factory-fabricated product. Indicate component materials and dimensions and include construction and application details.

      - Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements. Indicate type of preservative used and net amount of preservative retained.

      - For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

      - Include copies of warranties from chemical treatment manufacturers for each type of treatment

## DELIVERY, STORAGE, AND HANDLING

    - Stack lumber flat with spacers beneath and between each bundle to provide air circulation. Protect lumber from weather by covering with waterproof sheeting, securely anchored. Provide for air circulation around stacks and under coverings.

## PART 3 - PRODUCTS

  - WOOD PRODUCTS, GENERAL

    - Lumber:  DOC PS 20 and applicable rules of grading agencies indicated.  If no grading agency is indicated, provide lumber that complies with the applicable rules of any rules-writing agency certified by the ALSC Board of Review. Provide lumber graded by an agency certified by the ALSC Board of Review to inspect and grade lumber under the rules indicated.

      - Factory mark each piece of lumber with grade stamp of grading agency.

      - Where nominal sizes are indicated, provide actual sizes required by DOC PS 20 for moisture content specified. Where actual sizes are indicated, they are minimum dressed sizes for dry lumber.

      - Provide dressed lumber, S4S, unless otherwise indicated.

    - Maximum Moisture Content of Lumber: 19 percent unless otherwise indicated.

## WOOD-PRESERVATIVE-TREATED LUMBER

    - Preservative Treatment by Pressure Process: AWPA U1; Use Category UC2.

      - Preservative Chemicals: Acceptable to authorities having jurisdiction and containing no arsenic or chromium.

    - Kiln-dry lumber after treatment to a maximum moisture content of 19 percent. Do not use material that is warped or that does not comply with requirements for untreated material.

    - Mark lumber with treatment quality mark of an inspection agency approved by the ALSC Board of Review.

    - Application: Treat items indicated on Drawings, and the following:

      - Wood cants, nailers, curbs, equipment support bases, blocking, stripping, and similar members in connection with roofing, flashing, vapor barriers, and waterproofing.

      - Wood floor plates that are installed over concrete slabs-on-grade.

## DIMENSION LUMBER FRAMING

    - Non-Load-Bearing Interior Partitions:  Construction or No. 2 grade.

      - Application:  Interior partitions not indicated as load-bearing.

      - Species:

        - Hem-fir; WCLIB, or WWPA.

    - Load-Bearing Partitions: No. 2 grade.

      - Application: Exterior walls and interior load-bearing partitions.

      - Species:

        - Hem-fir; WCLIB or WWPA.

## MISCELLANEOUS LUMBER

    - General: Provide miscellaneous lumber indicated and lumber for support or attachment of other construction, including the following:

      - Blocking, and for handicapped grab bars.

      - Nailers for attaching doors, windows.

    - For items of dimension lumber size, provide Construction or No. 2 grade lumber and the following species:

      - Hem-fir; WCLIB or WWPA.

    - For blocking not used for attachment of other construction, Utility, Stud, or No. 3 grade lumber of any species may be used provided that it is cut and selected to eliminate defects that will interfere with its attachment and purpose.

    - For blocking and nailers used for attachment of other construction, select and cut lumber to eliminate knots and other defects that will interfere with attachment of other work.

## FASTENERS

    - General: Provide fasteners of size and type indicated that comply with requirements specified  in this article for material and manufacture.

      - Where rough carpentry is exposed to weather, in ground contact, pressure-preservative treated, or in area of high relative humidity, provide fasteners with hot-dip zinc coating complying with ASTM A 153/A 153M.

    - Nails, Brads, and Staples: ASTM F 1667.

    - Power-Driven Fasteners: NES NER-272.

    - Wood Screws: ASME B18.6.1.

    - Lag Bolts: ASME B18.2.1.

    - Bolts: Steel bolts complying with ASTM A 307, Grade A; with ASTM A 563 hex nuts and, where indicated, flat washers.

    - Expansion Anchors: Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry assemblies and equal to four times the load imposed when installed in concrete as determined by testing per ASTM E 488 conducted by a qualified independent testing and inspecting agency.

      - Material: Stainless steel with  bolts  and  nuts  complying  with  ASTM F 593  and  ASTM F 594, Alloy Group 1 or 2.

## METAL FRAMING ANCHORS

    - Manufacturers:	Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

      - Simpson Strong-Tie Co., Inc.

      - USP Structural Connectors.

    - Galvanized-Steel	Sheet:	Hot-dip,	zinc-coated	steel	sheet	complying	with ASTM A 653/A 653M, G60 coating designation.

      - Use for interior locations unless otherwise indicated.

    - Hot-Dip, Heavy-Galvanized Steel Sheet: ASTM A 653/A 653M; structural steel (SS), high- strength low-alloy steel Type A (HSLAS Type A), or high-strength low-alloy steel Type B (HSLAS Type B); G185 coating designation; and not less than 0.036 inch thick.

      - Use for wood-preservative-treated lumber and where indicated.

    - Wall Bracing: T-shaped bracing made for letting into studs in saw kerf, 1-1/8 inches wide by 9/16 inch deep by 0.034 inch thick with hemmed edges.

## MISCELLANEOUS MATERIALS

    - Sill-Sealer Gaskets: (At new exterior wood framing plates) Closed-cell neoprene foam, 1/4 inch thick, selected from manufacturer's standard widths to suit width of sill members indicated.

    - Water-Repellent Preservative: NWWDA-tested and -accepted formulation containing 3-iodo-2- propynyl butyl carbamate, combined with an insecticide containing chloropyrifos as its active ingredient.

    - Adjustable Steel Columns (in basement).  Install directly on to Concrete Floor. Equal to:		 	1.    Tiger Brand Jack Posts.  Size and locations shown on drawings.  					2.    Powder coat finish.(exceeds ASTM-B117-85).    							3.    Complies with IBC and IRC Building Codes.  ICC-ESR-1766.

## PART 4 - EXECUTION

  - INSTALLATION, GENERAL

    - Set rough carpentry to required levels and lines, with members plumb, true to line, cut, and fitted. Fit rough carpentry to other construction; scribe and cope as needed for accurate fit. Locate nailers, blocking, and similar supports to comply with requirements for attaching other construction.

    - Framing Standard: Comply with AF&PA's WCD 1, "Details for Conventional Wood Frame Construction," unless otherwise indicated.

    - Metal Framing Anchors: Install metal framing anchors to comply with manufacturer's written instructions. Install fasteners through each fastener hole.

    - Install sill sealer gasket to form continuous seal between sill plates and foundation walls.

    - Do not splice structural members between supports unless otherwise indicated.

    - Provide blocking and framing as indicated and as required to support facing materials, fixtures, specialty items, and trim.

    - Provide fire blocking in furred spaces, stud spaces, and other concealed cavities as indicated and as follows:

      - Fire block concealed spaces of wood-framed walls and partitions at each floor level, at ceiling line of top story, and at not more than 96 inches o.c. Where fire blocking is not inherent in framing system used, provide closely fitted solid wood blocks of same width as framing members and 2-inch nominal- thickness.

      - Fire block concealed spaces behind combustible cornices and exterior trim at not more than 20 feet o.c.

    - Sort and select lumber so that natural characteristics will not interfere with installation or with fastening other materials to lumber. Do not use materials with defects that interfere with function of member or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

    - Comply with AWPA M4 for applying field treatment to cut surfaces of preservative-treated lumber.

      - Use copper naphthenate for items not continuously protected from liquid water.

    - Securely attach rough carpentry work to substrate by anchoring and fastening as indicated, complying with the following:

      - NES NER-272 for power-driven fasteners.

      - Table 2304.9.1, "Fastening Schedule," in Building Code of New York State (ICC's International Building Code).

    - Use steel common nails unless otherwise indicated. Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials.

Make tight connections between members. Install fasteners without splitting wood. Drive nails snug but do not countersink nail heads unless otherwise indicated.

## WOOD BLOCKING, AND NAILER INSTALLATION

    - Install where indicated and where required for attaching other work. Form to shapes indicated and cut as required for true line and level of attached work. Coordinate locations with other work involved.

    - Attach items to substrates to support applied loading. Recess bolts and nuts flush with surfaces unless otherwise indicated.

    - Where wood-preservative-treated lumber is installed adjacent to metal decking, install continuous flexible flashing separator between wood and metal decking.

## WALL AND PARTITION FRAMING INSTALLATION

    - General: Provide single bottom plate and double top plates using members of 2-inch nominal thickness whose widths equal that of studs, except single top plate may be used for non-load- bearing partitions. Fasten plates to supporting construction unless otherwise indicated.

    - Construct corners and intersections with three or more studs.

    - Frame openings with multiple studs and headers. Provide nailed header members of thickness equal to width of studs. Support headers on jamb studs.

      - For non-load-bearing partitions, provide double-jamb studs and headers not less than 4- inch nominal depth for openings 48 inches and less in width, 6-inch nominal depth for openings 48 to 72 inches in width, 8-inch nominal depth for openings 72 to 120 inches in width, and not less than 10-inch nominal depth for openings 10 to 12 feet in width.

      - For load-bearing walls, provide double-jamb studs for openings 60 inches and less in width, and triple-jamb studs for wider openings. Provide headers of depth indicated.

    - Provide diagonal bracing in exterior walls, at both walls of each external corner, at 45-degree angle, full-story height unless otherwise indicated. Use 1-by-4-inch nominal- size boards, let-in flush with faces of studs or metal wall bracing, let into studs in saw kerf.

## PROTECTION

    - Protect rough carpentry from weather.

## END OF SECTION

PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Rough Carpentry:  Section 061000.

    - Doors: Section 081400.

## REFERENCES

    - Comply with the applicable provisions of the "Architectural Woodwork Standards" (First Edition-2009) (AWS) except as otherwise specified herein. References to "Premium", "Custom" and "Economy" Grades herein, shall be as defined in that Standard.

    - Lumber Standard: AWS Section 3.

- Lumber Standard; American Softwood Lumber Standard: U.S. Dept. of Commerce Product Standard PS-20.

- Panel Products: AWS Section 4.

- Preservative Treatment Standard: American Wood Protection Association Standard (AWPA) U1-02

## SUBMITTALS

- Samples:

  - Transparent Finish Samples: 12 inches long x full width, 6 inch width for panels; each type wood species and item to receive finish:

  - Stair handrails and Newel Post – Cut sheets.

  - Kitchen Cabinets.

  - Rev-a Shelf Shelving

## QUALITY ASSURANCE

    - Mill and Producer's Label: Each lumber and panel item shall bear label indicating type, grade, mill, and grading agency on unfinished surface, or on end of material with finished surfaces.

      - Panels shall bear APA or equivalent grade-mark; each panel.

## DELIVERY, STORAGE, AND HANDLING

    - Store materials and completed fabricated wood items in a dry, well ventilated area completely protected from the weather. Comply with temperature and humidity requirements for storage and installation as specified in the applicable quality standards.

    - Protect sanded and prefinished surfaces during handling and installation. Keep such surfaces covered with polyethylene film or other suitable protective covering.

## PROJECT CONDITIONS

    - Environmental Requirements: Maintain constant minimum temperature of 60 degrees F and maximum relative humidity of 55 percent in spaces to receive the Work of this Section.

## PART 2 PRODUCTS

  - MATERIALS

    - Trim Lumber: MDF Board.

    - Fasteners:

      - Nails, Spikes, and Staples:  Size and type to suit application; non-ferrous metal or galvanized steel for exterior locations, high humidity locations, treated wood, and wood to receive transparent finishes; plain finish for other interior locations.

      - Bolts, Nuts, Washers, Lags, and Screws: Medium carbon steel; size and type to suit application; galvanized for exterior locations, high humidity locations, and treated wood; plain finish for other interior locations.

      - Anchors: Toggle bolt type for anchorage to hollow masonry; expansion shield and lag bolt type for anchorage to solid masonry or concrete; galvanized steel or stainless steel.

## STANDING AND RUNNING TRIM AND FINISHES.

    - Comply with AWS Sections 6 and/or 12 as applicable, and as otherwise specified herein.

    - Interior Woodwork   AWS Custom Grade.

    - Doors and Frames.

      - Replace all existing window sill with hardwood trim.  Stain to match existing trim.

      - Style Selections Remodel Window Trim Kit Model #WKT36-96.

      - Window Sills (with overlap, as drawn)

D. 	Finishes: All new interior Finish Carpentry shall be stained and varnished to match existing.

1.	Stair and baseboard shoe molding.  To be painted.

## STAIRS AND BANISTERS:

A	Remove existing Stair handrails and balusters. Install new stair assembly Equal to:

## 1.   Handrail:  Equal to Evermark                                                                                                      		                    Stair Parts 6010 16 ft. Unfinished Red Oak Handrail

### 2.   Stair assembly including handrails ,balusters and shoe supports: Evermark

### a. Stair Parts 44 in. x 1/2 in. Matte Black Double Twist Iron Baluster for Stair Remodel

- b.  Stair Parts 1/2 in. Matte Black Angled Metal Baluster Shoe for Stair Remodel

Model# SQISS-IP12

c.  Model# I551B-044-HD00D

## CLOSET AND UTILITY SHELVING AND RODS

    - Comply with AWS Section 10 and as otherwise specified herein.

    - Closet Rod & shelf:

1.   Closet/utility shelving and rods; B2-3/4” ‘Sande’ Brand Plywood. Use 1x3 cleats for 		                      brackets.

## FABRICATION

    - Machine and sand wood surfaces to comply with the requirements of the AWS Quality Grade specified.

    - Mill assemble items to largest sizes practicable, to minimize field cutting and jointing. Allow for cutting and fitting where necessary to fit at the Site.

## PART 4 EXECUTION

  - EXAMINATION

    - Verification of Conditions: Examine substrate conditions and surfaces upon which finish Work is to be installed. Do not proceed with finish Work until unsatisfactory substrate conditions are corrected.

## PREPARATION

    - Condition the Work of this Section to average prevailing humidity conditions in installation areas prior to installing.

## INSTALLATION

    - Comply with workmanship and finishing standard requirements of the AWS Quality Grade specified herein.

    - Install the Work plumb, level, and free of distortion. Shim where required, with concealed shims.

    - Cut wood items to fit unless specified to be shop-fabricated, or shop-cut to exact size. Scribe and cut for accurate fit where Work abuts other finish Work. Drill pilot holes at corners before making cutouts.

    - Distribute defects to the greatest appearance advantage possible.

    - Trim and Molding: Install in single, un-jointed lengths at openings and for runs less than the maximum lumber length available. For long runs, use only 1 piece less than the maximum length available in any straight run. Stagger joints in adjacent members.

Cope molding at returns. Miter at corners.

    - Attach the Work securely in place.

      - Nailing: Blind nail where possible. Use finishing nails where exposed. Set nail heads for filling, except for exterior wood scheduled to receive natural finish (if any).

      - Anchoring: Secure the Work to anchors or to blocking which is built-into or directly attached to substrates.

## CLEANING

    - Clean exposed surfaces of prefinished Work.

## PROTECTION

    - Protect installed Work from damage by Work of other trades. Maintain temperature and humidity requirements during the construction period in interior installation areas.

## END OF SECTION

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

## SUMMARY

    - Section Includes:

      - New Handicapped ramp.

      - Exterior trim boards.

      - Exterior Fiberglass Structural Decorative Columns.

      - Exterior Aluminum Handrails

## ACTION SUBMITTALS

    - Product Data: For each type of process and factory-fabricated product. Indicate component materials, dimensions, profiles, textures, and colors and include construction and application details.

## DELIVERY, STORAGE, AND HANDLING

    - Stack plywood, and other panels flat with spacers between each bundle to provide air circulation. Protect materials from weather by covering with waterproof sheeting, securely anchored. Provide for air circulation around stacks and under coverings.

    - Protect decorative trim, and columns in an area free from traffic. Keep dry until use.

## FIELD CONDITIONS

    - Weather Limitations: Proceed with installation only when existing and forecast weather conditions permit work to be performed and at least one coat of specified finish can be applied without exposure to rain, snow, or dampness.

    - Do not install finish carpentry materials that are wet, moisture damaged, or mold damaged.

      - Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

      - Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

## PART 2 – PRODUCTS

  - EXTERIOR FINISH PRODUCTS

    - Product/Manufacturer: Basis of design.

Subject to compliance with requirements, available products may be incorporated into the Work include, but are not limited to, the following:

      - Exterior porch ceiling:   Vinyl Beadboard by Eucatile.  White True Bead Panel.

## MISCELLANEOUS MATERIALS

    - Fasteners for Exterior Finish Carpentry: Provide nails or screws, in sufficient length to  penetrate not less than 1-1/2 inches into wood substrate.

      - For face-fastening soffits, provide ringed-shank siding nails or hot-dip galvanized-steel siding nails unless otherwise indicated.

    - Sealants: Latex, complying with ASTM C 834 Type OP, Grade NF and with applicable requirements in Section 079200 "Joint Sealants," recommended by sealant manufacturer and manufacturer of substrates for intended application.

## PART 3 - EXECUTION

  - EXAMINATION

    - Examine substrates, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

    - Examine finish carpentry materials before installation. Reject materials that are wet, moisture damaged, and mold damaged.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

## PREPARATION

    - Clean substrates of projections and substances detrimental to application.

## INSTALLATION, GENERAL

    - Do not use materials that are unsound, warped, improperly treated or finished, inadequately seasoned, or too small to fabricate with proper jointing arrangements.

      - Do not use manufactured units with defective surfaces, sizes, or patterns.

    - Install exterior finish carpentry level, plumb, true, and aligned with adjacent materials. Use concealed shims where necessary for alignment.

      - Scribe and cut exterior finish carpentry to fit adjoining work. Refinish and seal cuts as recommended by manufacturer.

      - Install to tolerance of 1/8 inch in 96 inches for level and plumb. Install adjoining exterior finish carpentry with 1/32-inch maximum offset for flush installation and 1/16-inch maximum offset for reveal installation.

      - Coordinate exterior finish carpentry with materials and systems in or adjacent to it. Provide cutouts for mechanical and electrical items that penetrate exterior finish carpentry.

## ADJUSTING

    - Replace exterior finish carpentry that is damaged or does not comply with requirements. Exterior finish carpentry may be repaired or refinished if work complies with requirements and shows no evidence of repair or refinishing. Adjust joinery for uniform appearance.

## CLEANING

    - Clean exterior finish carpentry on exposed and semi-exposed surfaces. Touch up factory- applied finishes to restore damaged or soiled areas.

## PROTECTION

    - Protect installed products from damage from weather and other causes during construction.

    - Remove and replace finish carpentry materials that are wet, moisture damaged, and mold damaged.

      - Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

      - Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

## END OF SECTION 062013

PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Finish Carpentry:  Section 062000.

    - Plumbing Fixtures Section 224200

## REFERENCES

    - Comply with the applicable provisions of the "Architectural Woodwork Standards" (First Edition-2009) (AWS) except as otherwise specified herein. References to "Premium", "Custom", and "Economy" Grades herein, shall be as defined in that Standard.

## SUBMITTALS

    - Shop Drawings: Show fabrication details and connections to adjacent Work.

    - Product Data: Manufacturers' catalog sheets, specifications, and installation instructions for plastic laminates and hardware items.

    - Samples:

      - Plastic Laminate: 12 inch square section, each type.

        - Color Samples: Manufacturer's standard colors, textures, and finish.

## PART 2 PRODUCTS

  - CABINETS AND COUNTERTOPS

    - Comply with AWS Sections 10 and 11 except as otherwise specified herein. Reference KCMA and The National Kitchen + Bath Association (NKBA) standards for Kitchen Cabinets manufacturer.

    - Wall and Base Cabinets:

      - Provide and install base and wall cabinets as detailed on the plans. equal to:

        - Kraftmaid: ADA Passport Series cabinets.

.	2.	¾ Partial Overlay

- Style: Shaker 5

- Upper cabinets shall be 15” deep.

- Color:  Painted White.

    - Provide 4 “coved rubber base on fronts of all cabinets equal to Johnsonite. 1/8” Rubber wall base Color: #259 “Terra Firma”.

D.	Provide easy glide soft closer drawer slides and cabinet closers.

## COUNTEROPS

  - SCOPE

    - Provide and Install solid surface countertops in Kitchen as noted on plans.

  - REFERENCE STANDARDS:

    - ANSI/NPA A208.209 Medium Density Fiberboard (MDF) For Interior Applications

    - ASTM C920 - 14a Standard Specification for Elastomeric Joint sealants

    - ASTM D638 -10.Standard Test Method for Tensile Properties of Plastics

    - ASTM D785 08 Standard Test Method for Rockwell Hardness of Plastics and Electrical Insulating Materials

    - ASTM D5420 10 Standard Test Method for Impact Resistance of Flat, Rigid Plastic Specimen by Means of a Striker Impacted by a Falling Weight (Gardner Impact)

    - ASTM E84 14 Standard Test Method for Surface Burning Characteristics of Building Materials

    - ASTM E228 11 -Standard Test Method for Linear Thermal Expansion of Solid Materials with a Push Rod Dilatometer

8	ASTM G21 – 13 Standard Practice for Determining Resistance of Synthetic Polymeric Materials to Fungi

9.	ASTM G22 -76(96) Standard Practice for Determining Resistance of Plastics to Bacteria.

  - COUNTERTOP MANUFACTURER

    - Formica by Wilsonart for kitchen.

    - Bath is solid surface quartz with integrated sink

Approved equal.

  - SUBMITTALS

- Product Data: Indicate Product description including solid surface sheets, sinks, bowls and illustrating full range of standard colors, fabrication information and compliance with specified performance requirements.

- Shop Drawings: Along with the Kitchen Cabinets, Submit Shop Drawings for work of this Section in accordance with Section 01 30 00. Indicate plans, sections, dimensions, component sizes, edge details, thermosetting requirements, fabrication details, attachment provisions, sizes of furring, blocking, including concealed blocking and coordination requirements with adjacent work. Show locations and sizes of cutouts and holes for plumbing fixtures, faucet and other items installed in solid surface.

  - COUNTERTOP FEATURES

    - 1/4” Bevel.

Integrated backsplash.

    - 1 ½” thick.

## HARDWARE

    - Provide hardware as required for architectural woodwork, including cabinet hardware and miscellaneous items. Hardware Standard: Comply with BHMA A156.9 for items indicated by reference to BHMA numbers or referenced to this standard.

    - Door pulls:  Arched 6” pull by Liberty Model # P22667C. with bronze finish.

    - A653/A653M -Standard Specification for Steel sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy Coated (Galvannealed) by the Hot-Dip process.

    - E84 Standard Test Method for Surface Burning Characteristics of Building Materials.

    - F593 – Standard Specification for Stainless Steel Bolts, Hex Cap Screws and Studs

    - F1554 – Standard Specification for Steel Bolts, Hex Cap Screws and Studs.

  - CABINET INSERTS

A	Provide accessible Kitchen Cabinet Hardware equal to: Rev-a-Shelf

      - A 5pd-24cr Pull-Down Shelving System – Chrome A 5pd-36cr www.Rev-a-shelf.com.  Provide 2 inserts for upper shelves.

      - Base pull out pantry. Wire shelf model 594-1. 14 7/8" W x 22" D x 19.25" H. Designed for 18" Base Cabinets

B.         Provide cabinet insert for waste basket.

## PART 3 EXECUTION

  - INSTALLATION

    - Install the Work of this Section in strict accordance with the manufacturer's printed instructions and approved shop drawings (if any).

    - Fit joints neatly and accurately with adjoining surfaces in same plane. Maintain field joint tolerances equal to those specified in AWS Standards.

    - Fastening:

      - Use concealed fasteners for work to receive transparent finish.

      - Fasten assembled items together securely.

      - Fasten items securely to supporting surfaces.

      - Set exposed nails for putty stopping.

      - Plug stop screws in exposed-to-view surfaces.

      - Perform gluing operations in such a manner that the glued surfaces will be in close contact throughout, firmly cemented together and with joints as nearly invisible as possible.

## END OF SECTION

PART 1 - 1.01 GENERAL

  - SECTION INCLUDES

    - Shower walls and vanity backsplash

    - Kitchen backsplash.

    - Metal termination bars.

## SUBMITTALS

    - Product Data: Submit manufacturer’s current product literature, including installation instruction.

    - Quality Assurance Submittals

      - Manufacturer Instructions: Provide manufacturer’s written installation instructions.

## DELIVERY, STORAGE AND HANDLING

    - Deliver solid surfacing materials and components in manufacturer’s original, unopened, undamaged containers with identification labels intact.

    - Store panels as recommended by manufacturer.

## WARRANTY

    - Manufacturer standard warranty indicating that all materials will be free from defects from  the date of substantial completion for the time periods indicated below:

      - Solid Surfacing: Homogenous compression molded material composed of acrylic resins or polyester/acrylic resin blend, fire-retardant filler materials, fiber reinforcement, and coloring agents.

      - Manufacturers: Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following: 1 year warranty.

  - MATERIALS

A.   Shower surround and vanity backsplash. Basis of design: Basis of Design

  - Approved equals.

    - Aristech Acrylics; “Avonite Surfaces”; www.aristechsurfaces.com . Color:

White

    - Formica Corp.; “Formica Solid Surfacing”; www.formica.com

    - LGHausys; “HI-MACS Solid Surface”; www.lghimacsusa.com

    - Swan Surfaces, LLC; “Swanstone”; www.swanstone.com

    - Wilsonart; “Wilsonart Solid Surface”; www.wilsonart.com

  - Surfaces of material adhesively joined with inconspicuous seams, consisting of four panels, typical, with batten strips, vertical edge and ceiling trim strips, adhesively applied to approved substrate using thin-set neoprene-based panel adhesive or Type 1 ANSI A

136.1 solvent-based adhesive with matching color.

- Thickness: 1/4 inch

- Size: 30 or 36 inches by needed height.

- Finish: Matte

- Color: Selected from manufacturer’s standard range of available colors. White.

  - FABRICATION

    - Fabricate components in shop to greatest extent practical to sizes and shapes needed.

    - Form joints between components using manufacturer’s standard joint adhesive without conspicuous joints.

    - Provide holes and cutouts for plumbing fittings and bath accessories.

    - Rout and finish component edges to a smooth, uniform finish. Rout cutouts, then sand edges smooth. Repair or reject defective or inaccurate work.

    - Fabrication Tolerances: Plus or minus 1/16 inch overall.

  - ACCESSORIES

    - Joint adhesive: Manufacturer’s standard one- or two-part adhesive kit to create inconspicuous, nonporous joints.

    - Panel adhesive: Manufacturer’s standard neoprene-based panel adhesive complying with ANSI A136.1-1967, UL listed.

    - Sealant: Manufacturer’s standard mildew-resistant, FDA-compliant, NSF 51-compliant (food zone — any type), UL-listed silicone sealant in colors matching components.

## Part II. EXECUTION

  - EXAMINATION

    - Examine substrates and conditions, with fabricator/installer present for compliance with requirements for installation tolerances, and other conditions affecting performance of work.

    - Caulk and seal all penetrations due to installation of grab bars, plumbing trim and other accessories.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

## INSTALLATION

- Install components plumb, level, and rigid, scribed to adjacent finishes.

- Provide product in the largest pieces available.

- Form field joints using manufacturer’s recommended adhesive, with joints inconspicuous in finished work.

- Exposed joints/seams shall not be allowed.

- Cut and finish component edges with clean, sharp returns.

- Rout radii and contours to template.

- Carefully dress joints smooth, remove surface scratches and clean entire surface.

- Seal between wall and components with joint sealant.

## CLEAN AND REPAIR

    - Repair minor imperfections and cracked seams and replace areas of severely damaged surfaces in accordance with manufacturer’s instructions.

    - Clean all surfaces prior to final acceptance.

## Section End.

PART 1 GENERAL

## RELATED WORK SPECIFIED ELSEWHERE

    - Wood Nailers and Blocking: Section 061053.

    - Rough Carpentry. Section 061000

## REFERENCES

    - SMACNA: Sheet Metal and Air Conditioning Contractors' National Association, 4201 Lafayette Center Dr., Chantilly, VA 20151-1209, (703) 803- 2980, www.smacna.org.

    - CDA: Copper Development Association Inc., 260 Madison Ave., New York, NY 10016, (212) 251-7200, www.copper.org

    - ASTM: ASTM International, 100 Barr Harbor Dr., PO Box C700, West Conshohocken, PA, 19428-2959, (610) 832-9500, www.astm.org.

## SYSTEM DESCRIPTION

    - Metal flashings, trim, and related accessories that form terminations and waterproof connections.

    - Use flashings where new back deck/ ramp abuts the house.

## SUBMITTALS

    - Product Data: Catalog sheets, specifications, installation instructions for each item specified except for shop or job formed items, solder, flux, and bituminous paint.

- Samples:

  - Materials for Flashings: One 6 inch sq piece, for each type material specified.

  - Exterior window trim. Full section, 12 inches long.

## QUALITY ASSURANCE

    - Except as otherwise shown or specified, comply with applicable recommendations, details, and standards of CDA, and SMACNA.

    - Manufacturer’s Recommendations: For factory fabricated items, follow the manufacturer’s recommendations and installation instructions unless specifically shown or specified otherwise.

## PROJECT CONDITIONS

    - Do not execute the Work of this Section unless the Director’s Representative is present, or unless they direct that the Work be performed during their absence.

    - Make the roof and all uncompleted flashings watertight at the end of each work day.

## PART 2 PRODUCTS

  - MATERIALS FOR FLASHING FABRICATION

    - Aluminum Sheet: Standard pre-finished aluminum sheet. ASTM B 209, 3003- H14 alloy.

## FASTENERS

    - Nails: “Stronghold” type large flat head roofing nail.

      - For Aluminum: Hard aluminum alloy or stainless steel.

4.	For Galvanized: Galvanized.

    - Screws, Bolts, and Other Fastening Accessories:

      - For Aluminum: Hard aluminum alloy or stainless steel.

4.	For Galvanized: Stainless steel.

    - Anchors: Provide one of the following types:

      - Hammer driven anchors, consisting of a stainless steel drive pin and a plastic or corrosion resistant metal expansion shield inserted thru a stainless steel disc with an EPDM sealing washer.

      - Self-tapping, corrosion resistant, concrete and masonry screw inserted thru a stainless steel disc with an EPDM sealing washer.

## MISCELLANEOUS MATERIALS

    - Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

## FABRICATION

    - Where practicable, form and fabricate sheet metal Work in the factory or shop. Produce bends and profiles accurately to the indicated shapes. Where not indicated or specified, follow the applicable requirements of the reference standards listed in PART 1.

    - Base Flashing:

      - Prefinished Aluminum: .032 inch.

    - Door trim and Window Flashing:

      - Mill finish Aluminum: .025 inch.

## PART 3 EXECUTION

  - EXAMINATION

    - Coordinate the Work of this Section with other Work for the correct sequencing of items that make up the entire system of weatherproofing or waterproofing.

## PREPARATION

    - Do not install the Work of this Section unless all necessary nailers, blocking and other supporting components have been provided.

    - Do not install the Work of this Section unless all substrates are clean and dry.

## INSTALLATION

    - Isolation: Separate dissimilar metals from each other with bituminous paint.

    - Installing Pipe Flashing: (See also roof vents)

      - Extend the base flashing a minimum of 5 inches onto the roof surface. Terminate the bottom exposed edge with a 1/2 inch folded seam. Solder the base flashing to the tube flashing.

      - Install the flashing after the course of shingles immediately below the pipe is installed so that the bottom side of the flashing is over the shingle and the sides and top are beneath the shingles. Nail the top and sides of the flashing only.

      - Provide a cap flashing fabricated to slip over the tube flashing and the pipe. Lap the tube flashing a minimum of 3 inches and the pipe a minimum of one inch. Solder all seams.

    - Door and Window Flashing:

      - Install the flashing in one continuous length from side to side.

## END OF SECTION

PART 1 GENERAL

  - SECTION INCLUDES

    - Existing Vinyl Siding

    - Accessories and trim.

    - Metal Exterior Window Trim.

## RELATED SECTIONS

    - Section 061000 - Rough Carpentry

    - Section 072500 – Weather Barriers

    - Section 079200 - Joint Sealers.

## SUBMITTALS

    - Submit under provisions of Section 013000

## QUALITY ASSURANCE

A.  Provide neatly crafted inserts of existing siding.

## DELIVERY, STORAGE, AND HANDLING

## A. Store reused products in a dry area until ready for installation

## PART 2 PRODUCTS

## MATERIALS

    - Reused siding pieces

      - Provide clean unbroken products that match existing siding.

## VINYL CARPENTRY ACCESSORIES

    - Standard Accessories: Review drawings for applicable material selections.

      - Corner post: Standard width,

      - J-Channel: Standard width, 12 feet, 6 inches (3.81 m) length.

## FASTENERS

    - Provide galvanized or other corrosion-resistant nails as recommended by manufacturer of siding products.

## PART 3 EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

## PREPARATION

    - Examine, clean, and repair as necessary any substrate conditions which would be detrimental to proper installation.

    - Do not begin installation until unacceptable conditions have been corrected.

## INSTALLATION

    - Install products with all components true and plumb.

    - For Vinyl Siding: Nail horizontal panels by placing nail in center of slot. Nail vertical panels by placing first nail at top of top slot and remaining nails in center of slots. Drive nails straight, leaving 1/16 inch (1.6 mm) space between nail head and flange of panel.

    - Allow space between both ends of siding panels and trim for thermal movement. Overlap horizontal panel ends one-half the width of factory pre-cut notches.  Do not leave any unsupported pieces.

    - Stagger lap joints in horizontal siding in uniform pattern as successive courses of siding are installed.

    - Install J-channel and flashing to accommodate successive courses of siding. Install wood shims at building corners to bring cut edges of vertical siding out to correct plane.

## PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

## CLEANING

    - At completion of work, remove debris caused by siding installation from project site.

END OF SECTION

PART 1 GENERAL

  - SUBMITTALS

    - Product Data: Catalog sheets, specifications, and installation instructions for the following:

      - Downspouts.

      - Sealant.

## PART 2 PRODUCTS

  - MATERIALS

    - Downspout: 3 x 4 inch corrugated, .027 gage aluminum, in 12 foot lengths. Connect to existing drain hub, and to existing gutters

    - Downspout Strap: Downspout manufacturer's standard strap.

    - Finish:

      - Baked on enamel. Color to match siding.

      - Accessories: Gutter manufacturer's standard or recommended sealant, pop rivets, screws, and bolts.

## PART 3 EXECUTION

  - INSTALLATION

    - Install downspouts with end joints that telescope a minimum of 1-1/2 inches.

    - Install necessary offsets and elbows.

    - Install a minimum of 2 straps at each downspout section. Fasten downspouts to straps with pop rivets.

    - Secure straps to masonry or concrete wall with machine bolts in lead shields.

    - Secure straps to wood walls with screws.

    - Discharge Elbows: Fasten leader shoes to downspouts with pop rivets.

## END OF SECTION

PART 1 - GENERAL

  - RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and 				Supplementary Conditions and Division 01 Specification Sections, apply to this 			Section.

## SUMMARY

- Section Includes:

  - Silicone joint sealants.

  - Urethane joint sealants.

  - Latex joint sealants.

  - Fire Stop Caulk

## ACTION SUBMITTALS

- Product Data: For each joint-sealant product indicated.

- Samples for Initial Selection: Manufacturer's color charts consisting of strips of cured 			sealants showing the full range of colors available for each product exposed to view.

## QUALITY ASSURANCE

- Installer Qualifications: Manufacturer's authorized representative who is trained and 			approved for installation of units required for this Project.

- Source Limitations: Obtain each kind of joint sealant from single source from single 		manufacturer.

- Product Testing: T joint sealants using a qualified testing agency.

  - Testing Agency Qualifications: An independent testing agency qualified 				according to ASTM C 1021 to conduct the testing indicated.

  - Test according to SWRI's Sealant Validation Program for compliance with requirements specified by reference to ASTM C 920 for adhesion and cohesion under cyclic movement, adhesion-in-peel, and indentation hardness.

## PROJECT CONDITIONS

- Do not proceed with installation of joint sealants under the following conditions:

  - When ambient and substrate temperature conditions are outside limits 				permitted by joint- sealant manufacturer or are below 40 deg F.

  - When joint substrates are wet.

  - Where joint widths are less than those allowed by joint-sealant manufacturer 			for applications indicated.

  - Where contaminants capable of interfering with adhesion have not yet been 			removed from joint substrates.

## WARRANTY

- Special warranties specified in this article exclude deterioration or failure of joint 		sealants from the following:  Warrant the work for one year.

  - Movement of the structure caused by structural settlement or errors 			attributable to design or construction resulting in stresses on the sealant 			exceeding sealant manufacturer's written specifications for sealant elongation 		and compression.

  - Disintegration of joint substrates from natural causes exceeding design specifications.

  - Mechanical damage caused by individuals, tools, or other outside agents.

  - Changes in sealant appearance caused by accumulation of dirt or other 			atmospheric contaminants.

## PART 2 - PRODUCTS

  - MATERIALS, GENERAL

- Compatibility: Provide joint sealants, backings, and other related materials that are compatible with one another and with joint substrates under conditions of service and application, as demonstrated by joint-sealant manufacturer, based on testing and field experience.

- Liquid-Applied Joint Sealants: Comply with ASTM C 920 and other requirements indicated for each liquid-applied joint sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.

- Stain-Test-Response Characteristics: Where sealants are specified to be nonstaining to porous substrates, provide products that have undergone testing according to ASTM C 1248 and have not stained porous joint substrates indicated for Project.

- Colors of Exposed Joint Sealants: As selected by Architect from manufacturer's full range.

## SILICONE JOINT SEALANTS

- Single-Component, Nonsag, Neutral-Curing Silicone Joint Sealant: ASTM C 920, Type S, Grade NS, Class 50, for Use NT.

  - Products: Subject to compliance with requirements, provide the following:

    - Dow Corning Corporation; 756 SMS.

- Mildew-Resistant, Single-Component, Acid-Curing Silicone Joint Sealant:  ASTM C 920,  Type S, Grade NS, Class 25, for Use NT.

  - Products: Subject to compliance with requirements, provide the following::

    - Dow Corning Corporation; 786 Mildew Resistant.

## URETHANE JOINT SEALANTS

- Single-Component, Pourable, Traffic-Grade, Urethane Joint Sealant: ASTM C 920, Type S, Grade P, Class 25, for Use T.

  - Products: Subject to compliance with requirements, provide the following:

    - BASF Building Systems; Sonolastic SL 1.

## LATEX JOINT SEALANTS

- Latex Joint Sealant: Acrylic latex or  siliconized  acrylic  latex,  ASTM C 834,  Type OP,  Grade NF.

  - Products: Subject to compliance with requirements, provide one of the following:

    - BASF Building Systems; Sonolac.

    - Bostik, Inc.; Chem-Calk 600.

    - Tremco Incorporated; Tremflex 834.

## 5	FIRESTOP SEALANT.

1.	Joint-Sealant Application: Equal to: 3M. Corp. Mfr. Model # CP-25WB+10. install all around pipes in Utility Room, Kitchen and Bathroom piping.

## JOINT SEALANT BACKING

- General: Provide sealant backings of material that are nonstaining; are compatible with joint substrates, sealants, primers, and other joint fillers; and are approved for applications indicated by sealant manufacturer based on field experience and laboratory testing.

- Cylindrical Sealant Backings: ASTM C 1330, Type C (closed-cell material with a surface  skin), and of size and density to control sealant depth and otherwise contribute to producing optimum sealant performance.

- Bond-Breaker Tape: Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint. Provide self-adhesive tape where applicable.

## MISCELLANEOUS MATERIALS

- Primer: Material recommended by joint-sealant manufacturer where required for adhesion of sealant to joint substrates indicated, as determined from preconstruction joint-sealant-substrate tests and field tests.

- Cleaners for Nonporous Surfaces: Chemical cleaners acceptable to manufacturers of sealants and sealant backing materials, free of oily residues or other substances capable of staining or

harming joint substrates and adjacent nonporous surfaces in any way, and formulated to promote optimum adhesion of sealants to joint substrates.

- Masking Tape: Nonstaining, nonabsorbent material compatible with joint sealants and surfaces adjacent to joints.

## PART 3 - EXECUTION

  - EXAMINATION

- Examine joints indicated to receive joint sealants, with Installer present, for compliance with requirements for joint configuration, installation tolerances, and other conditions affecting joint- sealant performance.

- Proceed with installation only after unsatisfactory conditions have been corrected.

## PREPARATION

- Surface Cleaning of Joints: Clean out joints immediately before installing joint sealants to comply with joint-sealant manufacturer's written instructions and the following requirements:

  - Remove all foreign material from joint substrates that could interfere with adhesion of joint sealant, including dust, paints (except for permanent, protective coatings tested and approved for sealant adhesion and compatibility by sealant manufacturer), old joint sealants, oil, grease, waterproofing, water repellents, water, surface dirt, and frost.

  - Clean porous joint substrate surfaces by brushing, grinding, mechanical abrading, or a combination of these methods to produce a clean, sound substrate capable of developing optimum bond with joint sealants. Remove loose particles remaining after cleaning operations above by vacuuming or blowing out joints with oil-free compressed air. Porous joint substrates include the following:

    - Concrete.

    - Masonry.

    - Drywall.

  - Remove laitance and form-release agents from concrete.

  - Clean nonporous joint substrate surfaces with chemical cleaners or other means that do not stain, harm substrates, or leave residues capable of interfering with adhesion of joint sealants. Nonporous joint substrates include the following:

5.

    - Metal.

    - Glass.

    - Porcelain enamel.

    - Glazed surfaces of ceramic tile.

- Joint Priming: Prime joint substrates where recommended by joint-sealant manufacturer or as indicated by preconstruction joint-sealant-substrate tests or prior experience. Apply primer to comply with joint-sealant manufacturer's written instructions. Confine primers to areas of joint- sealant bond; do not allow spillage or migration onto adjoining surfaces.

- Masking Tape: Use masking tape where required to prevent contact of sealant or primer with adjoining surfaces that otherwise would be permanently stained or damaged by such contact or by cleaning methods required to remove sealant smears. Remove tape immediately after tooling without disturbing joint seal.

## INSTALLATION OF JOINT SEALANTS

- General: Comply with joint-sealant manufacturer's written installation instructions for products and applications indicated, unless more stringent requirements apply.

- Sealant Installation Standard: Comply with recommendations in ASTM C 1193 for use of joint sealants as applicable to materials, applications, and conditions indicated.

- Install sealant backings of kind indicated to support sealants during application and at position required to produce cross-sectional shapes and depths of installed sealants relative to joint widths that allow optimum sealant movement capability.

  - Do not leave gaps between ends of sealant backings.

  - Do not stretch, twist, puncture, or tear sealant backings.

  - Remove absorbent sealant backings that have become wet before sealant application and replace them with dry materials.

- Install bond-breaker tape behind sealants where sealant backings are not used between sealants and backs of joints.

- Install sealants using proven techniques that comply with the following and at the same time backings are installed:

  - Place sealants so they directly contact and fully wet joint substrates.

  - Completely fill recesses in each joint configuration.

  - Produce uniform, cross-sectional shapes and depths relative to joint widths that allow optimum sealant movement capability.

- Tooling of Nonsag Sealants: Immediately after sealant application and before skinning or  curing begins, tool sealants according to requirements specified in subparagraphs below to form smooth, uniform beads of configuration indicated; to eliminate air pockets; and to ensure contact and adhesion of sealant with sides of joint.

  - Remove excess sealant from surfaces adjacent to joints.

  - Use tooling agents that are approved in writing by sealant manufacturer and that do not discolor sealants or adjacent surfaces.

  - Provide concave joint profile per Figure 8A in ASTM C 1193, unless otherwise indicated.

  - Provide flush joint profile where indicated per Figure 8B in ASTM C 1193.

    - Use masking tape to protect surfaces adjacent to recessed tooled joints.

- Acoustical Sealant Installation: At sound-rated assemblies and elsewhere as indicated, seal construction at perimeters, behind control joints, and at openings and penetrations with a continuous bead of acoustical sealant. Install acoustical sealant at both faces of partitions at perimeters and through penetrations. Comply with ASTM C 919 and with manufacturer's written recommendations.

## CLEANING

    - Clean off excess sealant or sealant smears adjacent to joints as the Work progresses by methods and with cleaning materials approved in writing by manufacturers of joint sealants and of products in which joints occur.

## PROTECTION

A.       Protect joint sealants during and after curing period from contact with contaminating substances and from damage resulting from construction operations or other causes so sealants are without deterioration or damage at time of Substantial Completion. If, despite such protection, damage or deterioration occurs, cut out and remove damaged or deteriorated joint sealants immediately so installations with repaired areas are indistinguishable from original work.

## JOINT-SEALANT SCHEDULE

- Joint-Sealant Application: Exterior joints in horizontal traffic surfaces.

  - Joint Locations: at exterior door.

    - Isolation and contraction joints in cast-in-place concrete slabs.

    - Joints between plant-precast architectural concrete paving units.

    - Tile control and expansion joints.

    - Joints between different materials listed above.

    - Other joints as indicated.

  - Urethane Joint Sealant: Single component, pourable, traffic grade.

- Joint-Sealant Application:	Exterior joints in vertical surfaces and horizontal non-traffic surfaces.

  - Joint Locations:

    - Control and expansion joints in unit masonry.

    - Joints between different materials listed above.

    - Perimeter joints between materials listed above and frames of doors, windows, and louvers.

    - Control and expansion joints in ceilings and other overhead surfaces.

  - Silicone Joint Sealant: Single component, nonsag, neutral curing, Class 50.

- Joint-Sealant Application: Interior joints in horizontal traffic surfaces.

  - Joint Locations:

    - Isolation joints in cast-in-place concrete slabs.

    - Control and expansion joints in tile flooring.

    - Other joints as indicated.

  - Urethane Joint Sealant: Single component, pourable, traffic grade.

- Joint-Sealant Application: Interior joints in vertical surfaces and horizontal nontraffic surfaces.

  - Joint Locations:

    - Control and expansion joints on exposed interior surfaces of exterior walls.

    - Perimeter joints of exterior openings where indicated.

    - Vertical joints on exposed surfaces of interior unit masonry walls and partitions.

    - Perimeter joints between interior wall surfaces and frames of interior doors, and windows.

    - Other joints as indicated.

  - Joint Sealant: Latex.

- Joint-Sealant Application: Mildew-resistant interior joints in vertical surfaces and horizontal nontraffic surfaces.

  - Joint Sealant Location:

    - Joints between plumbing fixtures and adjoining walls, floors, and counters.

    - Tile control and expansion joints where indicated.

  - Joint Sealant: Single component, nonsag, mildew resistant, acid curing.

## END OF SECTION

PART 1 - GENERAL

  - SECTION INCLUDES

    - Exterior, Interior Passage and closet doors

    - Storm Door.

## SUBMITTALS

    - Product Data: Submit door manufacturer current product literature, including installation instruction.

    - Quality Assurance Submittals

      - Manufacturer Instructions: Provide manufacturer’s written installation instructions.

## DELIVERY, STORAGE AND HANDLING

    - Deliver doors, materials and components in manufacturer’s original, unopened, undamaged containers with identification labels intact.

    - Store doors as recommended by manufacturer.

## WARRANTY

    - Manufacturer standard warranty indicating that doors will be free from material and workmanship defects from the date of substantial completion for the time periods indicated below:

      - Door System: 5 Years.

## PART 2 - PRODUCTS

  - MANUFACTURER

    - Exterior Doors: Stamped steel doors.  Equal to: Jeld-Wen.

      - Size as shown.

      - Foamed in place polyurethane insulation CFC density 2.0 pcf with a K-factor of. 0.1 5 for minimal thermal insulation.

    - Interior Doors: Basis of Design: Jeld-wen

      - Model  774569  Wood 6 panel interior door

      - Material:  oak-unfinished

      - Finish: .stain

    - Interior Bedroom Pocket Door

      - Door: Model  solid wood panel interior door

      - Install pre-formed ADA compliant pocket door assembly frame AND door hardware in bedroom closet equal to:

a	Johnson Hardware. Model 1500 Series wood pocket door frame. L.E. Johnson 			Products, Inc. email: info@johnsonhardware.com. Tel. 800-837-5664, Fax 800- 			837-4697.

        - b.   Door frame shall be Johnson Hardware: Model 153068PF. Door frame, door and 	hardware shall meet ADA 4.12.9 for door hardware and 4.13.11 for door opening 	force requirements.

        - 1.	Pocket door ball bearing hanger shall be # 1125.

        - 2.	Door pull shall be round in rubbed bronze

        - 3.	Clear door opening shall be a min. of 32”.

## MATERIALS AND CONSTRUCTION

    - Wood Panel:  Oak

    - Door Style

      - Shape: Squared Top

      - Panel Pattern: Six

      - Panel Type: Paneled

      - Thickness: 1-3/8 inch thick x (dimensions noted).

## PREHUNG EXTERIOR DOORS

    - Exterior Exit door: Remove and replace both front and rear doors to this residence.

      - Equal to: Jeld-Wen Craftsman Style pre-hung door unit with brickmold and shelf.

a.   Model N11437

b.   Add jamb reinforcement to front and back door.  Equal to:

1. Prime-Line MP10385 Max Security Combo Strike, 1-5/8 In. x 11 In., Steel, Satin Nickel.

      - Include aluminum threshold (pre-hung door unit). Color: satin aluminum

    - Storm Door: Install Storm door on exit door.

      - Door shall be equal to: Emco. 100 Series pre-hung storm door, with spring loaded closer. Color: White with self storing screen. 36” x 80”.

## DOOR FINISHES

    - Painted: Semi gloss- (See also Painting). Paint all exterior doors.

    - Surface Texture: Smooth

## PART 3 - EXECUTION

  - GENERAL

    - Install doors in accordance with manufacturer’s installation guidelines and recommendations.

## EXAMINATION

    - Inspect door prior to installation.

    - Inspect rough opening for compliance with door manufacturer recommendations. Verify rough opening conditions are within recommended tolerances.

## PREPARATION

    - Prepare door for installation in accordance with manufacturer’s recommendations.

## INSTALLATION

    - Place door unit into opening and level hinge side of jamb. Use shims fastened through jamb and stop to level and temporarily secure in place.

    - Level latch side of jamb. Use shims fastened through jamb and stop to level and temporarily secure in place.

    - Verify spacing between jamb and door is uniform on all sides. Adjust as necessary.

    - Shim top of jamb in center of opening and fasten with nail.

    - Re-check for square, level and even spacing around door. Nail securely in place through stop, jamb, shims and into studs every 12 inches.

    - Set nails.

      - Install trim on both sides using nails every 12 to 16 inches.

## END OF SECTION

PART 1 GENERAL

  - SECTION INCLUDES

    - Vinyl windows for renovation replacement construction. Windows indicated herein are part of the base bid for window replacement

## RELATED SECTIONS

    - Section 06 10 00 - Rough Carpentry.

    - Section 06 20 00 - Finish Carpentry.

## REFERENCES

    - American Architectural Manufacturers Association (AAMA):

1.	AAMA/WDMA/CSA 101/I.S.2/A440-05, A440-08, and A440-11 - NAFS -

North American Fenestration Standard Specification for windows, doors, and skylights.

      - AAMA 701/702 - Combined Voluntary Specifications for Pile Weather strip and Replaceable Fenestration Weather seals.

      - AAMA 902 - Voluntary Specification for Sash Balances.

    - ASTM International (ASTM):

      - ASTM E 283 - Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls and Doors Under Specified Pressure Differences Across the Specimen.

      - ASTM E 547 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Cyclic Static Air Pressure Difference.

      - ASTM E 1886 - Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials.

      - ASTM E 1996 - Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Windborne Debris in Hurricanes.

      - ASTM E 2190 - Standard Specification for the Classification of the Durability of Sealed Insulating Glass Units.

      - ASTM F 588 - Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact.

    - NFRC 100/200/500 - Procedures for Determining Fenestration Product U-Factors, Solar Heat Gain Coefficient (SHGc), and Visible Transmittance at Normal Incidence

## SUBMITTALS

    - Submit under provisions of Section 01 30 00.

    - Product Data: Submit the following documents for each type of window.

      - Manufacturer's technical data, product descriptions and installation guides.

      - Elevation for each style window specified indicating its size, glazing type, muntin type and design.

      - Manufacturer's head, jamb and sill details for each window type specified.

    - Verification Samples:  Provide operating units of each style window specified.

      - Operating hardware such as balances, sash locks and weather-stripping.

      - Verification samples will be returned to manufacturer's representative at project closeout.

## QUALITY ASSURANCE

    - Manufacturer Qualifications: Minimum ten years producing vinyl (PVC) windows.

    - Installer Qualifications: Minimum 2 years experience on projects of similar size and acceptable to window manufacturer.

    - Source Limitations: Obtain window units from one manufacturer through a single source.

    - Testing: Provide window units independently tested and found to be in compliance with AAMA/WDMA/CSA 101/I.S.2/A440-05, A440-08, or A440-11 performance standards.

    - Code Compliance: Provide windows that are labeled in compliance with the jurisdiction having authority in the location of the project.

    - Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

      - Finish areas designated by Architect.

      - Do not proceed with remaining work until workmanship and color are approved by Architect.

      - Rebuild mock-up area as required to produce acceptable work.

## DELIVERY, STORAGE, AND HANDLING

    - Deliver windows to project site in undamaged condition; handle windows to prevent damage to components and to finishes.

    - Store products in manufacturer's unopened packaging, out of direct sunlight or high temperature locations, until ready for installation.

## PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

## WARRANTY

    - Submit manufacturer's standard warranty against defects in workmanship and materials.

      - Limited Lifetime Limited Transferable warranty on extruded solid vinyl member and component parts. Insulated glass is warranted against material obstruction of transparency resulting from film formation or dust collection on the interior glass surfaces for a period of twenty (20) years. Consult warranty for complete details.

      - Limited 10 Year warranty period for commercial project work such as apartments, housing authorities and other buildings not used by individual homeowners, covering all vinyl, glass and component parts. Consult warranty for complete details.

## PART 2 PRODUCTS

  - MANUFACTURERS

    - Manufacturers listed below for windows and hopper crawl space

    - Substitutions: approved with proper data sheets

    - Requests for substitutions will be considered in accordance with provisions of Section 016000. Substitutions must be submitted to Architect two weeks prior to bid opening.

## DOUBLE HUNG WINDOWS

    - Construction: New windows equal to: Kasson and Keller Eco-Shield 2200 Series vinyl windows. White; sizes and shapes indicated.

- Approved equal:

- Nominal 0.070 inch (1.8mm) frame thickness polyvinyl chloride (PVC) with miter cut and fusion welded corners. Operable sash shall be a nominal 0.065 inch (1.7mm) thickness and fusion welded corners.

- Siding Attachment: Integral 13/16 inch (21mm) "J" fin pocket.

- Color: White Vinyl.

- Glazing: Insulating glass units secured to sash frame using a sealant in the corners and dual durometer glazing bead. Complies with ASTM E 2190.

- Sash Balances: Factory calibrated block and tackle, complying with AAMA- 902. Balance cords shall be anchored to locking terminal housings when the sash is tilted in. The locking terminal and pivot bar system shall provide accurate alignment of the sash and the frame during operation.

- Sash Locks: Cam type locks anchored with screws driven through the sash rail and into extruded aluminum. Double locks when openings are 30 1/2 inches wide and greater.

- Weather Stripping: In compliance with AAMA 701.2.

- Screens: Extruded aluminum full screen with 18 x 16 charcoal finish fiberglass mesh.

- Screens: Extruded aluminum locking half screen with 18 x 16 charcoal finish fiberglass mesh.

- Provide Fall Protection guards.

    - Performance:

      - Structural rating H-LC40 (DP40) - Test Size: 46 inches x 77 inches (1168mm x 1956mm) in accordance with AAMA/WDMA/CSA 101/I.S.2/A440-08.

      - Forced Entry: Type B, Grade 10 in accordance with ASTM F 588.

      - Sound Transmission Class (STC): 35.

      - Thermal Transmittance: The following values are in accordance with NFRC 100/200/500.

        - Clear No Grids: U-Factor 0.46/ R-Value 2.17/ SHGc 0.59/ VT 0.62.

        - ENERGY STAR 2X Low-E/Argon No Grids: U-Factor 0.25/ R-Value

      - Frame: Nominal 0.065 inch (1.7mm) thickness polyvinyl chloride (PVC) with frame corners miter cut and fusion welded. Sash thickness 0.065 inch (1.7mm) with mechanically fastened corners.

      - Siding Attachment: Snap-on applied 3/4 inch (20mm) “J” fin.

      - Siding Attachment: Snap-on applied "L" fin.

      - Color: White Vinyl.

      - Glazing: Insulating glass units shall be channel glazed and secured to sash frame using a sealant in corners. Complies with ASTM E 2190.

      - Hinges: Stainless Steel Maxim 13 series.

      - Sash Locks: Knife type. Double locks when openings are 30 3/4 inches (781mm) and wider.

      - Weather stripping: In compliance with AAMA 701.2.

      - Screens: Extruded aluminum frame with 18 x 16 charcoal finish fiberglass mesh.

      - Screens: Extruded aluminum frame with 18 x 16 charcoal finish aluminum mesh.

    - Performance:

      - Structural Rating: AP-R-15(DP15) - Test Size: 48 inches x 32 inches (1219mm x 813mm) in accordance with AAMA/WDMA/CSA 101/I.S.2/A440-05.

      - Forced Entry: Type B, Grade 10 in accordance with ASTM F 588.

      - Sound Transmission Class (STC): 27.

      - Sound Transmission Class (STC): 33.

      - Thermal Transmittance: The following values are in accordance with NFRC 100/200/500.

        - Clear No Grids: U-Factor 0.46/ R-Value 2.17/ SHGc 0.55/ VT 0.57.

        - Low-E No Grids: U-Factor 0.34/ R-Value 2.94/ SHGc 0.29/ VT 0.51.

        - ENERGY STAR Low-E/Argon No Grids: U-Factor 0.27/ R-Value

3.70/ SHGc 0.28/ VT 0.50.

## ADJUSTING

    - Adjust units for smooth operation without binding or racking. Adjust sash locks and screens for smooth operation.

## CLEANING AND PROTECTION

    - Clean soiled surfaces and glass prior to substantial completion.

    - Protect window unit from damage until substantial completion. Repair or replace damaged units.

## END OF SECTION

PART 1 – GENERAL

  - SUMMARY

  - SUBMITTALS

    - Submit in accordance with Conditions of the Contract and Division 1 Administrative Requirements.

    - Shop Drawings:

      - Coordinate final Door Hardware Schedule with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish of hardware.

    - Upon door hardware submittal approval, furnish for each electrified opening, three copies of point to point diagrams.

## PART 2 – PRODUCTS

  - ADJUSTMENT, CLEANING AND DEMONSTRATING

    - Adjustment: Adjust and check each opening to ensure proper operation of each item of finish hardware. Replace items that cannot be adjusted to operate freely and smoothly or as intended for application at no cost to Owner.

    - Cleaning: Clean adjacent surfaces soiled by hardware installation. Clean finished hardware per manufacturer’s instructions after final adjustments has been made. Replace items that cannot be cleaned to manufacturer’s level of finish quality at no cost to Owner.

## HARDWARE SET SCHEDULE

    - Guide: Door hardware items have been placed in sets which are intended to be a guide of design, grade, quality, function, operation, performance, exposure, and like characteristics of door hardware, and may not be complete. Provide door hardware required to make each set complete and operational.

    - Hardware schedule does not reflect handing, backset, method of fastening and like characteristics of door hardware and door operation.

    - Review door hardware sets with door types, frames, sizes and details on drawings. Verify suitability and adaptability of items specified in relation to details and surrounding conditions.

## HARDWARE SCHEDULE - for installation

Heading 1

Openings: 1,2 - Exterior Front/ Rear Doors

| 2. | Kickplates | Ives Commercial 840028430. 4" x 30" Kick Plate |
| --- | --- | --- |
|  |  | Aluminum Finish. Item #: 840028430 |

Opening: 3 - Exterior Rear Deck Door

| 2. | Kickplates | Ives Commercial 840028430. 4" x 30" Kick Plate |
| --- | --- | --- |
|  |  | Aluminum Finish. Item #: 840028430 |
|  | New front and rear doors. |  |
| 1 | Door Jamb reinforcement | Prime Line U1126-INS |

Opening  4: - Bathroom doors.

Each opening to receive door strike:

1.	Lever/ privacy lock	Lockset:  Best 7KC (Privacy) Grade 2 w/ 2 3/8” Backset.  14D Handle or equal. (See 08 1412 for hinges on Pre-hung Units).  Spring doorstop:  Stanley 756257

Opening – Bedroom Doors.

Each opening to receive a door strike

1.	Lever passage Lever/ privacy Lockset:  Best 7KC (Privacy) Grade 2 w/ 2 3/8” Backset.  14D Handle or equal. (See 08 1412 for hinges on Pre-hung Units).  Spring doorstop:  Stanley 756257

2.        3ea. Hinges Stanley Size:  4 x 4 inch with ¼ in. radius corners.

5 knuckle plain bearing.  .085-inch steel

Provide 3 per door.

Oil Rubbed Bronze Finish

Opening 5: Closet doors

Each opening to receive: Door strike.

3 ea.	Hinge	Stanley

1 ea	Door Roller clasp	Baldwin 0430	264

Opening 6 : Closet doors

Each opening to receive: Door strike.

1 ea	Door Roller clasp	Baldwin 0430	264

Opening - Pocket Door in Bedroom

Qty.	Type	Description	Finish

1.	Pocket Door	Pre-hung	White Johnson Hardware. Model 1500 Series wood pocket door frame. L.E. Johnson Products, Inc. email: info@johnsonhardware.com. Tel. 800-837-5664, Fax 800-837-4697.

          - Door frame shall be Johnson Hardware: Model 153068PF. Door frame, door and hardware shall meet ADA 4.12.9 for door hardware and 4.13.11 for door opening force requirements.

          - Pocket door ball bearing hanger shall be # 1125.

Door pull shall round

          - Clear door opening shall be a min. of 32”.

## END OF SECTION

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

## SUMMARY

    - Section Includes:

      - Interior gypsum board.

      - Cementious backer board.

## ACTION SUBMITTALS

    - Product Data: For each type of product.

## DELIVERY, STORAGE AND HANDLING

    - Store materials inside under cover and keep them dry and protected against weather, condensation, direct sunlight, construction traffic, and other potential causes of damage. Stack panels flat and supported on risers on a flat platform to prevent sagging.

## FIELD CONDITIONS

    - Environmental Limitations: Comply with ASTM C 840 requirements or gypsum board manufacturer's written recommendations, whichever are more stringent.

    - Do not install paper-faced gypsum panels until installation areas are enclosed and conditioned.

    - Do not install panels that are wet, those that are moisture damaged, and those that are mold damaged.

      - Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

      - Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

## PART 2 - PRODUCTS

  - GYPSUM BOARD, GENERAL

    - Size:  Provide maximum lengths and widths available that will minimize joints in each area   	and that correspond with support system indicated.

## INTERIOR GYPSUM BOARD

    - Gypsum Board.

      - Thickness: ½ ” inch for all drywall in all ceilings bedrooms and corridors.

      - Use ½” Type “MR” board in the Bathroom and Utility Closet.

      - Long Edges: Tapered.

    - Approved Manufacturers. (only US manufacturers will be approved)

- National Gypsum Corporation

- USG Corporations

- CertainTeed Corporation.

- Gold Bond Corporation

## INTERIOR CEMENTITIOUS BOARD

    - Cementitious backer board for showers and underlayment at wet areas note.

B	Approved manufacturers:

- James Hardie Company

- Approved equal.

  - Use ½ Cement board at shower surrounds

  - Use ¼” Cement board at bathrooms and wet areas

C.      Trim Accessories

- Interior Trim: ASTM C 1047.

  - Material: Galvanized or aluminum-coated steel sheet or rolled zinc.

  - Shapes:

    - Cornerbead.equal to: USG.

## JOINT TREATMENT MATERIALS

    - General: Comply with ASTM C 475/C 475M.

    - Joint Tape:

  - Interior Gypsum Board: Paper.

  - Cement Board: Fiberglass mesh, as recommended by panel manufacturer.

    - Joint Compound for Interior Gypsum Board: For each coat use formulation that is compatible with other compounds applied on previous or for successive coats.

      - Prefilling: At open joints and damaged surface areas, use setting-type taping compound.

      - Embedding and First Coat: For embedding tape and first coat on joints, fasteners, and trim flanges, use setting-type taping compound.

      - Fill Coat: For second coat, use drying-type, all-purpose compound.

      - Finish Coat: For third coat, use drying-type, all-purpose compound.

    - Joint Compound for Cement Board:

      - Cementitious Backer Units: As recommended by backer unit manufacturer.

## AUXILIARY MATERIALS

- General: Provide auxiliary materials that comply with referenced installation standards and manufacturer's written recommendations.

- Laminating Adhesive: Adhesive or joint compound recommended for directly adhering gypsum panels to continuous substrate.

- Steel Drill Screws: ASTM C 1002, unless otherwise indicated for all applications.

  - Use screws complying with ASTM C 954 for fastening panels to steel members from

0.033 to 0.112 inch thick.

  - For fastening cementitious backer units, use screws of type and size recommended by panel manufacturer.

## PART 3 - EXECUTION

  - EXAMINATION

    - Examine areas and substrates including welded hollow-metal frames and framing, with Installer present, for compliance with requirements and other conditions affecting performance.

    - Examine panels before installation. Reject panels that are wet, moisture damaged, and mold damaged.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

## APPLYING AND FINISHING PANELS, GENERAL

    - Comply with ASTM C 840.

    - Install ceiling panels across framing to minimize the number of abutting end joints and to avoid abutting end joints in central area of each ceiling. Stagger abutting end joints of adjacent  panels not less than one framing member.

    - Install panels with face side out. Butt panels together for a light contact at edges and ends with not more than 1/16 inch of open space between panels. Do not force into place.

    - Locate edge and end joints over supports, except in ceiling applications where intermediate supports or gypsum board back-blocking is provided behind end joints. Do not place tapered edges against cut edges or ends. Stagger vertical joints on opposite sides of partitions. Do not make joints other than control joints at corners of framed openings.

    - Wood Framing: Install gypsum panels over wood framing, with floating internal corner construction. Do not attach gypsum panels across the flat grain of wide-dimension lumber, including floor joists and headers. Float gypsum panels over these members or provide control joints to counteract wood shrinkage.

## APPLYING INTERIOR GYPSUM BOARD

    - Single-Layer Application:

      - On ceilings, apply gypsum panels before wall/partition board application to greatest extent possible and at right angles to framing unless otherwise indicated.

      - On partitions/walls, apply gypsum panels horizontally (perpendicular to framing) unless otherwise indicated or required by fire-resistance-rated assembly, and minimize end joints.

        - Stagger abutting end joints not less than one framing member in alternate courses of panels.

      - Fastening Methods: Apply gypsum panels to supports with steel drill screws.

## INSTALLING TRIM ACCESSORIES

    - General: For trim with back flanges intended for fasteners, attach to framing with same fasteners used for panels. Otherwise, attach trim according to manufacturer's written instructions.

    - Interior Trim:  Install in the following locations:

      - Cornerbead:  Use at outside corners.

## FINISHING GYPSUM BOARD

    - General: Treat gypsum board joints, interior angles, edge trim, control joints, penetrations, fastener heads, surface defects, and elsewhere as required to prepare gypsum board surfaces for decoration. Promptly remove residual joint compound from adjacent surfaces.

    - Prefill open joints and damaged surface areas.

    - Apply joint tape over gypsum board joints, except for trim products specifically indicated as not intended to receive tape.

    - Gypsum Board Finish Levels: Finish panels to levels indicated below  and  according  to ASTM C 840:

      - Level 4: At all panel surfaces unless otherwise indicated.

    - Cementitious Backer Units: Finish according to manufacturer's written instructions.

## PROTECTION

    - Protect adjacent surfaces from drywall compound and promptly remove from floors and other non-drywall surfaces. Repair surfaces stained, marred, or otherwise damaged during drywall application.

    - Remove and replace panels that are wet, moisture damaged, and mold damaged.

      - Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

END OF SECTION

PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Rough framing. Section 061000

    - Vinyl Sheet Flooring : Section 096516

    - Resilient Tile Flooring: Section 096519

## SUBMITTALS

    - Product Data: Manufacturer's specifications, and surface preparation and installation instructions, for each material specified except primer.

B..	Quality Control Submittals:

      - Certificates: Certificates required under Quality Assurance Article.

- Contract Closeout Submittals:

  - Maintenance Data: Deliver 1covering the installed products, to the RHA’s Representative.

## QUALITY ASSURANCE

    - Compatibility of Materials: For each type of flooring specified, furnish associated materials made by or recommended by the manufacturer.

    - Certifications: Furnish certification from flooring installer that the substrate surfaces have been examined and are acceptable for installation of the Work of this Section.

    - Performance Criteria:

      - The following criteria are required for products included in this section:

        - All flooring must be certified as compliant with the Floor Score standard by an independent third-party.

        - Adhesives must not exceed the volatile organic compound (VOC) content limits established in South Coast Air Quality Management District (SCAQMD) Rule 1168.

## PROJECT CONDITIONS

    - Environmental Requirements: Continuously heat spaces to receive flooring to a temperature of 68 degrees F for at least 48 hours prior to flooring installation, during the installation, and for 48 hours after installation.

    - Environmental Requirements: Make arrangements thru the Construction Manager’s Representative for having the temperature in the spaces to receive flooring maintained at 68 degrees F for 48 hours prior to flooring installation, during the installation, and for 48 hours after installation.

    - Condition flooring materials by placing them in the spaces where they will be installed for at least 48 hours prior to installation.

## MAINTENANCE

    - Extra Materials:

      - Furnish extra tile, equal to 2 percent of the tile installed, of each type and color of tile required. The extra tile shall be from the same run and lot number as the installed tile.

      - Place extra materials in storage at the site where directed.

## PART 2 PRODUCTS

  - MATERIALS VINYL FLOORING:

TYPE A (Dining/ Living Room, Bedrooms, Stair Hall)

    - New flooring shall be glue down vinyl flooring equal to:

- Colorado Nextfloor Rustic Oak LVT

    - Product shall meet these basic features.

      - Wear Layer Thickness: 0.5 mm (20 mil) Overall Thickness: 5.0 mm.

      - Weight per Piece: 2.75 lb (1.25 kg)

## TYPE B (Stairs)

## Stair treads (ST-1)

## Rubber, full width 1 and depth of stair tread  (Risers painted expoxy white)

## One piece, tapered thickness

## Manufacturers:

## Roppe Corp.  www.roppe.com/rubber-tread  Color by RHA

## Burke Flooring:  www.burkeflooring.com#/sle

## Approved equal.

## Substitutions:  See Section 016000 – Product Requirements

## Minimum requirements. Comply with ASTM F2169, Type TS, rubber, 			vulcanized thermoset

## Nominal Thickness:  0.125 inch.

## Nosing:  Round

## Texture:  Ribbed.  Non-slip, round nose profile

## Color:  by RHA.

## PRODUCT SPECIFICATIONS

- Recycled Content: 100% Recyclable after use

- Static Load Limit: 1,500 psi.

- Resistance to Heat (ASTM F1514)

- N.B.S. Smoke Chamber (ASTM E-662)

- Class III, Type B. Dimensional Stability (ASTM F 2199 EN -434):

- Slip Resistance (ASTM C 1028,EN 13893): Class DS/ ADA compliant > .60

## TESTING

1. Stain & Chemical Stability (ASTM F925, EN 423)

## INSTALLATION

    - Install new vinyl floor reducers at doorways and between rooms. Reducers equal to: Colorado Next Floor Color: Match flooring.

    - Protect flooring with kraft paper until final acceptance.

## WARRANTIES

    - Limited 12 year Commercial Warranty.

## REFERENCES:

    - Stain and Chemical Stability. F925 5 B	Fire Resistance Rating E648

## ACCESSORIES

A.        Transition Strips. Equal to:   Colorado Next Floor

## PART 4 EXECUTION

  - EXAMINATION

    - Verification of Conditions:

      - Examine substrate surfaces to receive the Work of this Section for defects that will adversely affect the execution and quality of the Work. Do not proceed until unsatisfactory conditions are corrected, and installer's substrate surface acceptability certification has been acknowledged by the RHA Representative.

        - Subfloor Bond Tests: Check for surface moisture and coatings on wood subfloor by bond tests as recommended by the manufacturer.

      - Do not install the Work of this Section until after all other finishing operations, including painting, have been completed unless otherwise indicated or directed by the Director's Representative.

## SURFACE PREPARATION

    - Unless otherwise specified, follow the materials manufacturers' written instructions.

    - Remove dirt, grease, oil, paint, varnish, wax, sealers, and other contaminants which may impair the full bonding of the materials.

    - Subfloor: ¼” underlayment equal to

      - Ultraply Premium. Moreland Co. (800) 397-7769

        - Vacuum clean the entire floor.

        - Remove any imperfections in the floor.

E.	Immediately before application of the flooring adhesive, vacuum clean the prepared subfloor surface.

## INSTALLATION

    - Install the flooring from center marks established with principal walls; lay out and adjust to avoid use of cut units less than one-half tile wide at perimeters.

      - Lay plank flooring as noted on plans. Plank flooring is glue down.

    - Maintain pattern continuity with flooring installed.

    - Install resilient edge strips at unprotected edges of flooring, unless otherwise indicated.

      - Flooring edge/ transition strip

a.   Equal to: Next Floor-color by RHA

## CLEANING

    - Remove any excess adhesive and other surface soiling from face of installed materials with cleaning agents recommended by the manufacturer of the material being cleaned.

## PROTECTION

    - Protect installed flooring from traffic and damage. Apply non-staining kraft paper covering where necessary. Maintain covering until directed to remove it by the RHA Representative.

## FINISHING

    - Prior to the final inspection, when directed by the Construction Manager, thoroughly clean floors and accessories. Comply with the tile manufacturer's recommended cleaning, finishing, and buffing procedures.

## END OF SECTION

PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Vinyl Flooring: Section 096800

B	Vinyl Sheet Flooring : Section 096516

- Resilient Tile Flooring: Section 096519

- Plywood Underlayment: Section 061000.

- Joint Sealants: Section 079200.

## SUBMITTALS

    - Product Data: Manufacturer's catalog sheets, specifications, and installation instructions for each material specified except primer.

    - Samples:

      - Vinyl Sheet Flooring: 12 inch square sections, each pattern and color required.

    - Quality Control Submittals:

      - Certificates: Certificates required under Quality Assurance Article.

    - Contract Closeout Submittals:

      - Maintenance Data: Deliver 2 copies, covering the installed products, to the Director's Representative.

## QUALITY ASSURANCE

    - Compatibility of Materials: Associated materials which are required for the installation of sheet flooring shall be made by or recommended by the flooring manufacturer.

    - Certifications: Furnish certification from flooring installer that the substrate surfaces have been examined and are acceptable for installation of the Work of this Section.

- Performance Criteria:

  - The following criteria are required for products included in this section:

    - All resilient sheet flooring must be certified as compliant with the FloorScore standard by an independent third-party.

    - Adhesives and grout must not exceed the volatile organic compound (VOC) content limits established in South Coast Air Quality Management District (SCAQMD) Rule 1168.

## PROJECT CONDITIONS

    - Environmental Requirements: Make arrangements thru the Director's Representative for having the temperature in the spaces to receive flooring maintained at 68 degrees F for 48 hours prior to flooring installation, during the installation, and for 48 hours after installation.

C.	Condition flooring materials by placing them in the spaces where they will be installed for at least 48 hours prior to installation.

## PART 2 PRODUCTS

  - MATERIALS

    - Vinyl Sheet Flooring: Equal to: Armstrong. (Power Room and Bathroom).

    - Product equal to: Armstrong StrataMax. Best ARMX3524201 Multi Green Vinyl Sheet (6' Width).

      - FS L-F-475, Type II, Grade A, through-wearing- surface pattern; 72 inch wide rolls, minimum 0.085 inch overall thickness.

      - Patterns and Colors: As selected from manufacturer's standard patterns and colors.

      - Backing: Inorganic.

    - Vinyl Base and Treads: Roppe or equal

    - Style:  Standard top-set cove base. 4 inches high, 0.080 inch gage, with matching preformed external corner units.

        - Treads:  Non Slip Safey Rib – 1/8” thick.

        - Round at First/ Second Floor.

        - Adhesive and Filler/Wall Patch: As recommended by the base manufacturer for the type of substrate indicated.

        - Colors: As selected from manufacturer's standard colors.

    - Integral (Flash) Cove Strip: Wood or plastic cove support stick having a minimum radius of 7/8 inch.

- Underlayment:

  - Mastic Type: Flooring manufacturer's recommended type.

.	J.	Flooring Adhesives and Joint Materials: Sheet flooring manufacturer's recommended water resistant materials, formulated for application on type of subfloor and grade level indicated.

## PART 3 EXECUTION

  - EXAMINATION

    - Verification of Conditions:

      - Examine substrate surfaces to receive the Work of this Section for defects that will adversely affect the execution and quality of the Work. Do not proceed until unsatisfactory conditions are corrected.

        - Concrete Subfloor Bond Tests: Check for surface moisture and coatings on concrete subfloor by bond tests as recommended by the flooring manufacturer.

      - Do not install the Work of this Section until after all other finishing operations, including painting, have been completed unless otherwise indicated or directed by the Director's Representative.

        - Where movable partitions are indicated, install flooring before partitions are erected without interrupting floor pattern.

## PREPARATION

    - Unless otherwise specified, follow the materials manufacturers' instructions.

    - Remove dirt, grease, oil, paint, varnish, wax, sealers, and other contaminants which may impair the full bonding of the materials.

    - Wood Strip Subfloor:

      - Renail loose boards. Remove broken and rotted boards and provide replacement boards.

      - Remove surface irregularities such as cups and warps by sanding.

      - Vacuum clean the entire subfloor.

      - Apply ¼” Cement board to entire area to receive sheet vinyl

      - Apply waterproofing equal to Redgard over entire area to receive sheet vinyl in bathroom.

E.	Immediately before application of the flooring adhesive, vacuum clean the prepared subfloor surface.

## INSTALLATION

    - Install the Work of this Section in accordance with manufacturer's printed instructions.

    - Install sheet material with the fewest seams possible, consistent with economical use of the material.  Match shading and patterns at adjoining sheets in accordance with manufacturer's instructions.

    - Install vinyl base in accordance with manufacturer's instructions. Install base on walls, partitions, columns, and permanent fixtures unless otherwise indicated. Install base in as long lengths as practicable, with preformed external corner units. Miter internal corners. Scribe and fit base to door frames and other interruptions.

## CLEANING

    - Remove any excess adhesive and other surface soiling from face of installed materials with cleaning agents recommended by the manufacturer of the material being cleaned.

## PROTECTION

    - Protect installed flooring from traffic and damage. Apply non-staining kraft paper covering where necessary. Maintain covering until directed to remove it by the Director's Representative.

## FINISHING

    - Prior to the final inspection, when directed by the Director's Representative, thoroughly clean flooring and accessories. Apply 2 coats of floor finish and buff to finish. Comply with the flooring manufacturer's recommended cleaning, finishing, and buffing procedures.

## END OF SECTION

PART 1 - GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

## SUMMARY

    - Section includes surface preparation and the application of paint systems on the following interior and exterior substrates:

      - Gypsum Board.

      - Interior doors and trim. Including basement stair stringers.

      - Galvanized metal doors.

      - Basement Floor.

      - Exterior exposed concrete foundation walls.

    - Paint Preparation: Inspect all walls for holes, or unfinished drywall. Clean and patch all walls prior to painting.

## ACTION SUBMITTALS

    - Product Data: For each type of product. Include preparation requirements and application instructions.

    - Samples: For each type of paint system and each color and gloss of topcoat.

    - Contractor note: Allow 7 paint colors in base bid.

## PART 2 - PRODUCTS

  - MANUFACTURERS

    - Manufacturers:	Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following: 	 1.          Richards Paint.  www.richardspain.com.

  - Approved equal

    - Products: Subject to compliance with requirements, products listed shall be approved by the Rochester Housing Authority for the basis of design.

## PAINT, GENERAL

    - Material Compatibility:

      - Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

      - For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

    - VOC Content:	Provide materials that comply with VOC limits of authorities having jurisdiction.

    - Colors: As selected by Architect from manufacturer's full range.

## PRIMERS

    - Exterior Trim Primer:

      - Zissner; Perma-White Mold & Mildew-Proof White Semi-Gloss Exterior Paint

        - Applied at a dry film thickness of not less than 3.0 mils.

    - Interior trim and doors.

      - For doors: Stain and Varnish.   Richards 40 Series Penetrating Wood Stain (Tint to color as Selected by RHA.

      - For all interior trim. for base/stain on wood trim

    - Gypsum Board Primer and finish coat:

      - Richards paint products.  306 Drywall Primer.

      - Richards 1000 Series Alkyd

      - Enamel Finish.  Richards.  Enamel Gloss.

    - Wood Opaque, Alkyd

1.	307109 Mult-Purpose Primer.

    - Galvanized Metal Primer: (Exterior metal doors)

      - Richards paint: Applied at a dry film thickness of not less than 2.5 mils.

      - Paint inside and out, including door frames.

    - Ceiling Primer Paint (in bathroom and Laundry): Primer Shall be equal KILZ 2 interior latex primer. Flat.

- Interior Basement floor paint Primer:  Seal Krete – Richards paint

    - Lock-Down Concrete Bonding

## FINISH COATS

    - Low VOC paint materials. Paint walls equal to (Manufacturer listed) All interior painting shall be one coat primer, and two finish coats. Paint for baseboard shall be semi-gloss finish. Allow two colors for bidding purposes (not including white for ceilings).

- Interior drywall:

1.	Richards satin finish. (2 coats).

    - Applied at a dry film thickness of not less than 1.6 mils.

    - Interior bathroom walls. Equal to:  Richards paint satin finish

    - 306 Drywall Primer

    - 1000 Series Alkyd Enamel Gloss

- Wood Doors – Transparent Finish

    - 40 Series Penetrating Wood Stain (tint to Color – by RHA)

- Wood, Opaque Latex Enamel Finish

    - Rust-Oleum/ Richards.

- Interior Semigloss Acrylic Enamel: for frames and Metal surfaces. Including basement stair stringers.

    - Richards paint. Applied at a dry film thickness of not less than 1.3 mils.

- Zinc-Coated Metal:

Provide the following finish systems over zinc-coated metal surfaces:

    - 4020-1000 Pittech Plus DTM Primer

    - 1250 or 1200 DTM Enamel Semi or Gloss.

- Interior Basement floor paint:   Paint concrete porch only. Seal Krete – Richards paint

    - Lock-Down Concrete Bonding

    - Deck Guard 100%

    - Acrylic #4200 Series.

- Exterior Porch Floor. Paint entire porch floor. Equal to: Richards Lock-Down Concrete Bonding Primer

a.   Deck Guard 100%. # 4200 Series Acrylic Concrete Floor Paint. Color: by RHA

## PART 3 - EXECUTION

  - EXAMINATION

    - Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

    - Maximum Moisture Content of Substrates: When measured with an electronic moisture meter as follows:

      - Cement and Gypsum Boards: 12 percent.

    - Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

    - Proceed with coating application only after unsatisfactory conditions have been corrected.

      - Application of coating indicates acceptance of surfaces and conditions.

## PREPARATION

    - Comply with manufacturer's written instructions and recommendations in "MPI Manual" applicable to substrates and paint systems indicated.

    - Clean substrates of substances that could impair bond of paints, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

      - Remove incompatible primers and re-prime substrate with compatible primers or apply  tie coat as required to produce paint systems indicated.

    - Remove hardware, covers, plates, and similar items already in place that are removable and are not to be painted. If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

      - After completing painting operations, use workers skilled in the trades involved to reinstall items that were removed. Remove surface-applied protection.

## APPLICATION

    - Apply paints according to manufacturer's written instructions and recommendations in "MPI Manual."

      - Use applicators and techniques suited for paint and substrate indicated.

      - Paint surfaces behind movable items same as similar exposed surfaces. Before final installation, paint surfaces behind permanently fixed items with prime coat only.

      - Paint both sides and edges of exterior doors and entire exposed surface of exterior door frames.

      - Do not paint over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

      - Primers specified in painting schedules may be omitted on items that are factory primed or factory finished if acceptable to topcoat manufacturers.

    - Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections. Cut in sharp lines and color breaks.

## CLEANING AND PROTECTION

    - Protect work of other trades against damage from paint application. Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

a. At completion of construction activities of other trades, touch  up  and  restore damaged or defaced painted surfaces.

END OF SECTION

SECTION 101420

HOUSE NUMBERS

PART 1 GENERAL

  - SECTION INCLUDES

    - House numbers

## REFERENCES

A. City of Rochester, NY Residential Planning and Zoning requirements for house numbers.

## SUBMITTALS

    - Submit under provisions of Section 013000

    - Product Data: Manufacturer's data sheets

## DELIVERY, STORAGE, AND HANDLING

A. Store products in manufacturer's unopened packaging until ready for installation.

## PART 2 PRODUCTS

  - MANUFACTURERS

. A.	Equal to: Baldwin:

    - Estate Door Accessories Collection. Model: 90671102

    - 4” numbers.

    - Color: Black

## PART 3 EXECUTION

  - EXAMINATION

A Examine for damage.

## PREPARATION

A. Examine, clean, and repair as necessary any substrate conditions which would be detrimental to proper installation.

## INSTALLATION

A. Install products in accordance with the latest printed instructions of the manufacturer. To be placed on new porch column finish material.

## PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

## END OF SECTION

Peter L Morse & Associates		Rochester Housing Authority December 13, 2023	1		158 Bartlett Street

## PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Plumbing

## SUBMITTALS

    - Product Data: Specifications or data sheets and installation instructions for each product required.

## QUALITY ASSURANCE

    - Provide products from more than one manufacturer if necessary to meet the requirements of this Section.

## DELIVERY, STORAGE, AND HANDLING

    - Deliver and store products in manufacturer’s original protective packaging.

      - Furnish items with protective wrappings or covers as required to protect finishes. Do not remove protective coverings until completion of other Work liable to damage accessory finish.

    - Pack products with required trim, mounting devices, fasteners, service tools or keys, and complete installation instructions.

## PART 2 PRODUCTS

  - BATHROOM ACCESSORIES

Bathroom Accessory Schedule

Description	        Manufacturer                   Model                       Remarks

| AC-1 | Towel Bar | Franklin Brass | KIN 24-081 | Rubbed Oil Bronze |
| --- | --- | --- | --- | --- |
| AC-2 | Towel Ring | Franklin Brass | KIN 46-CRB-1 | Rubbed Oil Bronze |
| AC-3 | Toilet Paper Holder | Franklin Brass | KIN 62-CRB-1 | Rubbed Oil Bronze |
| AC-4 | Shower Curtain Rod | Franklin Brass | 185-5SN | Rubbed Oil Bronze |
| AC-5 | Grab Bars | N/A | N/A | w/ Tub Enclosure |
| AC-6 | Medicine Cabinet | Keleankiin | US834-166V01031 | 36 x 24 Surf. Mount |

Notes

- The Model Numbers listed refer to products of Franklin Brass.  The Scheduled Products serve as the standard of quality for this project.  Provide Frankl Brass, Delta Crestfield or Equal.

- Provide Two (2) Towel Bars per bathroom.  Mount each towel Bar on 1 x 4 cedard pine painted to match walls.

- Provide one (1) set of accessories in every apartment.

    - Grab bars.

      - Grab Bars ( Shower). 1-1/2” dia. Smooth surface. Mount on solid wood grounds.  Mount in shower and next	to toilet as noted. Equal to: Bobrick. Size as shown. Mount to solid wood grounds.

      - Grab bars at toilet: Swing Away grab bars at toilet: equal to:

        - Elcoma Flip-Up Safety Rail with open loop and friction hinge. Configuration 99. Stainless Steel Rail and Bracket. Model # 99-2630G01. White shurgrip. 521 Lawrence Rd. NE., Canton, OH. 44704. Ph. (800) -352-6625.

orderdesk@elcoma.com. www. elcoma.com.

## PART 3 EXECUTION

  - INSTALLATION

    - Unless otherwise indicated, install Work of this Section in strict accordance with the manufacturer’s instructions.

      - Install all attachments, anchorage devices, and fasteners as required to securely mount accessory units to types of wall or partition construction indicated.

      - Grab Bars: Install to withstand a downward load of at least 250 lbf, when tested according to ASTM F 446.

## CLEANING AND POLISHING

    - Remove protective wrappings from installed accessories after completion of other Work liable to damage accessory finish. Remove residue, if any, and polish exposed surfaces.

## END OF SECTION

## PART 1 - GENERAL

| 1.1 |  | RELATED DOCUMENTS |
| --- | --- | --- |
|  | A. | Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section. |
| 1.2 |  | SUMMARY |
|  | A. | This Section includes the following: |
|  |  | 1. Horizontal cordless louver blinds with aluminum slats. |
|  |  | 2. Install in all room windows. |
|  | B. | Related Sections include the following: |
|  |  | - Division 6 Section "Miscellaneous Carpentry" for wood blocking and grounds for mounting horizontal louver blinds and accessories. - Division 16 Sections for electrical service and connections for motor operators, controls, limit switches, and other powered devices and for system disconnect switches for motorized blind operation. |
| 1.3 |  | SUBMITTALS |
|  | A. | Window Treatment Schedule: For horizontal louver blinds. Use same designations indicated on Drawings. |
|  |  | 1. Submit product spec sheet indicating sizes, colors, and mounting configuration. |
| 1.4 |  | QUALITY ASSURANCE |
|  | A. | Source Limitations: Obtain horizontal louver blinds through one source from a single manufacturer. |
|  | B. | Fire-Test-Response Characteristics: Provide horizontal louver blinds with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction. Identify materials with appropriate markings of applicable testing and inspecting agency. |
|  |  | 1. Flame-Resistance Ratings: Passes NFPA 701. |

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver horizontal louver blinds in factory packages, marked with manufacturer and product name, fire-test-response characteristics and location of installation using same designations indicated on Drawings and in a window treatment schedule.

## PROJECT CONDITIONS

    - Environmental Limitations: Do not install horizontal louver blinds until construction and wet and dirty finish work in spaces, including painting, is complete and dry and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

    - Field Measurements: Where horizontal louver blinds are indicated to fit to other construction, verify dimensions of other construction by field measurements before fabrication and indicate measurements on Shop Drawings. Allow clearances for operable glazed units' operation hardware throughout the entire operating range. Notify Architect of discrepancies. Coordinate fabrication schedule with construction progress to avoid delaying the Work.

## EXTRA MATERIALS

    - Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

      - Horizontal  Louver  Blinds:	Before installation begins, for each size, color, texture, pattern, and gloss indicated, full-size units equal to 5 percent of amount installed.

## PART 2 - PRODUCTS

  - HORIZONTAL LOUVER BLINDS, ALUMINUM SLATS

    - Available Products: Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

    - Products: Subject to compliance with requirements, provide one of the following:

      - Basis-of-Design  Product:  Subject to compliance with requirements, provide or a comparable product by one of the following:

        - Century Blinds, Inc. (www.centuryblinds.com)

        - Approved equal

      - COMPONENTS

        - Louver slats:  2 in wide, extruded, PVC horizontal slats with radius corners.

        - Slat Support:  Polypropylene Ladders

        - Head Rail:  Pre-finished formed aluminum or steel box, internally fitted for hardware pulleys and bears for blind operation

        - Cord:  Braided nylon or poly propylene.

        - Control wand:  Hollow extruded plastic, height of window opening less 12 inches

        - Support brackets:  Suitable for wall or soffit mounting, formed metal to match head rail allowing removal of head rail for maintenance without removing bracket.

        - Valence:  Manufacturer’s standard

        - Operation:  Full range of lift locking.

      - FABRICATION

        - Fabricate blinds to fit openings with uniform edge clearance of ¼ inch.

        - At openings requiring multiple blind units, provide separate blind assemblies with space of ¼ inch between assemblies, occurring at window mullion centers.

      - FINISHES

        - Slats:  Integrally colored, wood tone to be selected from manufacturer’s full color range.

        - Head rails and Brackets>  Static-reducing, backed enamel color to be selected from manufacturer’s full color range.

        - Ladders and cords:  Dyed to closely match slats

        - Control Wantd:  Clear.

## PART 3 - EXECUTION

  - EXAMINATION

    - Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, operational clearances, [accurate locations of connections to building electrical system and other conditions affecting performance.

      - Proceed with installation only after unsatisfactory conditions have been corrected.

## INSTALLATION

    - Install horizontal louver blinds level and plumb and aligned with adjacent units according to manufacturer's written instructions, and located so exterior slat edges in any position are not closer than 1 inch to interior face of glass. Install intermediate support as required to prevent deflection in headrail. Allow clearances between adjacent blinds and for operating glazed opening's operation hardware if any.

    - Head Mounted: Install headrail on face of opening head.

    - Connections: Connect motorized operators to building electrical system.

## ADJUSTING

    - Adjust horizontal louver blinds to operate smoothly, easily, safely, and free of binding or malfunction throughout entire operational range.

## CLEANING AND PROTECTION

    - Clean horizontal louver blind surfaces after installation, according to manufacturer's written instructions.

    - Provide final protection and maintain conditions, in a manner acceptable to manufacturer and Installer,  that ensure that horizontal louver blinds are without damage or deterioration at time of Substantial Completion.

    - Replace damaged horizontal louver blinds that cannot be repaired, in a manner approved by Architect, before time of Substantial Completion.

## END OF SECTION

PART 1 GENERAL

  - SUMMARY – Provide and install Appliances listed herein.

- Section Includes:

  - Ranges and cords.

  - Safety Controls.

  - Range hoods.

  - Connection to utilities.

- Related Sections:

  - Division 01: Administrative, procedural, and temporary work requirements.

  - Division 26: Electrical for utility connections.

.

## SUBMITTALS

- Submittals for Review:

  - Shop Drawings: Show locations of appliances, dimensions, required clearances, rough-in requirements, power requirements, and wiring diagrams.

  - Product Data: Provide product data on appliances showing materials, finishes, characteristics, limitations, and electrical characteristics.

  - Warranty: Sample warranty form.

- Closeout Submittals:

  - Operation and Maintenance Data including identification / serial number and their location.

## QUALITY ASSURANCE

A. Appliances: Energy Star Rated.

## DELIVERY, STORAGE AND HANDLING

A. Deliver appliances with manufacturer’s protective coverings in place; do not remove until just prior to installation.

## WARRANTIES

A. Furnish manufacturer’s standard warranty providing coverage against all defects. 11 3100-2 Appliances

## PART 2 PRODUCTS

  - MANUFACTURERS

A. Acceptable Manufacturers:

- Frigidaire. (www.frigidaire.com)

- GE Appliances. (www.geappliances.com)

- Approved equal.

## MANUFACTURED UNITS

A. Appliances: Scheduled at end of Section.

## PART 3 EXECUTION

  - INSTALLATION

- Install appliances in accordance with manufacturer’s instructions and approved shop Drawings.

- Set plumb, level, and aligned.

- Connect to power supply.

## ADJUSTING

A. Adjust appliances for proper operation.

## SCHEDULE

Appliance / Description Manufacturer Model Finish

## END OF SECTION

PART 1 GENERAL

1,00	THE WORK

    - Replace all plumbing in the residence. Use this section for references.

    - Make plumbing connections to all existing drain lines from fire damaged portions of the house. Concrete removal around drain lines may be necessary. Drain connections shall be threaded at Cast Iron connections.

- General: All new hot and cold water distribution shall be PEX. Drainage piping shall be Schedule 40 PVC Piping.

- Make special provisions for connections to existing copper/ cast iron connections and cast iron drain lines. Trap and vent all fixtures per NYSPC.  Contractor’s Plumber to include all accessories, mixing valves, and plumbing access doors.

- Pressure test all new and existing plumbing lines and inspect for leaks when complete.

## RELATED WORK SPECIFIED ELSEWHERE

    - Plumbing Fixtures: Section 224200

## REFERENCES

    - Residential Code New York State – 2020 Edition.

    - The Mechanical Code of New York State.

B.	RG & E – for gas pipe connections

## SUBMITTALS

    - Product Data:

      - Catalog sheets and specifications indicating manufacturer name, type, applicable reference standard, schedule, or class for specified pipe and fittings.

      - Material Schedule:  Itemize pipe and fitting materials for each specified application in Pipe and Fittings Schedule in Part 3 of this Section. Where optional materials are specified indicate option selected.

## QUALITY ASSURANCE

    - Qualification of Plumbers: Comply with the following:

      - The persons performing the work shall be licensed plumbers in the City of Rochester, NY.

      - Persons installing the hot water boiler shall be qualified installers.

## PART 2 PRODUCTS

  - STEEL PIPE AND FITTINGS

    - Steel Pipe for Threading: Standard weight, Schedule 40, black or galvanized; ASTM A 53 or ASTM A 135.

    - Steel Pipe for Roll Grooving: Standard weight, Schedule 40, black or galvanized; ASTM A 53, Grade B, Type F for sizes 3/4 inch to 1-1/2 inch, and Type E or S for sizes 2 inch to 24 inch, or ASTM A 135.

    - Malleable Iron, Steam Pattern Threaded Fittings:

      - 150 lb Class:  ASME B16.3.

      - 300 lb Class:  ASME B16.3.

    - Cast Iron Fittings:

      - Drainage Pattern, Threaded: ASME B16.12.

      - Steam Pattern, Threaded: ASME B16.4.

        - Standard Weight: Class 125.

        - Extra Heavy Weight: Class 250.

      - Flanged Fittings and Threaded Flanges: ASME B16.1.

        - Standard Weight: Class 125.

        - Extra Heavy: Class 250.

    - Unions: Malleable iron, 250 lb class, brass to iron or brass to brass seats.

    - Couplings: Same material and pressure rating as adjoining pipe, conforming to standards for fittings in such pipe. Use taper tapped threaded type in screwed pipe systems operating in excess of 15 psig.

    - Nipples: Same material and strength as adjoining pipe, except nipples having a length of less than one inch between threads shall be extra heavy.

## COPPER AND BRASS PIPE, TUBING AND FITTINGS

    - Copper Tube, Types K, L, and M: ASTM B 88.

B..	Wrot Copper Tube Fittings, Solder Joint: ASME B16.22.

- Drainage Tube, Type DWV: ASTM B 306.

  - Chrome Plated Cast Brass Threaded Pipe Fittings, 125 lb Class: ASME B16.15.

    - Plating: 0.02 mil chromium over 0.2 mil nickel plating, high polish finish.

J.	Unions: Cast bronze, 150 lb Class, bronze to bronze seats, threaded or solder joint.

- Flared Tube Fittings:

  - Water Tube Type: ASME B16.26.

  - Refrigerant Tube Type: SAE J513.

- Flanges: Conform to the Standards for fittings used in systems.

  - Brazing Flanges: ASME B16.24, hubs modified for brazing ends.

## CAST IRON PIPE AND FITTINGS

    - Bell and Spigot Soil Pipe: Service Weight, Bitumin coated; ASTM A 74.

    - Bell and Spigot Soil Pipe Fittings: Service Weight, Bitumin coated; ASTM A 74.

    - Hubless Pipe: Bitumin coated; Cast Iron Soil Pipe Institute Standard No. 301.

    - Hubless Pipe Fittings: Drainage Pattern, Bitumin coated; Cast Iron Soil Pipe Institute Standard No. 301.

    - Hubless Joint Couplings: Stainless steel shield and clamp assembly, and elastomer sealing sleeve; CISPI-310.

    - Water Pipe Fittings: Bitumin coated, cement-mortar lined; AWWA C110.

## DUCTILE IRON PIPE AND FITTINGS

    - Water Pipe: Bitumin coated and cement-mortar lined; AWWA C151.

      - 3 and 4 Inch Sizes: Class 51.

      - 6 inch Size and Over: Class 50.

    - Fittings: Bitumin coated and cement-mortar lined; AWWA C110.

## COUPLINGS AND FITTINGS FOR GROOVED END PIPE

    - Couplings: Grinnell Corp.’s Rigidlok Fig. 7401, or Victaulic Co.’s Style 107, having minimum pressure rating of:

      - 750 psi from 1-1/2 inch to 4 inch.

    - Couplings: Gustin-Bacon Inc.’s No. 100 Gruvagrips, or Victaulic Co.’s Style 77, having pressure rating of:

      - 1000 psi for 3/4 inch to 6 inch.

    - Fittings: By same manufacturer as couplings, having pressure ratings equal to or greater than couplings. Comply with the following standards:

      - Steel: ASTM A 53 or A 106, Grade B.

      - Malleable Iron: ASTM A 47.

      - Ductile Iron: ASTM A 536.

## PEX DISTRIBUTION PIPING

- PEX plumbing, or Cross linked Polyethylene shall be emploued for all water distribution. Manufacturer: Equal to CMI Inc.

  - Plumbing shall meet Chapter 26 of NYS Residential Code requirements for Plumbing.

  - PEX shall be adequately supported in instances where it is not a floor level.

- All hot and cold water distribution and baseboard hot water plumbing shall be PEX.

  - Maintain continuous PEX line. Do not splice lines between couplers.

- Standards, Approvals & Certifications (Everhot PEX-AL-PEX)

  - ASTM F1281: Standard Specification for Crosslinked

  - Polyethylene/ Aluminum/ Crosslinked Polyethylene (PEX-AL-PEX) Pressure Pipe. CSA B137.10: Crosslinked Polyethylene/Aluminum/Crosslinked Polyethylene (PEX- AL-PEX) Tubing Systems for Pressure Applications.

  - NSF/ANSI 14, nsf-rfh: Evaluated for use in Radiant Floor Heating (NSF-rfh) Applications

  - NSF/ANSI 61-G, NSF/ANSI 372, nsf-pw-g: Complies with NSF/ANSI standard 61-G for

  - Lead-Free Drinking Water System Components

  - Certified to UPC (Uniform Plumbing Code).

D.	PEX plumbing shall be:

1	Hot water distribution shall be equal to PEX Tubing B Pipe 1/2" Blue Water Polyethylene Flexible Pipes Non Oxygen Barrier Potable Tubes

- Hot / cold water distribution domestic water PEX shall be as follows:

  - Hot water distribution for baseboard heating. ¾” plumbing.

## a PEX ACCESSORIES

- The following connectors shall be used for all PEX distribution.

  - Compression Elbow PEX-AL-PEX Compression Elbow

    - Brand: Everhot

    - Part#: PAP7003

  - Compression Coupling PEX-AL-PEX

    - Brand: Everhot

    - Part#: PAP6805

  - Ball Valve, Full Port - 1/2" PEX Brass

    - Brand: Wright Valves

    - Part#: VPP012

## PVC PIPING

    - Drain/ waste lines (domestic) and furnace and plumbing venting. Schedule 40 PVC.

## PART 3 EXECUTION

  - INSTALLATION

    - Install piping at approximate locations indicated, and at maximum height.

    - Make allowances for expansion and contraction.

    - Allow for a minimum of one inch free air space around pipe or pipe covering, unless otherwise specified.

- Install horizontal piping with a constant pitch, and without sags or humps.

  - Water Piping: Pitch 1/4 inch per 10 feet upward in direction of flow, unless otherwise noted. If it is not possible to maintain constant pitch, establish a new low point and continue. At the low point, provide a 1/2 inch drip leg and gate valve with a hose bibb end. Provide an air vent at the high point.

  - Drainage Piping: Pitch 1/4 inch per foot downward, in direction of flow, unless otherwise noted.

  - Vent Piping: Pitch 1/4 inch per foot upward, unless otherwise noted.

- Install vertical piping plumb.

- Cut pipe and tubing ends square; ream before joining.

- Threading: Use American Standard Taper Pipe Thread Dies.

  - Thread brass pipe with special brass threading dies.

## DRAINAGE SYSTEMS

    - Fittings:

      - Use long turn drainage pattern fittings, unless space conditions prohibit their use; in such cases, short turn pattern fittings may be used.

      - Vertical Offsets: Make vertical offsets with 45 degree elbows, or 1/8 bends.

      - Tucker Fittings: Tucker fittings may only be installed in vertical piping.

    - Cleanouts:

      - Install cleanouts with sufficient side and end clearance to allow for the removal of the cleanout plug, and the use of cleaning tools.

      - Lubricate cleanout plugs with anti-seize lubricant.

## DOMESTIC WATER PIPING SYSTEM

    - Connect runouts to the upper quadrant of the main, and run upward at not less than 45 degrees before extending laterally.

    - Make final connections to plumbing fixtures and equipment with unions, or flanges:

      - Do not use unions in ferrous piping larger than 3 inches.

      - Do not use unions in brass or copper piping larger than 2 inches.

## NATURAL GAS PIPING SYSTEM

    - Install gas piping system in conformance with the National Fuel Gas Code, NFPA 54, or as required by the serving gas supplier.

    - Use non-hardening pipe dope on threads. Do not use thread seal tape.

## PIPE JOINT MAKE-UP (Hot water tank)

    - Threaded Joint: Make up joint with a pipe thread compound applied in accordance with manufacturer’s printed application instructions for the intended service.

      - Chrome Plated Brass Pipe: Tighten joint with a strap or Parmalee wrench; do not mar pipe finish. Install piping so that no threads are visible.

    - Soldered Joint: Thoroughly clean tube end and inside of fitting with emery cloth, sand cloth, or wire brush. Apply flux to the pre-cleaned surfaces. Install fitting, heat to soldering temperature, and join the metals with type solder specified. Remove residue.

    - Flanged Pipe Joint:

      - Install threaded companion flanges on steel pipe; flanges on galvanized pipe are not required to be galvanized.

      - Provide a gasket for each joint.

        - Hot Water Pipe Gasket: Coat with a thin film of oil before making up joint.

        - Air Pipe Gasket: Coat with a thin film of oil before making up joint.

      - Coat bolt threads and nuts with anti-seize lubricant before making up joint.

    - Calked Joint: Pack hub with joint packing specified, and calk. Run 12 ounces molten lead for each inch of pipe diameter. Calk cooled lead ring and face off smoothly.

    - Rubber Ring Push-on Joint: Clean hub, bevel spigot, and make up joint with lubricated gasket in conformance with the manufacturer’s printed installation instructions.

    - Grooved Pipe Joint: Roll groove pipe ends, make up joint with grooved end fittings and couplings, in conformance with the manufacturer’s printed installation instructions.

      - Cut grooved end piping is not acceptable.

    - Hubless CI Pipe Joint: Make up joint with hubless fitting and couplings, in conformance with the manufacturer’s printed installation instructions.

## PIPING PENETRATIONS

    - Sleeve Schedule: Unless otherwise shown, comply with the following schedule for the type of sleeve to be used where piping penetrates wall or floor construction:

## CONSTRUCTION	     SLEEVE TYPE

      - Frame construction.	    None Required

      - Floors finished or to be finished with	D* latex composition or terrazzo, and on

metal decks.

      - Earth supported concrete floors.	    None Required

      - Fixtures with floor outlet waste piping.       None Required

*Core drilling is permissible in lieu of sleeves where marked with asterisks.

    - Diameter of Sleeves and Core Drilled Holes:

      - Unless otherwise specified, size holes thru floors and walls in accordance with the through penetration fire stopping system being used.

## FLOOR, WALL AND CEILING PLATES

    - Install plates for exposed uninsulated piping passing thru floors, walls, ceilings, and exterior concrete slabs as follows:

      - In Finished Spaces:

        - Piping 4 Inch Size and Smaller: Solid or split, chrome plated cast brass.

        - Piping Over 4 Inch Size:  Split, chrome plated cast brass.

      - Unfinished Spaces (Including Exterior Concrete Slabs):  Solid, unplated cast iron.

      - Fasten plates with set screws.

      - Plates are not required in pipe shafts or furred spaces.

## PIPE AND FITTING SCHEDULE

    - Where options are given, choose only one option for each piping service. No deviations from the selected option will be allowed.

## END OF SECTION

PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Ductwork and accessories

## REFERENCES

    - SMACNA: Sheet Metal and Air Conditioning Contractors National Association.

## SUBMITTALS

    - Shop Drawings: Show duct material, gage, type of joints and duct reinforcing for each size range. Include sketches or SMACNA figure numbers for joints, method of fabrication, and reinforcing.

    - Product Data: Manufacturer’s catalog sheets and installation instructions for motorized damper.

## QUALITY ASSURANCE

    - Regulatory Requirements:

      - Flexible fabric connections shall meet the requirements of NFPA Standards 90A and 90B.

      - Electrical components shall be UL listed.

      - SMACNA Manual: Gages of materials, fabrication, reinforcing, sealing, installation, and methods of supporting ductwork shall be in accordance with the HVAC Duct Construction Standards Manual, unless otherwise shown or specified.

## PART 2 PRODUCTS

  - MATERIALS

    - Galvanized Steel Sheet: ASTM A 653, Class LFQ (lock forming quality), coating designation G90.

      - For insulated duct and duct designed for two inches wg and over: Fabricate hollow metal doors in accordance with the SMACNA Manual.

      - Fill void in doors for insulated duct with thermally equivalent insulation.

    - Duct Hangers:

      - Band Hangers: Same material as duct.

      - Rod Type Hangers: Mild low carbon steel, unless otherwise specified; fully threaded or threaded each end, with two removable nuts each end

for positioning and locking rod in place. Unless galvanized or cadmium plated, shop coat with red lead or zinc chromate primer paint.

    - Miscellaneous Fasteners and Upper Hanger Attachments:

      - Sheet Metal Screws: Same material as duct.

      - Machine Bolts and Nuts: Galvanized or cadmium plated steel.

      - C Clamps: Fee & Mason 255L with locking nut, and 255S retaining strap.

      - Welding Studs: Erico Fastening System, capacitor discharge, low carbon steel, copper flashed.

      - Structural Steel Shapes and Plates: ASTM A 36, shop primed.

      - Machine Bolt Expansion Anchors:

        - Non-calking single unit type: FS FF-S-325, Group II, Type 2, Class 2, Style 1.

        - Non-calking double unit type: FS FF-S-325, Group II, Type 2, Class 2, Style 2.

        - Self-drilling type: FS FF-S-325, Group III, Types 1 and 2.

## FLEXIBLE CONNECTIONS - FABRIC

    - Glass fabric coated with an inorganic elastomeric material, similar to Duro Dyne’s Thermafab.

    - Factory prefabricated preassembled flexible fabric connectors of fabric specified in A. above, with minimum No. 24 USS gage metal edges similar to Duro Dyne’s Metal-Fab.

## PART 3 EXECUTION

  - INSTALLATION - GENERAL

    - Fabricate all ductwork from galvanized steel sheet. Install ductwork to allow maximum headroom. Properly seam, brace, stiffen, support and render ducts mechanically airtight. Adjust ducts to suit job conditions. Dimensions may be changed as approved, if cross-sectional area is maintained.

    - Provide necessary transformation pieces, and flexible fabric connections for ductwork connected to diesel-alternator unit, or air inlet and outlet devices. Install minimum 10 x 10 inch gasketed access door in ductwork adjacent to motorized damper.

## HANGERS FOR DUCTS

    - Install hangers for ducts as specified in the SMACNA Manual, with the following exception:

      - For rectangular ducts up to 42 inches wide, supported from overhead construction, extend band hangers down over each side of duct and turn under bottom of duct a minimum of 2 inches. Secure hanger to duct with 3 sheet metal screws, one in bottom and 2 in side of duct.

## UPPER HANGER ATTACHMENTS

    - Secure upper hanger attachments to structural steel or steel bar joists wherever possible.

    - Do not use drive-on beam clamps, powder driven drive pins or expansion nails.

    - Do not attach powder driven or welded studs to structural steel less than 3/16 inch thick.

## FLEXIBLE FABRIC CONNECTORS

    - Secure fabric connectors to equipment and ducts as follows:

      - Secure rectangular connectors with 1 inch x 1/8 inch thick flat galvanized steel bars, with screws or bolts on maximum 8 inch centers, or with approved sheet metal joints. Tightly crimp fabric into sheet metal joint and secure complete joint with sheet metal screws on maximum 6 inch centers.

- Fabric connectors may be factory prefabricated preassembled units, with minimum No. 24 USS gage metal edges, secured to fabric with double lock seams.

- Do not paint fabric connectors.

## ACCESS DOORS

    - Fabricate of same material and gage as ductwork. Fold all edges of door panels. Size door to overlap opening perimeter by one inch.  Provide each door complete with a minimum of 2 hinges, 2 sash locks, and sponge rubber or felt gasketing on contact surfaces around duct opening.

## END OF SECTION

LAUNDRY EQUIPMENT

SECTION 134500

PART 1 GENERAL

1,00	THE WORK

  - Kitchen equipment  noted in Section 113100.

  - Make plumbing AND electrical connections to existing drain lines.

  - All hot and cold water distribution shall be PEX.

  - Drain lines shall be Schedule 40 PVC piping.

- Make special provisions for connections to existing copper/ cast iron connections and cast iron drain lines.   Trap and vent all fixtures per NYSPC.  Contractor’s Plumber to include all accessories, mixing valves, and plumbing access doors.

## RELATED WORK SPECIFIED ELSEWHERE

    - Plumbing Fixtures: Section 224200

    - Sealants: Section 079200.

    - Ductwork. Section 233300

## REFERENCES

    - Residential Building Code New York State – 2020 Edition.

## SUBMITTALS

    - Product Data:

      - Catalog sheets and specifications indicating manufacturer name, type, applicable reference standard, schedule, or class for specified pipe and fittings.

      - Material Schedule: Itemize pipe and fitting materials for each specified application in Pipe and Fittings Schedule in Part 3 of this Section. Where optional materials are specified indicate option selected.

## QUALITY ASSURANCE

    - Qualification of Plumbers: Comply with the following:

      - The persons performing the work shall be licensed plumbers in the City of Rochester.

Peter L Morse & Associates	1	Rochester Housing Authority December 13, 2023			158 Curtis St.

## LAUNDRY ROOM EQUIPMENT SECTION 13450

PART 2 PRODUCTS

- LAUNDRY EQUIPMENT

  - Gray Box: LSP Co. 3689 Arrowhead Dr., Carson City, Calif.Ph. (800) 854- 3215. ASME 112.18.1, or approved equal. Provide and install new wall mounted plastic one piece laundry box laundry outlet in new laundry room.   Provide hot and cold hookups with water hammer arrestor. Provide and install shut off valves.

  - Water Supply Valve and Test Cap Installation. Valve equal to Oatey “Quadtro”. Single lever valve. www.oatey.com. ASME A112.18.1/ Water Hammer Arrestors shall meet ASSE1010.

- Washer floor tray: Provide and install washer floor tray equal to E L Mustee “Durapan” Model # 99 Washer pan	(30” x 32”) with 2” center drain. Connect to house plumbing drain lines.

- Install Trap Guard Model TG22P (2” drain line) connecting  washer floor	tray pan to plumbing sanitary line. www.trapguard.com, 800-262-5355. (SBCCI PST & ESI Listing # 2218) Install floor firestopping by ProSet systems Co. Firestop Systems all around the floor/ pipe joint.

e).	Water supply: Schedule 40 PVC or Pex. Drainage system: schedule 40 PVC. Make special provisions for connections to existing copper connections and cast iron

drain lines. Trap and vent all fixtures per NYS Residential Code. Contractor’s Plumber to include all accessories, mixing valves, and plumbing access doors.

f.).	Electric outlet (for electric dryer). Hubbell Wiring Device - Kellems – Model L14-30, Manuf. Model No. HBL2710SR or approved equal. Surface Mounted Twist

Lock Appliance Receptacle Outlet 3-Pole,	4-Wire, 50A-125-250V NEMA 14-50R Grounding Type for 4 prong/ 4wire GFCI outlet. Mount 42” a.f.f.

g).	Electric outlet for washer. GFCI 30 amp convenience outlet. Mount 42” a.f.f. h.)	Dryer Vent: Semi rigid vent 4” metal duct tubing.

i.)	Dryer Wall cap: Equal to Inovate by DryerJack. Model DJK477BR with exhaust opening plate, and c-clamps for connections. Caulk all around.

## SECTION END

Peter L Morse & Associates	2	Rochester Housing Authority December 13, 2023			158 Bartlett Street.

## PART 1 GENERAL

  - RELATED WORK SPECIFIED ELSEWHERE

    - Metal Ductwork: Section 233144

    - Common Electric Work . Section 260509

    - Low Voltage Electrical 260519

## SUBMITTALS

    - Product Data: Catalog sheets, performance charts, specifications and installation instructions for each type of furnace.

    - Contract Closeout Submittals

      - Operation and Maintenance Data; Deliver 2 copies, covering the installed products, to the Director’s Representative.

## QUALITY ASSURANCE

    - Regulatory Requirements:

      - Furnace shall be UL listed and labeled.

      - Install in accordance with NFPA 54 National Fuel Gas Code.

## PART 2 PRODUCTS

  - FURNACES, GENERAL

    - Fuel: Design furnace - burner units for firing with natural gas, rated at 60,000 Btuh.

    - Furnace unit shall be equal to:

      - RHEEM / R92PA0601317MSA 92+ high efficiency Furnace – Direct Vent.

    - Furnace - Burner - Control Unit: Furnace shall be a complete factory assembled and packaged unit of the type, consisting of a heat exchanger, fuel burning equipment, blower section, filter section, operating controls, safety controls and wiring.  The unit shall be complete with a factory fabricated, reinforced, insulated, sheet steel jacket, with a corrosion resistant baked enamel finish. Access doors, or easily

removable panels, shall be provided for servicing of all internal components and changing of filters.

    - Blower Unit: Quiet operating, heavy duty centrifugal type installed on a single heavy duty shaft, mounted on self-aligning ball or lifetime lubricated bearings, Vee belt driven by an electric motor. Isolate motor from steel frame with resilient mountings.

    - Filter Section: 1 inch thick throw-away type filters installed in a built-in filter rack. Provide sufficient area so that the air velocity through filters does not exceed 300 fpm.

## GAS FIRED FURNACE

    - Heat Exchanger: All welded construction, multiple flue gas pass type, fabricated of heavy gage black sheet steel.

    - Gas Burners: Atmospheric type, slotted or drilled cast iron burners, or stainless steel ribbon type.

    - Gas Burner Controls:  Combination main gas control valve and pressure regulator and safety pilot. Draft diverter shall be of the built-in type or furnished for installing on top of unit.

    - Operating Controls: Factory wired and mounted on unit. Controls shall include fan and limit control with built-in summer switch, and an automatic thermostatic temperature regulator.

    - Install shut off toggle switch on the furnace unit.

## PART 3 EXECUTION

  - INSTALLATION

    - Install furnace of type and capacity as noted on the drawings. Provide sufficient room for cleaning and servicing all components.

    - Install new PVC furnace discharge through basement wall.  Seal around opening with cement grout.

    - Install thermostat at location indicated on drawings.

    - Install electrical convenience switch on furnace unit.

## FUEL FOR START-UP AND TESTING

    - Gas: Connect to existing installed gas piping or install gas service piping for firing furnaces, all as required by the drawings and the specifications.

    - Testing: Upon completion of the installation, and in the presence of the RHA’s Representative, conduct a performance test on the furnace, for the purpose of checking general operation, proving electrical and mechanical controls and making necessary adjustments.

## HOUSE THERMOSTAT

    - Provide: 24 hr. programmable type thermostat:

      - Honeywell TH41102005/u T-4 focus programmable, 1H/1C

## END OF SECTION

PART 1 – GENERAL

1.01.	SCOPE

  - Remove all wiring, outlets, and boxes. Rewire entire house per specifications.

    - Existing House Panel Box is to remain.

    - Service line to the house to remain.

- Reference Standards (Latest editions, herein made a part of these specifications) ANSI/NECA 1-2009 Standard Practice of Good Workmanship in Electrical Construction. ANSI/NECA 200-2002 Recommended Practice for Installing and Maintaining Temporary Electric Power at Construction Sites ANSI/NFPA 70 National Electrical Code.

- Comply the standards of the latest editions of the National Electrical Code (NEC), Building Code of New York State, other applicable codes and local codes having authority. Certificate of inspection by electrical inspection agency is required.

- Drawings are diagrammatic in nature and cannot show necessary offsets, fittings, etc. Install Work substantially as indicated on Drawings. Verify exact location and elevations on the Site.

  - Include items not shown or specified but that are necessary to make a complete working code compliant installation.

- Employ only competent workers for the job, skilled in their branch of the trade, supervised by a licensed electrician.

- Coordinate work of this Contract with other trades and utility companies to avoid conflicts. Install materials and equipment in time so as not to cause delays for other trades. Make field adjustments as necessary at no additional cost.

  - Right of Way: Yield right of way to piping and ductwork systems, except at panel boards where required clearances may have to be negotiated.

  - Provide electrical service to fixtures and equipment provided by other trades, such as exhaust fans and appliances.

- Refer to Division 1 and 2 specifications for allocation of responsibilities for cutting, patching and demolition.

- Refer to Section 061000 for permitted size and location of holes and notches in joists and studs. Holes larger than 1" diameter need written permission from Architect.

- Protect installed equipment and fixtures from damage until final acceptance.

- Do not cover up rough-in work until it has been reviewed by inspection agency and/or Code Official.

- Delivery / Storage / Handling:

  - Store materials in a secure, protected location immediately upon delivery to project.

  - Protect materials, equipment and fixtures from high humidity and moisture during storage and installation until final acceptance

N.	Warranty: Refer to Section 01 78 36 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

A.	Products and materials are listed in other sections of Division 26. Include all items necessary to make a complete working installation.

## PART 3 – EXECUTION

- Demolition: Refer to Division 01 Section "Cutting and Patching" and Division 02 Section "Selective Demolition" for general demolition requirements, procedures and allocation of responsibilities among the subcontractors.

  - Disconnect, demolish, and remove electrical systems, cable, rough-in boxes, devices, equipment, fixtures and components indicated to be removed, including underground utilities.

    - Existing to Remain: House main panel to remain. Do not disturb active services to Repair services to remain that are damaged by the Work around the main panel.

    - Inactive: When encountered, remove, then cap or plug.

  - Remove, relocate and extend existing services to accommodate new construction.

  - Repair adjacent construction and finishes damaged during demolition.

  - Provide temporary electrical services during construction for all contractors; Contractor shall coordinate with Utility Company to obtain temporary service. .

- Electrical Work – Common Requirements

  - Comply with NECA 1, OSHA and NEC, latest editions.

  - Install all electrical items indicated on construction documents. Measure indicated mounting heights to bottom of unit for suspended items and to center of unit for wallmounting items.

  - Headroom Maintenance: If mounting heights or other location criteria are not indicated, arrange and install components and equipment to provide maximum possible headroom consistent with these requirements.

  - Install electrical equipment so that it is serviceable without dismantling it or adjacent equipment or construction.

- Sleeves: Install sleeves for electrical penetrations through exterior walls, and seal with approved filler material.

  - Size pipe sleeves to provide 1/4-inch annular clear space between sleeve and cable, unless indicated otherwise.

- Fire-Rated-Assembly Penetrations: Maintain indicated fire rating of walls, partitions, ceilings, and floors at raceway and cable penetrations. Install sleeves and seal raceway and cable penetration sleeves with firestop materials complying with Section 07 84 13– Firestopping.

  - Install sleeves for penetrations of fire-rated wall assemblies unless openings that are compatible with firestop system are installed during construction of floor or wall.

  - Apply firestopping to electrical penetrations of fire-rated wall assemblies, to maintain the intended fire-resistance rating of assembly.

## END OF SECTION

## PART 1 GENERAL

  - QUALITY ASSURANCE

    - Qualifications: The persons performing the Work of this Section and their supervisor shall be personally experienced in electrical work and shall have been regularly performing such work for a minimum of 3 years.

    - UL Listing: Equipment and materials for which Underwriters’ Laboratories, Inc. (UL) provides product listing service shall be listed and bear the listing mark.

    - Underwriter’s Certificate: A New York Board of Fire Underwriters inspection or certificate is not required.

## PART 2 PRODUCTS

  - MATERIALS

    - Raceways For Concealed Work: Rigid ferrous metal conduit, intermediate ferrous metal conduit, or electrical metallic tubing.

    - Raceways For Exposed Work: Mono-System Inc.’s, Wiremold Co.’s, or , Thomas & Betts Corp.’s surface metal raceway systems.

    - Underfloor conduit: 1” PVC.

- Conductors: Copper, insulated with Type FEP, THHN, THW, THW-2, THWN, THWN-2, XHH, XHHW, XHHW-2 insulation rated 600 volts.

- Wiring: For all power branch circuits: Install conductors of size shown on drawings. Where size is not indicated, the minimum size allowed is No. 12 AWG.

## CONVENIENCE OUTLETS AND SWITCHES.

    - Convenience outlets and switches:

      - Standard wall outlets: Duplex outlets. Equal to Eaton white 20 amp duplex tamper resistant outlet. Outlet shall comply with 2014 NEC article 406.12.

        - Equal: Pass & Seymour Tamper resistant outlets.

        - Plastic boxes with ivory plastic wall plates. Equal to: Kyle. Duplex Receptacle and convenience switches. . Color.  White.

## SMOKE / CARBON MONOXIDE DETECTORS

    - See also Section 0283100

## ELECTRICAL RUNS - GENERAL

    - Provide and install new electric runs for new convenience outlets as shown.

      - Install per Residential Building Code of NY. 2020 Edition.

      - Provide new convenience outlets shown on drawings.

        - Provide convenience outlets shown on drawings.

        - GFCI outlets at Kitchen Countertop, and in Bathroom.

        - Electric turn of convenience switch at new gas furnace.

## ARC FAULT PROTECTION.

    - For each circuit, provide a GFCI circuit breaker at the electrical panel for each 	circuit.

    - The first receptacle of each kitchen circuit must be an arc-fault circuit interrupter outlet, and it should be marked to indicate that it is the first outlet on the circuit. The rest

of the receptacles in that circuit can be standard receptacles.

## PART 3 EXECUTION

  - PREPARATION

    - Remove all existing exposed raceways, cables, outlet boxes, etc., superseded by the Work of this contract whether shown on the drawings or not. Provide blank covers on abandoned recessed boxes.

## INSTALLATION

    - Install the Work in accordance with the requirements of NFPA 70 - National Electrical Code.

## END OF SECTION

PART 1 – GENERAL

- POWER CONDUCTORS & CABLES

  - Building wires, cables, connectors, outlets, splices and terminations rated 600 V and less.

- Reference Standards (Latest editions, herein made a part of these specifications)

  - ANSI/NECA/AA 104-2006 Standard for Installing Aluminum Building Wire and Cable

  - ANSI/NECA 120-2006 Standard for Installing Armored Cable (Type AC) and Metal-Clad

  - Cable (Type MC) ANSI/NECA 121-2007 Standard for Installing Nonmetallic-Sheathed

  - Cable (Type NM) and Underground Feeder and Branch-Circuit Cable (Type UF)

  - ANSI/NETA ATS-2013 Standard for Acceptance Testing Specifications for Electrical Power Equipment and Systems

- Related Work Specified Elsewhere: Section 26 00 00 – Electrical Common Requirements

- Submittals: Submit product data in accordance with Section 01 33 00.

  - Product Data: For each type of product indicated.

- Delivery / Storage / Handling: Store materials in a secure, protected location immediately upon delivery to project.

- Warranty: Refer to Section 01 78 36 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

A. Conductors and Cables:

- Aluminum and Copper Conductors: Comply with NEMA WC 70. Conductor sizes #8 and larger shall be stranded. Comply with ASTM B-3, B-8 and B-174, and UL-62.

- Conductor Insulation: Comply with NEMA WC 70 for Types THW, THHN-THWN UF and USE

- Multi-conductor Cable: Comply with NEMA WC 70 for armored cable, Type AC, metal-clad cable, Type MC, Type NM nonmetallic-sheathed cable, and Type E with ground wire.

  - Non-metallic sheathed cable: Type NM (romex) conforming to UL Std 719. Use where allowed by code.

  - Electrical Metallic Tubing (EMT): Mild steel, electro-galvanized, conforming to UL Std 797.

c.. Flexible conduit: spirally wound, interlocking zinc coated strip steel conforming to UL Std.

- Conductor Material Applications:

  - Feeder cables: Copper for feeders smaller than #4 AWG; copper or aluminum for feeders #4 AWG and larger. Solid for No. 12 AWG and smaller; stranded for No. 10 AWG and larger.

  - Branch Circuits: Copper. Solid for #10 AWG and smaller; stranded for #8 AWG and larger.

- Low-Voltage Control Cable: Paired Cable: NFPA 70 Type CMG, one pair twisted, #16 stranded (19x29) or #18 AWG stranded (19x30) tinned-copper conductors, as scheduled.

Peter L Morse & Associates		Rochester Housing Authority December 13, 2023	1		158 Bartlett Street

Unshielded PVC insulation with PVC jacket. Flame Resistance complying with UL 1581.

- Single Line Telephone System Cable: 24 AWG, 4 conductor telephone wire, thermoplastic insulated general-purpose communication / single line telephone station wire. Soft annealed solid copper per ASTM B3-90. Fire resistant PVC jacket. UL444; NEC Article 725 Type CM. UL444; NEC Article 725 Type CM.

- Coaxial Cable for CATV: RG6 Quad Shield Cable - 3 GHz ; meeting UL and specifications for CM / CL2 (flammability test) installations # UL1581, UL1655, UL13, UL444, UL1424; Belden #7916A or equivalent product. Center Conductor: 18 AWG solid copper Dielectric: Foam Polyethylene 0.180" nominal diameter Inner Shield: 0.003" aluminum foil tape with 34 AWG aluminum wire braid, 60% coverage, 0.212" nominal diameter Outer Shield: 0.002" aluminum foil tape with 34 AWG aluminum wire braid, 40% coverage, 0.232" nominal diameter Jacket: FR-PVC; 0.033" thick Electrical properties: Spark Test: 4000 VAC Dielectric Strength: to shield 2500 VDC Capacitance:

16.0 pF/ft, nominal Impedance: 75.0 ± 3.0 ohms

- Interior circuit wiring: NM non-metallic sheathed cable, insulated solid copper conductors with a ground wire. Romex brand or equal. Size wire per circuit load as required by NEC.

  - Power circuits (20A): non-metallic outer sheathing, 2-conductor #12 plus ground.

  - Lighting circuits (15A): non-metallic outer sheathing, 2-conductor #14 plus ground.

  - Dedicated and Kitchen circuits (20A): non-metallic outer sheathing, 2-conductor #12 minimum, plus ground.

  - Electric Range circuit (50A): non-metallic outer sheathing, 3-conductor #6 plus ground.

  - Electric Dryer circuit (30A): non-metallic outer sheathing, 3-conductor #10 plus ground.

  - Doorbell: 2-conductor #18 insulated solid copper wire in non-metallic sheath.

  - Thermostat: 5-conductor #18 insulated solid copper wire in non-metallic sheath.

  - Telephone: 4-conductor #24 insulated solid copper wire in non-metallic sheath.

  - Television cable: single conductor, double shielded RG6, 75-ohm, 2200 MHZ cable.

- Connectors and Splices: Factory-fabricated connectors and splices of size, ampacity rating, material, type, and class for application and service indicated.

  - Coaxial Fittings and Accessories:

    - Compression Connectors: Thomas and Betts #SNS1P6U 'Ultimate Snap-NSeal' RG6 compression connector or equivalent product.

    - Ground Blocks: single and dual as required; Gold anodized; Thomas & Betts LRC Coax Ground Blocks or equivalent product.

    - RF Splitters: 3GHz Rated; SCTE compliant; DC Power Pass on 1 Port; RFI Shielding > - 120dB; 5MHz to 3000MHz; Suttle H3S2, H3S3, H3S4 as required, or equivalent product.

- Cable Support:

  - Steel metal staples: 3-conductor 9/16" wide × 1⅛" long for 14/3, 12/3 NS 10/3; 1/2" wide × 1⅛" long for 14/2, 12/2 and 10/2 Romex and NM cables for fastening Romex and non-metallic cable to wood

  - Metal Insulated Cable Staples: Plastic insulator protected type to prevent arc faults, if required by code.

  - Cable Strap Anchors: Galvanized steel or PVC insulator type, as allowed by code.

## Cable TV Service

  - Install exterior Cable TV Box equal to: TayMac. Model MX7200 Mfr. Part #: MX7200. Locate on house near service drop provider cable TV company.

  - Provide 1” empty PVC conduit to the Living Room and Three bedrooms to a cable TV outlet. Conduit shall have a maximum radius of 12”, or provide Flex Conduit.

  - Install cable TV/ box equal to: IBL-15A Power Outlet, 2 Port HDMI, 1 Cat6 Ethernet, 1 Coax Cable TV Wall Plate. Power to convenience oulet.

  - Do not run coaxial cable. Provide RHA a pull string for each line to run cable at a later date.

## PART 3 – EXECUTION

- Installation: Include all cabling, supports, connectors, splitters termination boards for a complete and functional installation.

  - Conceal cables in finished walls, ceilings, and floors, unless otherwise indicated.

  - Install exposed cables parallel and perpendicular to surfaces of exposed structural members, and follow surface contours where possible.

  - Conduits:

    - Use manufacturer-approved pulling compound or lubricant where necessary; compound used must not deteriorate conductor or insulation. Do not exceed manufacturer's recommended maximum pulling tensions and sidewall pressure values.

    - Use pulling means; including fish tape, cable, rope, and basket weave wire/cable grips that will not damage cables or raceway.

  - Support cables and conduit according to code requirements.

  - Tighten electrical connectors and terminals according to manufacturer's published torque tightening values. If manufacturer's torque values are not indicated, use those specified in UL 486A and UL 486B.

  - Make splices and taps that are compatible with conductor material and that possess equivalent or better mechanical strength and insulation ratings than non-spliced conductors.

a.. Use oxide inhibitor in each splice and tap conductor for aluminum conductors.

  - Wiring to panels, equipment, and rough-in boxes: Install conductor at each outlet, with at least 6" of slack. Install conductors at panel boards with at least 18" of slack.

- Install sleeves and firestopping where required under Section 26 00 00 – Electrical Common Requirements.

- Tests and Inspections:

  - After installing conductors and cables and before electrical circuitry has been energized, test service entrance and feeder conductors, and services for compliance with requirements.

  - Perform each visual and mechanical inspection and electrical test stated in NETA Acceptance Testing Specification. Certify compliance with test parameters.

  - Remove and replace malfunctioning units and retest as specified above.

## END OF SECTION

PART 1 – GENERAL

- This Section Includes:

  - Grounding systems and equipment.

- Reference Standards (Latest editions, herein made a part of these specifications) UL 467 Grounding and Bonding Equipment. NEC Article 250 Grounding and

Bonding NECA 331-2004 Standard for Building and Service Entrance Grounding and Bonding

- Related Work Specified Elsewhere:

  - Section 2600 00 – Electrical Common Requirements

  - Section 260519 - Wiring General

- Submittals: Submit product data in accordance with Section 01 33 00.

  - Product Data: For each type of product indicated.

- Warranty: Refer to Section 017836 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

- Conductors:

  - Insulated Conductors: Copper or tinned-copper wire or cable insulated for 600

V unless otherwise required by applicable Code or authorities having jurisdiction.

  - Bare Copper Conductors:

    - Solid Conductors: ASTM B 3.

    - Stranded Conductors: ASTM B 8.

    - Tinned Conductors: ASTM B 33.

    - Bonding Cable: 28 kcmil, 14 strands of #17 AWG conductor, 1/4" in diameter.

    - Bonding Conductor: #4 or #6 AWG, stranded conductor.

    - Bonding Jumper: Copper tape, braided conductors terminated with copper ferrules; 1⅝" wide and 1/16" thick.

    - Tinned Bonding Jumper: Tinned-copper tape, braided conductors terminated with copper ferrules; 1⅝" wide and 1/16" thick.

  - Use: Solid conductor for #10 AWG and smaller; stranded conductors for #8 AWG and larger, unless otherwise indicated. Underground Grounding Conductors: bare tinned-copper conductor, #1/0 AWG minimum.

  - Isolated Grounding Conductors: Green-colored insulation with continuous yellow stripe. Isolated Grounding on Feeders: Alternating bands of green and yellow tape, with at least three bands of green and two bands of yellow.

- Connectors:

  - Listed and labeled by an NRTL acceptable to authorities having jurisdiction for applications in which used and for specific types, sizes, and combinations of conductors and other items connected.

Peter L Morse & Associates		Rochester Housing Authority December 13, 2023	1		158 Bartlett Street

  - Bolted Connectors for Conductors and Pipes: Copper or copper alloy, pressure type with at least two bolts; clamp type, sized for pipe. Use for:

    - Pipe and equipment grounding conductor terminations.

    - Connections to ground rods .

- Ground Rods: Zinc-coated steel; 5/8" diameter, 8 feet long or as required by local governing code.

## PART 3 – EXECUTION

- General: Comply with UL 467 for grounding and bonding materials and equipment.

- Equipment Grounding:

  - Install insulated equipment grounding conductors with the following items, in addition to those required by NFPA 70:

    - Feeders and branch circuits.

    - Lighting circuits.

    - Receptacle circuits.

    - Single-phase motor and appliance branch circuits.

    - Armored and metal-clad cable runs.

    - Telephone circuits.

    - CATV circuits.

- Installation:

  - Grounding Conductors: Route along shortest and straightest paths possible unless otherwise indicated or required by Code. Avoid obstructing access or placing conductors where they may be subjected to strain, impact, or damage.

  - Ground Rods: Drive rods until tops are 2 inches below finished floor or final grade unless otherwise indicated.

    - Ground rods with grounding electrode conductor below grade and as otherwise indicated. Make connections without exposing steel or damaging coating if any.

    - For grounding electrode system, install at least 2 rods spaced at least one-rod length from each other and located at least the same distance from other grounding electrodes, and connect to the service grounding electrode conductor.

  - Bonding Straps and Jumpers: Install in locations accessible for inspection and maintenance except where routed through short lengths of conduit.

    - Bonding to Structure: Bond straps directly to basic structure, taking care not to penetrate any adjacent parts.

    - Use exothermic-welded connectors for outdoor locations; if a disconnect-type connection is required, use a bolted clamp.

  - Grounding and Bonding for Piping:

    - Metal Water Service Pipe: Install insulated copper grounding conductors, in conduit, from building's main service equipment, or grounding bus, to main metal water service entrances to building. Connect grounding conductors to main metal water service pipes; use a bolted clamp connector or bolt a lug-type connector to a pipe flange using one of the lug bolts of the flange.

    - Where a dielectric main water fitting is installed, connect grounding conductor on street side of fitting. Bond metal grounding conductor conduit or sleeve to conductor at each end.

    - Water meter piping: Use insulated copper conductor bonding jumpers to electrically bypass water meters. Connect to pipe with a bolted connector.

  - Bonding Interior Metal Ducts: Bond metal air ducts to equipment grounding conductors of associated fans, blowers, electric heaters, and air cleaners. Install bonding jumper to bond across flexible duct connections to achieve continuity.

- Field Quality Control

  - Perform the following tests and inspections and prepare test reports:

    - After installing grounding system but before permanent electrical circuits have been energized, test for compliance with requirements.

    - Inspect physical and mechanical condition. Verify tightness of accessible, bolted, electrical connections with a calibrated torque wrench according to manufacturer's written instructions.

    - Test completed grounding system at each location where a maximum ground resistance level is specified, at service disconnect enclosure grounding terminal.

Make tests at ground rods before any conductors are connected.

  - Report measured ground resistances that exceed the following values:

a. Power and Lighting Equipment or System with Capacity of 500 kVA and less: 10 ohms.

  - Excessive Ground Resistance: If resistance to ground exceeds specified values, notify Architect promptly and include recommendations to reduce ground resistance

## END OF SECTION

PART 1 – GENERAL

- This section includes:

  - Electricity-metering equipment.

  - Electricity meter.

  - Riser and weather head.

  - Payment of all utility charges.

- Reference Standards (Latest editions, herein made a part of these specifications)

NFPA 70 (NEC) National Electrical Code RG&E Requirements for Installation of Electric Services & Meters.

- Related Work Specified Elsewhere:

  - Section 26 05 19 – Low-Voltage Electrical Power Conductors and

  - Cables Section 26 24 26 – Panel boards (Disconnects)

- Submittals: Submit product data in accordance with Section 01 33 00.

  - Product Data for electricity-metering equipment.

- Delivery / Storage / Handling: Receive, store, and handle metering equipment according to NECA 400.

- Coordination: Coordinate with utility company to arrange for service changes. Comply with utility company's regulations and requirements.

- Quality Assurance: Electrical components, devices, and accessories shall be listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

- Warranty: Contractor's Warranty: Refer to Section 01 78 36 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

- Electric Meter Service Panel: Existing. 200 Amp / 2-position, 4-terminal ringless single phase, 3- wire overhead/underground, center wireway with closing plate, NEMA 3R enclosure; hub on top and watertight connections; extruded aluminum tin plated connectors; 5/16"×1" aluminum bussing. Size: 26½"W×14"H×5-1/8"D.

  - Manufacturer/Product: Milbank Mfg #U1252-R-KK-RGE or equivalent product conforming to RG&E requirements.

- Riser and Weather head: 2-inch minimum, galvanized or gray electrical PVC schedule 80, meeting utility company's requirements.

## PART 3 – EXECUTION

- Comply with utility company requirements for equipment installation.

- Mount panels securely to backer board.

- Riser shall extend from weather head to meter base.

  - Provide 3-inch galvanized conduit required if mast extends more than 42 inches above roof. Guying required if over 72 inches.

  - When pipe riser is 10 feet in length or less, no coupling is permitted.

  - When pipe riser is longer than 10 feet, coupling shall be installed at joint closest to meter socket.

  - Pipe straps (3 minimum) shall be installed at uniform intervals to secure conduit to structure. Pipe strap lag bolts shall go into wall studs and/or sound structural members.

- Ground according to code.

- Test installation according to utility company's requirements. Electricity metering will be considered defective if it does not pass tests and inspections.

## END OF SECTION

PART 1 – GENERAL

- This section includes:

  - Receptacles, receptacles with integral GFCI, and associated device plates.

  - Snap switches, and associated device plates.

  - Weather-resistant receptacles and weatherproof covers.

  - Communications outlets.

- Reference Standards (Latest editions, herein made a part of these specifications) ANSI/NFPA 70 National Electrical Code.

- Related Work Specified Elsewhere:

  - Section 26 00 00 – Electrical Common Requirements

  - Section 26 05 26 – Conductors and Cables

  - Section 26 05 33 – Raceways & Boxes for Electrical Systems

- Submittals: Submit product data in accordance with Section 01 33 00.

  - Product Data: For each type of product.

  - Quality Control Field Test Report: Submit upon completion of installation.

## PART 2 – PRODUCTS / MATERIALS

- Basis of design: Leviton Residential ProGrade. Equivalent products from the following manufacturers are acceptable as substitutions under Section 01 33 00.

  - Cooper Wiring Devices; Division of Cooper Industries, Inc. (Cooper).

  - Hubbell Incorporated; Wiring Device-Kellems (Hubbell).

  - Pass & Seymour/Legrand (Pass & Seymour).

- Single source: Obtain each type of wiring device and associated wall plate from single source from single manufacturer.

- Wiring Devices, General Requirements

  - Wiring Devices, Components, and Accessories shall comply with NFPA 70.

  - Wiring devices shall have screw pressure-plate terminals for wiring connection.

- Straight-Blade Receptacles: Tamper-resistant convenience receptacles, 125 V, 15A complying with NEMA WD 1, NEMA WD 6 Configuration 5-15A, UL 498, and FS W-C-596.

  - Acceptable products:

    - Eaton #TRBR15V-BXSP

    - Or equivalent product considered as substitutions under Section 01.33.00 by one of the following:

      - Leviton

      - Hubbell

      - Cooper

  - Provide water-resistant tamper-resistant type at laundry and exterior locations.

Peter L Morse & Associates		Rochester Housing Authority September 20, 2023	1		158 Bartlett Street

- GFCI Receptacles: Tamper-resistant duplex, straight blade, feed-through type, 125 V, 20 A

complying with NEMA WD 1, NEMA WD 6, UL 498, UL 943 Class A, and FS W-C-596. Selftesting type with indicator light that shows when the GFCI has malfunctioned and no longer provides proper GFCI protection, and trip indicator light.

  - Acceptable products:

    - Leviton #GTR1-I

    - Or equivalent product considered as substitutions under Section 01.33.00 by one of the following:

      - Pass & Seymour

      - Hubbell

      - Cooper

- WP exterior outlets Exterior outlets WP equal to:

  - Electrical Outlets: 15 Amp 125-Volt Duplex Self-Test Tamper Resistant/Weather Resistant GFCI Outlet, White. Duplex outlet cover – WP equal to Hubbell Killark: Model FCLA 2.

- Electric Dryer Receptacle (recessed flush-mount) See also Section 13450 Laundry Equipment of this specification: 125/250V 30A, NEMA 14-30R; 3-pole 4-

wire flush mount receptacle, straight blade, industrial grade, grounding, side wired; matching

cover plate; 10 Year warranty.

  - Acceptable products:

    - Leviton #278

    - Cooper #1257

    - Hubbell #HBL9430A

    - Pass & Seymour #3864-CC6

- Telephone Outlet: Flush mount phone wall plate with single RJ-45 jack for terminating 100- ohm, balanced, four-pair UTP; TIA/EIA-568-B.1; complying with Category 5e. Comply with UL 1863. Acceptable products: Leviton #C0249 or approved equal. 3 required.

- Cable Television (CATV) Outlet: Flush mount wall plate with single F-connector twiston wall jack, for terminating 75-ohm shielded coaxial cable.

- Acceptable products: Leviton # C5256 or approved equal.

- Place 4 outlets in locations shown on plans

- Toggle Switches: 120/277 V, 20 A complying with NEMA WD 1, UL 20, and FS W-S-896.

  - Acceptable products:

    - Leviton #CSB1 #CSB3 #CSB4

    - Or equivalent product considered as substitutions under Section 01.33.00 by one of the following:

      - Pass & Seymour

L. Wall Plates: high-impact thermoplastic, flush plate style; single and combination types, to

match corresponding devices. Do not use oversized or extra-deep plates.

- Plate-securing screws: Metal with head color to match plate finish.

- Material for unfinished spaces: Galvanized steel.

- Wet-location weatherproof cover plates: NEMA 250, complying with Type 3R, cast aluminum with spring-loaded lift cover, listed and labeled for use in wet and damp locations, weather- resistant thermoplastic with lockable cover.

N. Device and Wall Plate Color: White as selected by RHA,. unless otherwise indicated or required by NFPA 70 or device listing.

## PART 3 – EXECUTION

- Installation: Comply with NECA 1, including mounting heights listed in that standard, unless otherwise indicated.

- Coordination with Other Trades:

  - Keep outlet boxes free of plaster, drywall joint compound, mortar, cement, concrete, dust, paint, and other material that may contaminate the raceway system, conductors, and cables.

  - Install wiring devices after all wall preparation, including painting, is complete.

- Conductors: Follow NECA recommendations and NFPA 70 regarding stripping insulation from conductors, length of free conductors at outlets.

- Device Installation: Wire in accordance with NFPA 70.

  - Replace devices that have been in temporary use during construction and that were installed before building finishing operations were complete.

  - Keep each wiring device in its package or otherwise protected until it is time to connect conductors.

  - Do not remove surface protection, such as plastic film and smudge covers, until the last possible moment.

  - Pigtails shall be same AWG as conductors.

  - Use side wiring with binding-head screw terminals. Wrap solid conductor tightly clockwise, two- thirds to three-fourths of the way around terminal screw. Tighten all terminal screws on the device.

  - When mounting into metal boxes, remove the fiber or plastic washers used to hold device- mounting screws in yokes, allowing metal-to-metal contact.

- GFCI Receptacles: Install feed-through-type GFCI receptacles where protection of downstream receptacles is required.

- Arrangement of Devices: Unless otherwise indicated, mount flush, with long dimension vertical and with grounding terminal of receptacles on top and on horizontally mounted receptacles to the right. Group adjacent switches under single, multi-gang wall plates.

- Quality Control Field Testing: Perform diagnostic tests, to locate damaged conductors, high

resistance at the circuit breaker, poor connections, inadequate fault current path, defective devices, or similar problems. Correct circuit conditions, remove malfunctioning units and replace with new ones, and retest as specified below.

  - Test Instruments: Use instruments that comply with UL 1436.

  - Test Instrument for Convenience Receptacles: Digital wiring analyzer with digital readout or illuminated digital-display indicators of measurement.

  - Tests for Convenience Receptacles:

    - Line Voltage: Acceptable range is 105 to 132 V.

    - Percent Voltage Drop under 15-A Load: less than 6% is acceptable.

    - Ground Impedance: Values of up to 2 ohms are acceptable.

    - GFCI Trip: Test for tripping values specified in UL 1436 and UL 943.

    - Using the test plug, verify that the device and its outlet box are securely mounted.

  - Wiring device will be considered defective if it does not pass tests and inspections.

  - Record test and inspection results and submit to Architect for review.

## END OF SECTION

## PART 1 GENERAL PART 1 – GENERAL

  - This section includes:

    - Interior lighting fixtures, lamps, and ballasts.

  - Reference Standards (Latest editions, herein made a part of these specifications) NECA/IESNA 500-2006 Standard for Installing Indoor Lighting Systems

  - Related Work Specified Elsewhere:

    - Section 26 27 26 – Wiring Devices

  - Submittals: Submit product data in accordance with Section 01 33 00.

    - Product Data on features, accessories, dimensions, weights and finishes for each type of lighting fixture, arranged in order of fixture designation.

    - Product Certificates: For each type of ballast for bi-level and dimmer-controlled fixtures, from manufacturer.

  - Delivery / Storage / Handling:

    - Store materials in secure, protected location immediately upon delivery to project, in manufacturer's labeled packaging.

  - Warranty: Manufacturers' standard limited warranty to be free from defects and

capable of performing their function. Contractor's Warranty: Refer to Section 017836 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

- General Requirements for Lighting Fixtures and Components:

  - Fixtures shall be listed and labeled, as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application. Fixtures shall comply with UL 1598.

  - Luminaire Efficacy Ratings tests shall comply with NEMA LE 5 or LE 5A, as applicable.

  - Recessed Fixtures: Comply with NEMA LE 4 for ceiling compatibility for recessed fixtures.

  - Metal Parts:

    - Sheet Metal Components: Formed free of burrs, sharp corners and edges, capable of being supported without warping or sagging. Steel unless otherwise

indicated.

    - Doors, Frames, and Other Internal Access: Smooth operating, free of light leakage  under operating conditions, designed to permit relamping without use of tools and prevent doors, frames, lenses, diffusers, and other components from falling accidentally during relamping and when secured in operating position

  - Lighting Diffusers:

    - Acrylic: 100 percent virgin acrylic plastic, UV stabilized, with high resistance to yellowing and other changes due to aging, exposure to heat, and UV radiation.

    - Lens Thickness: At least 0.125 inch minimum unless otherwise indicated.

- Power Supplies and Drivers

  - Power Factor: 0.90 or higher

  - Maximum driver case temperature not to exceed driver manufacturer recommended operation.

  - Output operating frequency: 60Hz.

  - Interference: EMI and RFI compliant with FCC 47 CFR Part 15.

  - Total Harmonic Distortion Rating: 20% Maximum.

  - Meet electrical and thermal conditions as described in LM-80 Section 5.0.

  - Fully dimmable, 0 – 10 VDC standard.

  - Secondary Current: Confirm secondary current specified by individual luminaire manufacturers.

  - Compatibility of dimming switches: Certified by manufacturer for use with individually specified luminaire and individually specified control components.

- Basis of Design Lighting Fixtures: Provide light fixture and accessories as listed below, or equivalent product.

## PART 3 SUBMITTALS

- Waiver of Submittals: The “Waiver of Certain Submittal Requirements” in Section 013300 does not apply to this Section.

- Product Data: Catalog sheets, specifications and installation instructions.

- Samples: One of each product if requested.

## PART 4 PRODUCTS

  - GENERAL

    - Equip fixtures with:

      - Plaster frames as required for installation of recessed and semi-recessed fixtures.

      - Lamps by General Electric Co., GTE/Sylvania, or Westinghouse Electric Corp. All warm white LED bulbs.

Residential Light Fixture Schedule

Lamps

| Desig, | Description |  | Volt | Manufacturer & Catalog No. | Qty | Watt | Lamp Code |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A |  | 48” Surface LED Light Fixture | 120 | Good Earth “Portal” LF 1086-BR4-48LFS-G | 1 | 72 | LED |
| B |  | 13” Flush mount ceiling light with opal lens – oil Rubbed bronze | 120 | Commercial Electric HU18011LL/ORB | 1 | 9 | LED |
| C |  | 13” flush mount ceiling light with Opal Lens – Oil Rubbed Bronze | 120 | Commercial Electric HU18011/ORB | 1 | 9 | LED |
| C-1 |  | 11” Flush Mount Ceiling Light with Opal Lens – Oil Rubbed Bronze | 120 | Commercial Electric HU18011L -2/ORB | 1 | 9 | LED |
| D |  | 14” Round Surface LED Light Fixture – Bronze | 120 | Good Earth “Jordan” FL 1060-BR4-14FO-G | 1 | 27 | LED |
| E |  | Exterior Wall Mount LED Light Fixture with Opal Lens | 120 | Westinghouse 6106700 | 1 | 8 | LED |
| F |  | Combination Light and & Fan Unit | 120 | Nutone 763N | 1 | 14 | 14A19/LED/SW/30 |
| G-1 |  | 12” Undercabinet light Bar- Oil Rubbed Bronze finish | 120 | Utilitech UC1061-12FO-BR2-U | 1 | 7 | LED |
| G-2 |  | 24” Undercabinet Light Bar- Oil Rubbed Bronze Finish | 120 | Utilitech UC 1061-24LFO-BR2-U | 1 | 14 | LED |
| K |  | Keyless Lampholder | 12o | Leviton 9874 | 1 | 9 | 90MNIA 19/LED/SW/30 |

Notes - Mount fixture at same height as existing. - Hardwire under cabinet lights together to wall mounted switch located over Kitchen counter.

## END OF SECTION

PART 1 – GENERAL

- This section includes:

  - Interconnected smoke and carbon monoxide detectors.

- System Description: Provide interconnected single station smoke and carbon monoxide detecting alarms that will initiate a signal to all alarms when any one detector is initiated. Interconnection shall be provided by hardwired connection. Install system on unswitched power supply. Units shall have self-contained battery backup power.

  - Install smoke detector/alarms in every sleeping area in the residence.

2.. Install combination smoke and carbon monoxide detector/alarms outside of each sleeping area in the immediate vicinity of the bedrooms and at least one on every

occupiable level of a dwelling unit including basement but excluding attic as prescribed by Code.

- Reference Standards (Latest editions, herein made a part of these specifications)

  - NFPA 72 National Fire Alarm.

  - NFPA 720 Standard For The Installation of Carbon Monoxide (Co) Detection & Warning Equipment.

- Related Work Specified Elsewhere:

  - Section 26 05 19 – Low Voltage Electrical Power Conductors &

- Submittals: Submit product data in accordance with Section 01 33 00.

  - Product Data on activation and warning features, sensors and alarms.

- Delivery / Storage / Handling:

  - Store materials in secure, protected location immediately upon delivery to project.

- Warranty: Manufacturer's ten (10) year limited warranty. Contractor's Warranty:

  - Refer to Section 01 78 36 – Warranties.

## PART 2 – PRODUCTS / MATERIALS

- Basis of design: Kidde "Worry Free" detectors/alarms or equivalent product. Equivalent products will be considered as substitutions under Section 01 33 00.

- Combination Smoke and CO detector and alarm: Kidde #i12010SCO Smoke alarm: Kidde #i12010S

  - Physical Characteristics:

    - Size: 5.5"diameter×1¾"D

    - Wiring: Quick connect plug with 6"pigtails Interconnects: Maximum 24 devices

    - Power Source: 120VAC, 60Hz 45mA/alarm with sealed lithium 10 year battery backup.

  - Performance Characteristics:

    - Smoke Sensor: Ionization type with nominal sensitivity of 0.50-1.22%/ft. CO Sensor: Electrochemical fuel cell design complying with UL2034sensitivity requirements.

Audio Alarm: 85dB at 10ft, 3 consecutive beeps, repeated at intervals Audible messages: "Fire!", "Warning Carbon Monoxide!"

warnings;

    - "Hush Mode Activated", "Hush Mode Cancelled" notifications.

    - Temperature Range: 40°F to 100°F

    - Humidity Range: 10%-95% relative humidity, non-condensing

## PART 3 – EXECUTION

- Install system components in compliance with manufacturer's printed recommendations and in accordance with NFPA 72.

  - Wiring installation: All conductors shall be solid copper, type THHN/THWN/TFN, of same gauge as the lighting circuit it is connected to. All wiring shall be run continuously from device to device.

  - Do not install detectors until after the construction clean-up of all trades is complete and final. Detectors that have been installed prior to final cleanup by all trades shall be cleaned to the satisfaction of the Owner, or replaced.

- Detector Location Restrictions – Where Not to Install:

  - Do not install Smoke detectors in bathrooms with showers, or immediately adjacent intake/exhaust vents, or other areas where false or nuisance alarms may occur.

  - Locate Smoke detectors a minimum of 3 feet from all supply and return air diffusers and ceiling paddle fans.

  - Do not install in kitchen furnace rooms or bathrooms.

  - Do not install within 3 ft of supply and return air diffusers, the door to a kitchen or a bathroom that contains a tub or shower; forced air supply ducts used for heating or cooling; ceiling or whole house ventilating fans; or other high air movement areas.

  - Do not install within 5 ft of fuel burning appliances.

  - Do not install in excessively dusty, dirty or greasy areas.

  - Place the alarm where drapes or other objects will not block the sensor. Smoke must be able to reach the sensor to accurately detect these conditions. Do not install in peaks of vaulted ceilings, “A” frame ceilings or gabled roofs. Keep out of damp and humid areas.

  - Install at least one (1) foot away from fluorescent lights, electronic noise may cause nuisance alarms. No part of the detector can be any closer than 4 inches from, and no further than 12 inches from, any adjacent wall or ceiling.

- System Testing: All communications shall be tested completely per NFPA 72.

  - Either the installing contractor or the fire alarm equipment supplier shall provide qualified personnel to perform the pre-test and the final acceptance test.

  - The Contractor will schedule the final fire alarm inspection with the local code official, only after the pre-test has been successfully completed.

  - The fire detection/alarm system shall be fully (100%) operational prior to acceptance and/or issuance of a certificate of occupancy.

## END OF SECTION

PART 1 GENERAL

  - SUMMARY

    - Section  Includes:	new driveway, drive apron, approaches and turn around area noted on plans complete with joint materials, concrete sidewalks field quality control and appurtenances.

## REFERENCES

A. Reference Standards: Conform the work for this Section to the applicable portions of the following standard Specifications.

    - ASTM - American Society of Testing and Materials

    - AASHTO - American Association of State Highway and Transportation Officials

    - ACI – American Concrete Institute.

    - ADAAG - American with Disabilities Act Accessibility Guidelines

## SUBMITTALS

    - Reports: Written permission for the use of all local disposal sites Furnish copies to the RHA and Architect.

    - Test Reports:

      - Thickness and Compressive Strength: Provide RHA and Architect with two (2) certified copies of the test results. Perform the tests by a laboratory approved.

## JOB CONDITIONS

    - Environmental Requirements:

      - Temperature: Comply with the requirements for concrete installation due to outside ambient air temperatures as specified under Article 3.3.I of this Section.

    - Protection:

      - Protection Against Rain: Comply with the requirements for protecting new work against damage from Rain, as specified under Article 3.3.I of this Section.

      - Protection Against Cold Weather: Comply with the requirements for protecting new work against damage from cold weather, as specified under Article 3.3.I of this Section.

## SCOPE:

  - This specification covers the replacement of the driveway with Hot Mix Asphalt pavement. The work included within these specifications shall include, but not be limited to:

    - Complete driveway removal of top course binder course and base gravel.

    - New Concrete sidewalks and approach apron for ramp.

    - New 1” topping on driveway and apron at the street.

    - All materials, labor and equipment necessary to provide, transport, place, and compact Hot Mix Asphalt pavement.

    - All maintenance and protection of traffic as defined herein.

## MATERIALS:

  - The materials and composition for the respective Hot Mix Asphalt (HMA) mixes shall meet the requirements of the New York State Department of Transportation (NYSDOT) Standard Specifications Construction and Materials, latest edition.

    - Asphalt Concrete Paving: Conform to DOT Section 400 Hot Mix Asphalt.

      - Top Course:  DOT, Table 403-1, Type 7.

      - Binder Course:  DOT, Table 403-1, Type 3.

      - Base Course:  DOT, Table 403-1, Type 1.

    - Asphalt Cement Tack Coat.

    - Geotextile underlayment: Equal to: Mutual WF200 Polyethylene Woven Geotextile Fabric. Install per manufacturer’s instructions. Place under entire driveway.

  - HMA will be manufactured from Crushed Limestone or Gravel from a NYSDOT approved source, and from a NYSDOT approved aggregate.

  - All bidders shall furnish with their bid a New York State approved “Crushed Stone Test Report” or “Crushed Gravel Test Report” for their proposed products.

  - Any plant using approved aggregate from a source other than where the plant is located shall furnish the ordering agency with an inspector of the agency’s choice and at the Bidders expense upon the Highway Superintendent’s request.

  - All HMA plants must be NYSDOT approved, and a copy of the approval must be attached to the bid. All NYSDOT approvals must be dated within the past 18 months.

## CONSTRUCTION:

  - Unless stated otherwise in this specification, all work shall comply with NYSDOT Standard Specifications Construction and Materials, latest edition sections 401, 402, 403 and 407.

  - An inspector provided by the Driveway Contractor shall be present while paving and compaction is ongoing. The inspector shall ensure that work performed meets all related specifications. The inspector may stop the project(s) if work does not meet specifications.

  - HMA shall be laid upon an approved, clean, dry surface.

  - For the purpose of this bid, driveway width shall be assumed to be 10 feet. Actual lane widths shall be specified on an individual project basis and prices adjusted accordingly.

  - Paved shoulders will be placed if specified on an individual project basis and prices adjusted accordingly.

  - For the purpose of this bid, rut filling/true & leveling (T&L) will be done prior to placement of HMA items 403.13 – 403.19.

  - For the purpose of this bid it shall be assumed that work shall include preparing and treating an existing bituminous surface with tack coat in accordance with the requirements of NYSDOT Section 407. Municipality reserves the right to delete tack coat on an individual project basis  with prices adjusted accordingly.

  - Subcontracting any portion of the work is prohibited without prior written approval of the Rochester Housing Authority.

  - The Contractor shall provide sufficient trucking so that the paver is in continuous motion, only stopping at logical termination points.

  - Equipment:

    - Pavers shall be fully automated, Barber Greene BG 240 or equal, with a hydraulically extendible screed capable of paving a minimum of 18 feet in one pass.

    - Roller(s) shall be Twin Drum vibratory with 10-ton minimum static weight and 66-inch drum width size. An equivalent back up roller shall be available at all times. Vibratory rollers are required to have Nominal Amplitude of 1.25 mm maximum and Vibration Frequency of 1500 vpm minimum. Pavement shall be fully compacted and vibratory passes will be completed at pavement temperatures above 180 F. Only water or wetting agents free of fuel oil are permitted while rolling.

  - The paving operation shall include automated grade control with a moving reference of at least 9 meters in length, such as a floating beam or ski. Grade or cross slope shall be 3% +/- 0.5%. The newly placed course in an adjacent lane may be used as a reference for the use of a short ski (joint matcher). Only the Municipality can waive use of the automated grade control. If the Contractor wishes to omit automatic grade control, the contractor must obtain a waiver from the Municipality.

  - Cross slope may be increased to control outside depth of pavement. Any change in mat thickness or cross slope shall be done after consultation with the inspector.

  - After consultation with the inspector, all excess material including delivery truck spoilage will be deposited at designated locations and shall be removed from the work site by the contractor at the completion of the paving project.

  - The contractor will provide all rebates to include roadway start/stop points, and at all paved entrance/intersections.  The contractor will do all necessary handwork to transition black top to  all rebates and complete all radii as needed.

  - Thickness variations will be allowed in accordance with the guidance of the inspector.

  - Where a rut-fill/T&L course is specified, the specified depth for following courses shall be placed within a tolerance of ¼ inch.

  - Where no rut-fill/T&L course is specified there may be significant variations in mat thickness due to wheel path rutting. For these roads the mat thickness will generally be controlled by depth measurements taken at the center of the driving lane. The inspector may allow this depth to be less than the specified thickness if there is excessive thickness in the wheel paths or the outer edge of pavement.

  - Placement of surface courses shall be carefully planned to assure that the longitudinal joints will correspond with edges of proposed traffic lanes.

  - Longitudinal joints shall be wedge joints. The wedge shall have a 1:8 slope (or flatter) with a maximum notch of 0.5 inches at the top of the wedge. The joint wedge device shall also have the capability of compacting the joint as well as shaping the wedge. The wedge joint shall be completed with a Joint Maker, Inc. device or equivalent attachment on the paver.

  - The placement of the courses shall be as continuous as possible to limit the number of transverse joints. Transverse joint shall be formed by cutting back on the previous run to expose the full

depth of the course. Transverse joints will be placed and compacted to the extent that no bump is detectable at prevailing speeds. Transverse joints shall be staggered.

  - Compaction shall be done using vibratory compaction equipment. Vibratory rollers shall operate at a uniform speed not exceeding 1.5 miles per hour on all pavement courses.

  - All turning of the compaction equipment shall be completed on material that has had a minimum of one roller pass.

  - The required number of passes listed in the table below is a minimum and may be increased by the inspector. One pass shall be defined as one movement of the roller over any point of the pavement in either direction.

  - Static roller passes shall continue until all ruts, ridges, roller marks or other irregularities are removed from the surface.

  - The inspector may require to alter the compaction procedures for small areas where the specified procedures are not practical.

  - Unless otherwise directed by the inspector, vibratory rollers having pneumatic drive wheels shall compact the longitudinal joint by using one of the pneumatic drive wheels to overlap the joint in two (2) passes with the drum operating static. Unless otherwise directed by the inspector, dual vibrating drum rollers shall compact the joint by overlapping the joints in two passes with both drums operating statically.

  - To prevent adhesion of the mixture to the drum(s) and/or pneumatic tires, the roller contact to pavement surfaces shall be kept properly moistened with water, or water mixed with small quantities of detergent. In all instances, the surface of the pavement shall be protected from drippings of fuel oil or any other solvents used in paving.

  - Minimum number of passes shall be in accordance with the following table:

| Pavement Courses | Vibratory Roller |  | Steel-Wheel Tandem Finish Roller |
| --- | --- | --- | --- |
|  | Vibrating Passes (a) | Static Passes (b) | Static Passes |
| Base (Open Graded; each lift) | 4 | 2 | Not Required |
| Base (Dense Graded; each lift) | 4 | 2 | Not Required |
| Binder (Dense-Graded) | 2 | Not Required | 2 |
| Top (Dense-Graded; all types) | 2 | Not Required | 2 |

  - Bituminous Material Testing:

    - The Contractor will extract and test asphalt core(s) within one year of project completion, to insure compliance with NYSDOT asphalt concrete specifications (asphalt content, aggregate gradation, or asphalt cement properties such as penetration, etc.) Tests will be conducted by an independent ASTM-certified Asphalt Testing Laboratory. If any of  these tests indicate material that is sub-standard, the Contractor will be financially responsible for further testing, by an independent ASTM-certified Asphalt Testing

Laboratory, mutually agreed upon by OPWDD, to determine the limits of the sub- standard material.

    - The independent ASTM-certified Asphalt Testing Laboratory will remove and test at least one core every 500 feet for the length of the project in question.  Cores will be  tested for gradation, asphalt content, and asphalt cement penetration. The contractor will pay for testing.

## METHOD OF MEASUREMENT:

  - All measurements are indicated on the plans. All materials and methods shall meet converted NYSDOT Specifications.

## QUANTITY OF WORK:

  - RHA has tentatively planned the placement of the driveway of Hot Mix Asphalt pavement for spring of 2024.

  - The successful bidder is expected to mobilize and move from road to road according to a project schedule approved by RHA. Projects may commence anytime after award of bid but no earlier than May 18 and shall be completed no later than September 30, 2009 unless otherwise mutually agreed upon between the Municipality and the Contractor. Scheduling may be dependent on timely completion of other pre-requisite work by Municipal forces.

End