This clarification is being issued to provide answers to questions asked by potential bidders as of June 21st, 2024.

|  |  |  |
| --- | --- | --- |
| 1 | Question | Is the underground gas piping on drawing P104 the plumber’s scope or is that for RG&E to handle with tie in? |
|  | Answer | RG&E will provide gas meters and supply line connections to them. The plumber’s scope of work starts at the meter outlet. |

This document is for clarification purposes only and **not considered an Addendum** to the bid documents.